| NOGRR Number | 111 | NOGRR Title | Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis |
| --- | --- | --- | --- |

| Date | November 5, 2013 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Adrianne Brandt |
| E-mail Address | Adrianne.brandt@austinenergy.com |
| Company | City of Austin d/b/a Austin Energy |
| Phone Number | 512.505.3749 |
| Cell Number | 512.799.9517 |
| Market Segment | Municipal |

Comments

Austin Energy (AE) submits these comments to proposed Nodal Operating Guide Revision Request (NOGRR) 111, Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis.  AE is concerned that the proposed language creates a potential compliance gap for resources filing information documenting a technical or physical limitation with ERCOT.

NOGRR111, Section 2.2.8, Performance/Disturbance/Compliance Analysis, states that ERCOT shall exclude from the performance analysis the following instances of a Generation Resource or Controllable Load Resource:

(d)	Having a technical or physical limitation filed with and approved by ERCOT

While AE supports the exclusion from performance analysis for resources having technical or physical limitations, it is unclear what process ERCOT will employ to determine the criteria for and approval of the exclusion.  AE is concerned that there could be an audit risk for a Resource Entity which has provided the requisite information but has received neither affirmation of receipt nor approval from ERCOT since the NOGRR does not address any associated ERCOT process.

AE does not presume to offer specific language suggestions but requests that ERCOT staff be available to discuss at TAC its proposed process to determine criteria, acknowledge receipt and approve technical/physical limitations.

Revised Proposed Guide Language

None at this time.