## Slide 1: QMWG Update to WMS
S. Looney
November 13, 2013

## Slide 2: NPRR Assignments
NPRR556, Resource Adequacy During Transmission Equipment Outage
  ERCOT Workshop resulted in comments submitted by ERCOT. Provides for changes to MMS to assume that Load Resources are served and available for participation in the DAM although normal transmission elements are outaged.
  NDSWG will discuss at their next meeting and provide recommendation to ROS.
NPRR571, ERS Weather-Sensitive Loads Requirements
  Provides for QSEs to adjust the population of Loads monthly
  Subject to a maximum of 8 deployment events of up to three hours per event
  Anticipates WS Load only during Summer for BH 2 and 3
  Adds an ERS Weather Sensitive Load Baseline type of ERS Load in addition to Default and Alternative Baselines. Weather Sensitive Loads further broken down into Regression or Control Group Baselines.
  Payment for performance depends on estimated number of sites and weather normalized peak demand reduction per site. Performance must be 90% of weather normalized reduction for no payment penalty. The maximum number of sites must be at least 80% of QSEs projection for the Contract period.
  Concerns with over-provision of ERS resulting in regulation deployment.

## Slide 3: NPRR Assignments
NPRR486, Calculation of Generation to be Dispatched, SCR773, Addition of Regulation Feedback to Generation to be Dispatched Calculation
  Significant progress has been made on reducing regulation deployments in the aggregate
  ERCOT still needs to work on modeling another type of control algorithm
  Anticipate withdrawal of NPRR486 as ERCOT is providing monthly reports to PDCWG and QMWG of regulation deployment metrics going forward.
NPRR535, Resource Status Startup /Shutdown – Continue to table per the submitter.

## Slide 4: General Update
ERCOT concern regarding SASM offers. QMWG or ERCOT could submit an NPRR to provide notice of a SASM and give 30 minutes to submit offers.
NDCRC Upgrade for Reactive Test submittal – Possibly expect some updates in the last release this year and more during first quarter next year implementing suggestions from the workshop. List of changes posted on QMWG meeting page.
Discussion of New Generation Commissioning checklist questions – ERCOT provided answers and plans to mark up checklists to clarify.
  Working on definition of “Certified for ERCOT Operations” and limiting use of ONTEST status to actual scheduled testing with use of ON status during extended commissioning.
  Need to coordinate with ERCOT Operations to resolve the use of ONTEST status during commissioning of WGRs.
  Clarification of need for reactive testing during commissioning.
  Adding timing requirement for ERCOT response to Commissioning Plan