## Slide 1: CMWG Update to WMS 11-13-13
Report of CMWG Meeting of
11-6-13
M. Wagner Edison Mission Marketing & Trading
Thanks to ERCOT Staff for Graphics
See ERCOT Presentations at: http://ercot.com/calendar/2013/11/20131106-CMWG

## Slide 2: Assignment: Element Competitiveness Index (ECI)
ECI—Currently 2300—working except where constraint designation flips often
ERCOT gave an excellent presentation on top noncompetitive constraints/ mitigation—but refinements under discussion for cases like Singleton-Zenith
  SZ is one of the most frequently identified noncompetitive constraints by the test—but historically determined as competitive—significant gen on both sides of constraint--but test considers all generation in market as needed to solve constraint—which is not the case
  Oscillating around 2300 ECI threshold
    Will have further evaluations in December to look at potential impacts of DMEs changing offers
    One ides: If potential price change of largest DME is <= the mitigated offer level for the next marginal DME, then consider competitive
From Station: SNG (345kV)
To Station: ZEN (345kV)
Load Zone: LZ_HOUSTON

## Slide 3: ECI ERCOT Analysis 8/1/13 – 10/8/13
 |  | Prior to Implementation of NPRR 520 | After Implementation of NPRR 520 |  | 
 |  |  | Jul-13 | Aug-13 | Sep-13
ECI Methodology |  | sf*HSL | sf*sf*HSL | sf*sf*HSL | sf*sf*HSL
ECI Threshold on The Export Side |  | 3,000 | N/A | N/A | N/A
ECI Threshold on The Import Side |  | 2,500 | 2,300 | 2,300 | 2,300
Percentage of Mitigated Resources for Each SCED Interval |  | 100% | 4.80% | 3.08% | 5.73%
Average System Lambda Increase ($/MWh) |  | N/A | 0.20 | 0.25 | 1.37
Cumulative PNM Increase ($/MW) |  | N/A | 80.63 | 180.75 | 979.48
Total Number of Non-competitive Constraints |  | 100% | 95.00% | 96.60% | 88.20%
Non-competitive Constraints | ECI >= 2300 | N/A | N/A | 95.6% | 88.3%
 | Pivotal Players Exist | N/A | N/A | 31.1% | 34.5%
 | No SF <= -0.02 | N/A | N/A | 1.1% | 1.9%

## Slide 4: ERCOT Analysis 8/1/13 – 10/8/13

## Slide 5
Assignment: Work Toward Fully Funded CRRs
Since Start of Nodal -- CRRs have been underfunded by ~ $30M
NPRR 580 to modify CRR Balancing Account (BA)
  Would accrue to a TAC specified level, to cover months where congestion rent is insufficient to fully fund CRRs
  Distribute to load when the funds exceeds a specified threshold.
  From Start of Nodal ~$164M distributed to loads from CRR BA
  Using some of the overage to fully fund CRRs:
    Creates appropriate market incentives to hedge, and
    Hedges will be more reliable
    Should result in higher CRR auction revenues—because CRR product is more firm
  In a month where additional funds available in the CRR BA & shortfalls are fully funded, the Rolling BA would be refilled before allocating to QSEs with load
Notes: Presently:
  CRR Values to be paid vs. Congestion Rent collected is evaluated Hourly.
  CRR Balancing Account Cleared out monthly
    Overages are paid out monthly as part of RENA
  No compensation to CRR Holders for Under Collection short-pay to CRR holders

## Slide 6: New Generic Transmission Limit (GTL): East Texas
Outage clearances can create a stability limit
  N-1 in the base case + single-line-to-ground fault breaker stuck event
The interface consists of six 345-kV lines:
  MartinLake – Shamburger
  MartinLake – TylerGrande MartinLake – Elkton
  MartinLake – Stryker
  MtEnterprise – Trinidad MtEnterprise – Nacogdoches
Total gen cap: 3250 MW
Enforced Limits under GTL Activation 1900 or 2300 MW
Any one of nine 345kV line outages listed in table will enforce the limit
345-kV Line Outage | Interface Limit
Martin Lake – Shamburger | Interface Flow* less than 1900 MW
Martin Lake – Tyler Grande | Interface Flow less than 1900 MW
Mt. Enterprise – Trinidad | Interface Flow less than 1900 MW
Martin Lake – Elkton | Interface Flow less than 2300 MW
Martin Lake – Stryker | Interface Flow less than 2300 MW
Tyler Grande – TriCorner | Interface Flow less than 2300 MW
Shamburger – Royse | Interface Flow less than 2300 MW
Elkton – Forney | Interface Flow less than 2300 MW
Stryker -- Trinidad | Interface Flow less than 2300 MW
Target GTL implementation date of 12/18/13

## Slide 7
Assignment: Work Toward Fully Funded CRRs
Improving CRR Modeling—Potential Ideas
  Outage Scheduling – opportunity for improvement—would it be useful to look at incentives in other ISOs?
  Is there a method to better capture outages—say “indicative scheduling” 75-90 days out for high kV work?
  Is it possible to develop metrics that align Outage Scheduling and CRR model builds?