## Consolidated Feedback
Tracking ID | Market Feedback Summary | Category | Priority (e.g. 1,2,3,etc.) | Comments
DV.01 | Each data element must include quick access to it's purpose, definition, validation rules and default data (where applicable). These descriptions shall provide examples of where to find the data (e.g. name plate) | Data entry & validation |  |  | 1
DV.02 | System must have the ability to upload technical data sheets or any other relevant attachments associated with the submission. These attachments shall only be submitted once until removed or an update is required. | Data entry & validation |  |  | 1
DV.03 | Each data element shall have the ability to point / link to an attached file to establish traceability and reference. | Data entry & validation |  |  | 1
DV.04 | The system shall have the ability to accept data that is outside acceptable ranges in special cases (ERCOT approved). These special cases shall clearly indicate that the value(s) is an exception. | Data entry & validation |  |  | 1
DV.05 | System shall have the ability to save a submission in progress without submitting. This should also include automatic saving of progress to prevent data loss and the ability to discard saved data if desired. | Data entry & validation |  |  | 1
DV.06 | TSPs shall have read-only access to data after it has been submitted (current data, historical data) | Data entry & validation |  |  | 1
DV.07 | Data shall be categorized such that data outside of the protocol-required timelines are not subject to the same timelines (e.g. operational vs. parameter data) | Data entry & validation |  |  | 1
DV.08 | System shall only show fields that are required / needed for the type of technology being submitted | Data entry & validation |  |  | 1
DV.09 | System shall provide authorized users access to an audit trail describing all changes (who, when, etc.) | Data entry & validation |  |  | 1
DV.10 | Validation of data entry shall be immediate wherever possible. Invalid data types or formatting should not be allowed. Errors should specify: required fields left blank, data type or formatting incorrect, data outside of acceptable range, rules not met (ex. Unit Start Date should be >= Site Start Date) | Data entry & validation |  |  | 1
DV.11 | The system shall dynamically validate fields that are conditionally required or validated based on a previously entered value. These fields shall be clearly indicated. | Data entry & validation |  |  | 1
DV.12 | The system shall provide an option for users to classify the type or quality of the data (Engineering Data, Test Report, Estimate). This is intended to provide ERCOT with clarifying information to ensure the data is as expected. The comments would also be of use to the submitter as reference. | Data entry & validation |  |  | 1
DV.13 | TSPs should be able to provide comments if they think data is incorrect but shouldn't be held responsible for that part of data | Data entry & validation
DV.14 | System shall provide the ability for users to record the reason for a change | Data entry & validation
ST.01 | System shall contain a notification feature (email and within the system) that will notify appropriate entities (e.g. TSP (multiple), QSE, user defined groups, etc.) that a change has taken place (e.g. data is submitted, data is approved, data is in the model). | Status tracking & notification |  |  | 2
ST.02 | The system shall provide an option for users to enter relevant comments related to / supporting a changed data element. This is intended to provide ERCOT with clarifying information to ensure the data is as expected. The comments would also be of use to the submitter as reference. | Status tracking & notification |  |  | 2
ST.03 | System shall provide a view summarizing changes related to the submission. This shall be available prior to (saved, not submitted) and after submission. This will provide the submitter an effective means to review changes prior to submittal as well as provide users of the data an effective means to quickly review only the changes. | Status tracking & notification |  |  | 2
VF.01 | Search / filter shall be customizable by authorized users for each data element and have the ability to save any number of searches / filters for later use (e.g. resource type, RE, fuel type, etc.). This includes historical, current and future data. | View & filter data |  |  | 3
VF.04 | The system shall present data in sections (e.g. administrative, financial, equipment parameters, transmission) such that finding a specific data element(s) does not require sifting through all of the data | View & filter data |  |  | 3
EE.01 | Authorized users shall be able to export data in an open, standardized format as defined by the user | Extract / Export / Report |  |  | 4
SD.01 | All access to data shall be allowed and restricted based on user role and authorization (e.g. REs cannot access another company's data). System shall provide MP's ability to assign roles such as "View Only," "Change Data" and "Submit Data"; submitting data should not be restricted to only the Authorized Rep. | Security – data & system access |  |  | 5
SD.02 | REs should be able to see all of their resources under one digital certificate | Security – data & system access |  |  | 5
PI.01 | System shall be flexible enough to accommodate future changed / added fields, data elements and/or rules without undergoing a major change effort or require all REs to re-submit all data (only the changed elements need be submitted). | Process Improvements |  |  | 6
PI.02 | System shall provide for the process of GENMAP verification including the required information and one line verification | Process Improvements |  |  | 6
OT.01 | Existing data shall be available in the new system (will not require re-submitting ) | Other |  |  | 7
OT.02 | Protocols should be revised if resulting language would allow for a process improvement | Other |  |  | 7
OT.03 | Alternative means of authenticating should be explored to accommodate sites where digital certificates are problematic | Other |  |  | 7

## Feedback Individual
Requirement | Category | Traceability | Sticky # | Source
Validation Checks Upon Entry of Data | Data Entry and Validation | DV.01 | 1 | Workshop
Validation Checks for related and interdependent data affected by entered values | Data Entry and Validation | DV.01 | 1 | Workshop
Detailed error messaging, rather than a simple message stating there was an error | Data Entry and Validation | DV.01 | 1 | Workshop
Show business rule errors as a pop-up with the business rule so that MP can quickly correct the entry | Data Entry and Validation | DV.01 | 1 | Workshop
Help Screen - context sensitive showing glossary entry for displayed data elements and validation rules / default values | Data Entry and Validation | DV.01 | 1 | Workshop
Full detailed description available for each data element (e.g. units of measure, normally acceptable range, normal source of data) | Data Entry and Validation | DV.01 | 1 | Workshop
Would like for the system to have a pop-up box when clicking on the field name that shows the description from the glossary for quick reference | Data Entry and Validation | DV.01 | 1 | Workshop
There is a need to include the source of the data (e.g. vendor, estimated, engineering report) | Data Entry and Validation | DV.01 | 2 | Workshop
The system needs to have a feature to upload technical data sheets for transformers and generators. Also should be able to upload any other documents deemed necessary | Data Entry and Validation | DV.02 | 3 | Workshop
It would be nice to upload PDFs of the documents we got the data from | Data Entry and Validation | DV.02 | 3 | Workshop
Ability to attach PDFs of back-up data | Data Entry and Validation | DV.02 | 3 | Workshop
Link / pointer from each data element to PDF document | Data Entry and Validation | DV.03 | 3 | Workshop
The system needs the ability for ERCOT to override errors for exceptions (e.g. out of normal range data) | Data Entry and Validation | DV.04 | 4 | Workshop
We need a system that can accept data outside the validation range. For example, have a documented exception from ERCOT and may not be able to provide a certain data point | Data Entry and Validation | DV.04 | 4 | Workshop
Please narrowly define the data entered from PUNs (i.e. gross, net, net tie line, etc.) | Data Entry and Validation | DV.01 | 5 | Workshop
I think it would be nice to have automatic saving of data during entry | Data Entry and Validation | DV.05 | 6 | Workshop
Break fields into sections that can be saved. This way if internet connection is lost, all data isn't lost | Data Entry and Validation | DV.05 | 6 | Workshop
TSPs should be able to review the technical data and provide comments if they think the data is incorrect but shouldn't be held responsible for that part of data | Data Entry and Validation | DV.06, DV.13 | 7 | Workshop
Be able to have the changes to the RARF go into effect quickly, not 3 months | Data Entry and Validation | DV.07 | 8 | Workshop
I would like to see the RARF data broken down into parameter vs. transmission data for streamlined acceptance of parameter data | Data Entry and Validation | DV.07 | 8 | Workshop
Need for clean break between admin / financial data and physical system data | Data Entry and Validation | DV.07 | 8 | Workshop
I would like the system to have an initial set of selection criteria (e.g. wind generator) that would narrow the fields shown to only required fields for that resource type, because its more intuitive | Data Entry and Validation | DV.08 | 8 | Workshop
Resource type specific data request - no data fields shown for other resource types | Data Entry and Validation | DV.08 | 8 | Workshop
The online system only needs to provide columns for the user to enter data depending upon the technology of the generator | Data Entry and Validation | DV.08 | 8 | Workshop
Need way for full detail of a wind-powered facility to be entered - Turbine, collector/feeder to switch yard | Data Entry and Validation | DV.08 | 9 | Workshop
Need audit trail for each change (old data, change date, person making change) | Data Entry and Validation | DV.09, DV.14 | 10 | Workshop
I need to be able to attach required attachments in the new system - not send separately | Data Entry and Validation | DV.02 | 11 | Workshop
Entry forms should allow save, clear (cancel), submit data | Data Entry and Validation | DV.05 | 12 | Workshop
For older wind farms, why have we been asked for dynamic data repeatedly | Data Entry and Validation | DV.08, DV.02 | 13 | Workshop
Important to be able to specify any number of TSPs that should be alerted when a change is made. For instance, sometimes 2, sometimes 3. Also important to be able to use groups on the ERCOT list serve to send notification of changes. | Status Tracking and Notification | ST.01 | 14 | Workshop
TSPs need to get notification from the system once a new RARF is submitted or an existing RARF is updated. | Status Tracking and Notification | ST.01 | 14 | Workshop
Notification is needed to TSPs. Email notification is fine, but should include the ability to email multiple TSPs. Would also like notification in the system in addition to email | Status Tracking and Notification | ST.01 | 14 | Workshop
Suggest auto email to RE, QSE and TSP identified in the RARF, upon RARF revision. (QSE should notify the operator) | Status Tracking and Notification | ST.01 | 14 | Workshop
Issue email notifications - Not an "inbox" that must be checked inside the system | Status Tracking and Notification | ST.01 | 14 | Workshop
We would like a chance to discuss questions or errors with a submission before a submittal is rejected (service request rejection). | Status Tracking and Notification |  | 16 | Workshop
I need a comment page or tracking spot to enter a date and a note to show what changed. If the notification tells me this, that might work. | Status Tracking and Notification | ST.02 | 17 | Workshop
We would like the search to be customizable. For example, having the ability to search by categories (Outage Scheduling, Operations, Steady State planning, dynamic planning, system protection, etc. or resource classification, connection TSP, Fuel Type, location) or have the ability to write queries. | View and Filter Data | VF.01 | 18 | Workshop
I want the notification to come to an assigned email address, not to the MIS where I have to go look. | Status Tracking and Notification | ST.01 | 18 | Workshop
Need to be able to pull up the data item for all the RE's resources - for reference or comparison | View and Filter Data | VF.01 | 19 | Workshop
Quick summary of updated values for review by submitter before hitting submit | View and Filter Data | ST.03 | 20 | Workshop
View all data by effective date. View all data updated by effective date | View and Filter Data | VF.01 | 21 | Workshop
Would like the ability to export data as defined by the user | Extract / Export / Report | EE.01 | 22 | Workshop
Once a RARF is submitted, TSP's should be able to view / extract that data including any technical data sheets that were uploaded | Extract / Export / Report | VF.01 | 23 | Workshop
Mechanism for data users (TSPs and ERCOT) to know when data changes - some sort of search and display that shows high level of changes Allow TSPs and ERCOT to flag certain RARFs as being of "category A-->z" | Extract / Export / Report | VF.1, DV.12, ST.2 | 24 | Workshop
Audit trail of change and user making update | Data Entry and Validation | DV.09 | 25 | Workshop
I need to restrict internal access to "view only", "make changes" and "submit" | Security - data and system access | SD.1 | 26 | Workshop
Re-define available roles for RE digital certificates (RARF View, RARF Export, RARF Modification) | Security - data and system access | SD.1 | 26 | Workshop
Use of digital certificate are problematic for some of the resources in particular the petro chemical entities (due to security restrictions) | Security - data and system access | OT.03 | 27 | Workshop
Need to develop alternative access so someone other than the Authorized Representative can submit RARFs, yet maintain control | Security - data and system access | SD.1 | 28 | Workshop
Have to have different privileges and one person (plus back-up) to control w/ ERCOT | Security - data and system access | SD.1 | 28 | Workshop
TSPs need to have access to the RARF system (view only access) | Security - data and system access | DV.06 | 29 | Workshop
Ability to log into all sites within one RE drop down list to select site | Security - data and system access | SD.2 | 30 | Workshop
Need the system to be flexible enough to accept legitimate changes (and additions) based on future needs that may not be presently known | Process Improvements | PI.1 | 31 | Workshop
Need the ability to log and track comments or discussion surrounding certain fields | Status Tracking and Notification | ST.02 | 32 | Workshop
Ability to generate one line from the RARF transmission | Process Improvements | PI.1 | 33 | Workshop
I would like the information and the process for the GENMAP verification to be brought into the RARF | Process Improvements | PI.2 | 34 | Workshop
Protocols need to be revised to conform with the on-line system | Process Improvements | OT.02 | 36 | Workshop
Validation of data entry should be immediate wherever possible. Invalid data types or formatting should not be allowed. Errors should specify: required fields left blank, data type or formatting incorrect, data outside of acceptable ranges, rules not met (ex. Unit Start Date should be >= Site Start Date) | Data Entry and Validation | DV.010 |  | Via email / offline conversations
Authorized users must be able to view resource asset registration data as of a specific date: Data that is currently in use within the network data model and ERCOT systems. Pending changes. Past changes. | View and Filter Data | VF.01 |  | Via email / offline conversations
Authorized users must be able to view the status of change requests. | Status Tracking and Notification | VF.01 |  | Via email / offline conversations
Must be able to search and filter resource asset registration data. | View and Filter Data | VF.01 |  | Via email / offline conversations
Access to data must be based on user role and authorization. | Security - data and system access | SD.1 |  | Via email / offline conversations
Would like notification to resource owner, operator, and submitter of the date and content that a: change is submitted, additional information is required, change is approved, change is implemented. Notification may be provided within the system interface or via email or both. | Status Tracking and Notification | ST.01 |  | Via email / offline conversations
Must be able to export data in an open, standardized format | Extract / Export / Report | EE.03 |  | Via email / offline conversations
Must be able to save work in progress without submitting. Must have ability to resume saved work to complete & submit or discard at a later time. | Data Entry and Validation | DV.05 |  | Via email / offline conversations
Existing data will be available in the new system (will not require re-submitting ) | Other | OT.1 |  | Via email / offline conversations
A change to the data content (the data required or its format) will not require all REs to re-submit all data. Only changed content should have to be addressed. | Process Improvements | PI.1 |  | Via email / offline conversations
The system shall present data in sections (e.g. administrative, financial, equipment parameters, transmission) such that finding a specific data element(s) does not require sifting through all data | View and Filter Data | VF.04 |  | Workshop Notes (no sticky)
Need a method of classifying the type of data (Engineering Data, Test Report, Estimate) | Data Entry and Validation | DV.012 |  | Workshop Notes (no sticky)
The system shall dynamically validate fields that are conditionally required or validated based on a previously entered value. These fields shall be clearly indicated. | Data Entry and Validation | DV.011 |  | Workshop Notes (no sticky)
Quick search for any data item and open form with existing data and data for related and interdependent data items | Data Entry and Validation | DV.10, VF.01
Ability to cancel individual data item updates without affecting any other | Data Entry and Validation | PI.01
Ability to cancel a set of updates | Data Entry and Validation | DV.05
Clear indication of "cut off" date for withdrawal/cancel updates | Data Entry and Validation | DV.05
Allow exempt entry for select fields | Data Entry and Validation | DV.04

## Sheet3
Data entry & validation
Status tracking & notification
View & filter data
Extract / Export / Report
Security – data & system access
Process Improvements
Other