## Sheet1
# | Data Element | MIS Classification | Currently provided? If yes EMIL report name or where it is provided. | ERCOT Comments | Additional Comments: | MISUG Rank/Priority
(a) | Peak Load; | Public | Todays Forecast | Data is available; system change to report at summary level
(b) | Peak hour; | Public | Todays Forecast | Data is available; system change to report at summary level
(c) | Planned peak load from the Day Ahead Load Forecast; | Public | LFvA | Data is available; system change to report at summary level
(d) | Planned peak hour from the Day Ahead Load Forecast; | Public | LFvA | Data is available; system change to report at summary level
(e) | Amount, duration, time deployed and time recalled for each deployment of Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources; | not required |  | System changes required but data is available
(f) | Amount, duration, time deployed and time recalled for each deployment of RRS for Load Resources; | not required |  | System changes required but data is available
(g) | Amount, duration, time deployed and time recalled for each deployment of Emergency Interruptible Load Service (EILS); | not required |  | Data is NOT available in system. Would be entirely manual effort. Can this element be removed? DSWG Workshop on EILS data?
(h) | Amount, duration, time deployed, and time recalled for each Non-Spinning Reserve (Non-Spin) deployment with designation as On-Line or Off-Line if available; | not required |  | ERCOT recommends removal based on NPRR426
(i) | SCED offset (including SCED timestamp, offset timestamp and amount); | not required |  | System changes required but data is available
(j) | Summary of RUC commitments including the reason for the RUC commitment from the following options: | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available | Resource Status - change class of report or NPRR to change data class?
(j)(i) | Import limit due to thermal constraint; | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available
(j)(ii) | Voltage stability; | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available
(j)(iii) | Outage support; or | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available | Removal of option to align with existing report to ROS
(j)(iv) | System capacity. | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available
(k) | Summary of Reliability Must-Run (RMR) Resource commitments including Resource name, time, duration including the reason for RMR Resource commitment chosen from the options in item (j) above; | Secure |  | Needs further analysis, potentially leverage existing CDR report for RMR.
(l) | List of SCED intervals which reached the Shadow Price cap and constraint associated with each; | Public |  | System changes required but data is available
(m) | Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override; | Public | New MISUG Report | Needs further analysis, potentially leverage existing CDR report for RMR.
(n) | List of Load shed events with MW quantity and duration; | not required |  | Data is NOT available in system. Would be entirely manual effort. Can this element be removed? DSWG Workshop on EILS data?
(o) | List of Transmission Watches, Alerts and Emergency Notifications; and | Public | Notifications | Could possibly be pulled from NB but extensive effort
(p) | Any Generation Resource trips greater than 450 MW including capacity tripped and time of trip. | Public | Notifications | Would require system change to capture data and automate

## Sheet2
# | Data Element | Data Avail in System? | Data Published? | If exists, report name or where it is provided. | ERCOT Comments | Manual or Automated
(a) | Peak Load; | Exists | Yes - Public | Load Forecast vs Actual | System change to provide at summary level | Automated
(b) | Peak hour; | Exists | Yes - Public | Load Forecast vs Actual | System change to provide at summary level | Automated
(c) | Planned peak Load from the Day Ahead Load Forecast; | Exists | Yes - Public | Load Forecast vs Actual | System change to provide at summary level | Automated
(d) | Planned peak hour from the Day Ahead Load Forecast; | Exists | Yes - Public | Load Forecast vs Actual | System change to provide at summary level | Automated
(e) | Amount, duration, time deployed and time recalled for each deployment of Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources; | N/A | N/A |  | System change to provide at summary level | Automated
| Amount | Exists | Yes - Public | ASCAPMON
| Duration | Calculation Needed | No
| Time Deployed | Calculation Needed | No
| Time Recalled | Calculation Needed | No
(f) | Each instance of Verbal Dispatch Instruction (VDI) deployment of Load Resources providing RRS; | Exists | Yes - Certified | Telemetry & Hotline Call | System change to provide at summary level | Manual/Automated
(g) | Amount, duration, time deployed, and time recalled for each Non-Spinning Reserve (Non-Spin) deployment with designation as Off-Line if available; | N/A | N/A |  | System change to provide at summary level | Automated
| Amount | Exists | Yes - Public | ASCAPMON
| Duration | Calculation Needed | No
| Time Deployed | Calculation Needed | No
| Time Recalled | Calculation Needed | No
(h) | Security Constrained Economic Dispatch (SCED) offset (including SCED timestamp, offset timestamp and amount); | Exists | No |  |  | Automated
(i) | Summary of Reliability Unit Commitment (RUC) intervals for which a RUC commitment or decommitment occurred; | Exists | Yes - Secure | Hourly RUC Committed or Decommitted Resources (NP5-752-CD) | System change to provide at summary level | Automated
(j) | Summary of intervals for which Reliability Must-Run (RMR) Resources are committed; | Exists | Yes - Public | Hourly RMR Service Deployed (NP5-108-CD) | System change to provide at summary level | Automated
(k) | List of SCED intervals which reached the Shadow Price cap and constraint associated with each; | Exists | Yes - Public | SCED Shadow Prices and Binding Constraints (NP6-86-CD) | System change to provide at summary level | Manual/Automated
(l) | Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override; | Exists | Yes - Certified Yes - Public | Manual Over-Riding of HDL and LDL (NP6-914-CD) 60 Day Manual Override of HDL and LDL (NP6-585-ER) | Constraint Name not given System change to provide at summary level | Manual/Automated
(m) | List of Emergency Condition Notifications; and | Exists | Yes - Public |  | System change to provide at summary level | Manual/Automated
(n) | A frequency deviation event equal to or greater than .10 Hz which shall include: | N/A | N/A | Real-Time System Conditions | Current Frequency is given every ten seconds System change to provide at summary level | Automated
(i) | ERCOT Load at the time of each event; | Calculation Needed | No
(ii) | Time of each event; | Calculation Needed | No
(iii) | Amount of generation and Load lost contributing to the event; and | Calculation Needed | No
(iv) | Approximate lowest frequency. | Calculation Needed | No