| NPRR Number | 582 | NPRR Title | Refinements to Testing ERS |
| --- | --- | --- | --- |
| Date Posted |  | November 13, 2013 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Section Requiring Revision |  | - 8.1.3.1.2, Performance Evaluation for Emergency Response Service Generators |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) establishes a limit on the number of MW that ERCOT can test for Emergency Response Service (ERS) at any particular point in time. As ERS grows in MW, types, distribution, and use by ERCOT, the potential impact created by testing ERS grows. The intent of this NPRR is to balance the needs for testing to validate parameters for ERS as set forth in the Protocols and Other Binding Documents, while recognizing that ERCOT-instructed interruption of Load for testing purposes can impact Real-Time energy price formation. |  |
| Reason for Revision |  | ERS requires participating Loads to meet availability and performance requirements. ERCOT tests ERS and this testing reduces Load on the ERCOT System thereby potentially impacting price formation. The expansion of ERS to include weather sensitive Loads, which may be available only over peak periods, could result in unintended consequences if testing occurs over peak periods. By limiting the MW that can be tested at a particular time, this NPRR ensures that testing, even if over peak, will not have a tremendously adverse effect on Real-Time price formation. Testing ERS is different than testing Generation Resources because testing Generation Resources does not change the overall amount of Load on the ERCOT System. Testing ERS reduces the overall Load on the ERCOT System. |  |
| Credit Implications |  | No. |  |

| Business Case |  |
| --- | --- |
| 1 | ERCOT has stated that ERS is an important tool for ERCOT Operations to use in meeting grid reliability requirements. |
| 2 | ERCOT is actively trying to increase weather sensitive Load participation in ERS. ERCOT has stated that the residential sector accounts for nearly 52% of the regional summer peak Demand. This is an indication of a large amount of untapped Demand response potential, much of it weather-sensitive. Testing of this Demand when it is “most available” would impact price formation over peak. Therefore, it is important to find a balance between testing requirements and price formation. |

| Sponsor |  |
| --- | --- |
| Name | M Wagner |
| E-mail Address | mwagner@edisonmission.com |
| Company | Edison Mission Marketing & Trading |
| Phone Number | 617-529-3127 |
| Cell Number |  |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

Comments

Please note that NPRR564, Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions, also proposes revisions to Section 8.1.3.1.2.

Proposed Protocol Language Revision

- 8.1.3.1.2	Deployment and Performance Evaluation for Emergency Response Service Generators and Emergency Response Service Loads

ERCOT shall evaluate the event performance of an ERS Generator solely by measuring net injection of energy to the ERCOT System using data from metering as described in paragraph (3)(a) of Section 3.14.3.3, Emergency Response Service Provision and Technical Requirements.  ERCOT shall evaluate the availability of an ERS Generator by using 15-minute interval metering dedicated to the ERS Generator.  ERCOT shall not deploy, or have deployed simultaneously, greater than 15 MW of ERS, including weather sensitive Loads providing ERS, at any point in time for testing purposes with the sole exception that if there is a single ERS Resource larger than 15 MW it may be deployed by itself.