VRTF Update to ROS
November 14th, 2013

- Task Force did not meet since last ROS, next meeting on Thursday 12/5

- DWG Study completed and a written report will be provided by 11/18

- Received updates from companies working on their testing plans/part of the report

  - AEP Texas – Data received – more analysis needed

  - Centerpoint finalizing data report to VRTF

  - Next meeting will include discussion about how to quantify benefits of VR

- Report likely in January or February

VRTF Report to ROS

Draft Outline:

- Executive Summary (address key findings of this summer’s testing).

- Scope

  - What is Voltage Reduction?

  - Possible Strategies for Applying Voltage Reduction

    - EEA events

    - Peak Demand Reduction

    - VAR optimization

- Report from DWG

- Test methods used to validate the effectiveness of voltage reduction(Could be an Appendix)

  - Utility A

  - Utility B

  - Utility C

- Results of Tests Performed in Summer 2012(Could be an Appendix)

  - Utility A

  - Utility B

  - Utility C

- Industry experience with voltage reduction (Summary of literature search and Survey of Utilities)

  - Historical experience within ERCOT (identify deficiencies in legacy schemes, load changes over time)

    - ONCOR

    - Centerpoint

    - GVEC

  - Other Regions

- Control systems for implementing voltage reduction

  - Description of available technologies

  - Costs

  - Emerging technologies (if relevant)

  - Barriers to implementation

- Potential MW reduction during Summer

  - Reporting utilities

  - Extrapolation to ERCOT

    - Challenges with extrapolating data.

    - Technique applied

    - Results