## Slide 1: PLWG Report to ROS
November 14, 2013
John Moore, PLWG Chair

## Slide 2: Voting Item: PGRR028 Evaluation of Compliance with Reactive Requirements
PLWG recommends support for PGRR028 as currently written with no additional edits:
  This PGRR gives ERCOT the authority to determine if a generation resource complies with ERCOT’s reactive power capability and voltage control requirements

## Slide 3: Voting Item: PGRR031 Implement 95% Facility Rating Limit in the Planning Criteria
PLWG recommends support for PGRR031 as currently written with no additional edits:
  This planning criteria addition to the Planning Guide was developed in response to a request from ROS to address a range of concerns identified in the work of the OPSTF
  The development of the proposed language involved a robust level of participation by a number of the ERCOT TSPs
  Concern and opposition to the proposed PGRR was expressed by a couple of ERCOT Stakeholders
  Jeff Billo will offer additional background on the proposed PGRR

## Slide 4: Voting Item: PGRR032 Stakeholder Review of Resource Registration Data Requirements
PLWG recommends support for PGRR032 as currently written with no additional edits:
  This PGRR describes the process for review and approval of changes, additions or deletions to the required Resource Registration data
  The PGRR clarifies Interconnecting Entity (IE) information submission requirements and to removes obsolete language

## Slide 5: Active PGRRs Under Consideration
PGRR033 “Dynamics Flat Start Cases Preparation”
  Language found acceptable
  Impact Analysis will be considered at Nov PLWG Mtg
  Expect to submit to Dec ROS Mtg
PGRR035 “DC Tie Interconnection Policy”
  Initial review of PGRR034 was held at Oct PLWG Mtg
  Oct PLWG Mtg discussion resulted in reformatting of proposed PGRR034 language into a new Planning Guide section, Section 7, and refiling as PGRR035
  Review of revised/refiled language (PGRR035) will be held at Nov PLWG Mtg