| NPRR Number | 549 | NPRR Title | Clarification for Posting Transmission Loss Factors |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | September 5, 2013 |  |  |
| Proposed Effective Date |  | December 1, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 13.2.4, Seasonal Transmission Loss Factor Calculation 13.2.5, Loss Monitoring |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the posting requirements for Transmission Loss Factors (TLFs). |  |  |
| Reason for Revision |  | Per Section 13.2.4, TLFs are calculated for each of the four seasons and are posted to the Market Information System (MIS) Public Area prior to the start of the year. This NPRR aligns the Protocols with current practice by clarifying that ERCOT will post the seasonal TLFs for the next four seasons beginning with the Spring season. Additionally, since the monthly base cases used to calculate the TLFs are classified as Critical Energy Infrastructure Information (CEII) and therefore cannot be posted to the MIS Public Area, the provision requiring the inclusion of the monthly base cases in the posting has been deleted. The monthly base cases will continue to be posted on the Planning and Operations Information site. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 6/24/13, NPRR549 and an Impact Analysis were posted. - On 7/18/13, PRS considered NPRR549. - On 8/22/13, PRS considered the 7/18/13 PRS Report and Impact Analysis for NPRR549. - On 9/5/13, TAC considered NPRR549. |  |  |
| PRS Decision |  | On 7/18/13, PRS unanimously voted to recommend approval of NPRR549 as submitted. All Market Segments were present for the vote. On 8/22/13, PRS voted to endorse and forward the 7/18/13 PRS Report as revised by PRS and the Impact Analysis for NPRR549 to TAC. There was one opposing vote from the Independent Generator Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 7/18/13, there was no discussion. On 8/22/13, it was requested that the language in Section 13.2.5 be reinstated as the cost of losses associated with the evaluation of transmission additions is not clearly stated in the Planning Guide. |  |  |
| TAC Decision |  | On 9/5/13, TAC unanimously voted to recommend approval of NPRR549 as recommended by PRS in the 8/22/13 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/5/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR549. |  |  |

| Business Case |  |
| --- | --- |
| 1 | - Provides clarification of existing Protocol language so that it aligns with the current business process. |

| Sponsor |  |
| --- | --- |
| Name | James Teixeira |
| E-mail Address | jteixeira@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6582 |
| Cell Number | 512-656-6734 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

13.2.4	Seasonal Transmission Loss Factor Calculation

(1)	Seasonal on-peak and off-peak TLFs are derived from the annually updated ERCOT on-peak and off-peak load flow base cases analysis by ERCOT.  Base cases reflect the most current data on the transmission system and Generation Resource dispatch.  The ERCOT Transmission Grid topology and related Generation Resource dispatch in the base cases are the critical factors in calculating losses.  Seasonal time periods are defined as follows:

(a)	Spring (March – May)

(b)	Summer (June – September)

(c)	Fall (October – November)

(d)	Winter (December – February)

(2)	ERCOT shall calculate seasonal TLFs by dividing ERCOT seasonal case transmission losses (60 kV system and higher) by the ERCOT seasonal base Load adjusted (reduced) for self-serve Load modeled in the case.  The resulting TLFs are expressed as a percentage of Load.

(3)	ERCOT shall post the seasonal TLFs to the MIS Public Area prior to the start of the year for the next four seasons beginning with the Spring season.  .

13.2.5	Loss Monitoring

ERCOT shall monitor Transmission Losses annually and will investigate any abnormal loss factors.  ERCOT and TSPs shall use the cost of losses as one criterion in evaluating the need for transmission additions.