| NPRR Number | 545 | NPRR Title | Removal of Reference to Wave Traps |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | November 19, 2013 |  |  |
| Effective Date |  | December 1, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.3.2, Types of Work Requiring ERCOT Approval |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes a reference to wave traps as this equipment is not modeled in ERCOT systems. |  |  |
| Reason for Revision |  | Clarifies the Protocols by removing an irrelevant equipment reference. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR545 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 5/28/13, NPRR545 and an Impact Analysis were posted. - On 6/20/13, PRS considered NPRR545. - On 7/18/13, PRS considered the 6/20/13 PRS Report and Impact Analysis for NPRR545. - On 9/5/13, TAC considered NPRR545. - On 11/19/13, ERCOT Board considered NPRR545. |  |  |
| PRS Decision |  | On 6/20/13, PRS unanimously voted to recommend approval of NPRR545 as submitted. All Market Segments were present for the vote. On 7/18/13, PRS unanimously voted to endorse and forward the 6/20/13 PRS Report and Impact Analysis for NPRR545 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 6/20/13, it was stated that wave traps are not included in the Network Operations Model. ERCOT Staff noted that if the wave trap is the limiting Transmission Element, the Transmission Service Provider (TSP) will incorporate the wave trap into the line Rating. On 7/18/13, there was no discussion. |  |  |
| TAC Decision |  | On 9/5/13, TAC unanimously voted to recommend approval of NPRR545 as recommended by PRS in the 7/18/13 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/5/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR545. |  |  |
| Board Decision |  | On 11/19/13, the ERCOT Board approved NPRR545 as recommended by TAC in the 9/5/13 TAC Report. |  |  |

| Business Case |  |
| --- | --- |
| 1 | Clarifies the Protocols by removing an irrelevant equipment reference. |

| Sponsor |  |
| --- | --- |
| Name | Joe Weatherly |
| E-mail Address | Jweatherly@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-6339 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | Jonathan.Levine@ercot.com |
| Phone Number | (512) 248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

3.3.2	Types of Work Requiring ERCOT Approval

Each TSP, QSE and Resource Entity shall coordinate with ERCOT the requirements of Section 3.10, Network Operations Modeling and Telemetry, the following types of work for any addition to, replacement of, or change to or removal from the ERCOT Transmission Grid:

(a)	Transmission lines;

(b)	Equipment including circuit breakers, transformers, disconnects, and reactive devices;

(c)	Resource interconnections; and

(d)	Protection and control schemes, including changes to Remedial Action Plans (RAPs), Supervisory Control and Data Acquisition (SCADA) systems, Energy Management Systems (EMSs), Automatic Generation Control (AGC), or Special Protection Systems (SPSs).