| NPRR Number | 572 | NPRR Title | Asynchronous Tie Interconnection Tie |
| --- | --- | --- | --- |
| Date |  | November 19, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Moore on behalf of Pattern Energy |  |
| E-mail Address |  | john.moore@stratusenergy.com |  |
| Company |  | Stratus Energy Group |  |
| Phone Number |  |  |  |
| Cell Number |  | 512.461.8679 |  |
| Market Segment |  | Independent Generator |  |

Comments

In conjunction with Planning Guide Revision Request (PGRR) 034, Asynchronous Tie Interconnection Process, NPRR572 as submitted introduced the Asynchronous Tie Interconnection Process into the Protocols and Planning Guide.  After discussion at the 10/23/13 Planning Working Group meeting, it was recognized that although the current Direct Current Tie (DC Tie) definition in the Protocols is not technically correct a separate initiative was identified to pursue a more accurate use of the terms “asynchronous tie” and “DC Tie” in both the Protocols and Guides.  Therefore, PGRR034 was withdrawn and PGRR035, DC Tie Interconnection Process, was submitted using the “DC Tie” terminology.  These comments align NPRR572 with the changes proposed in PGRR035.

Revised Cover Page Language

| NPRR Number | 572 | NPRR Title | DC Tie Interconnection Process (formerly “Asynchronous Tie Interconnection Process”) |
| --- | --- | --- | --- |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 3.11.6, Generation Interconnection Process |  |
| Market Guide Sections Requiring Revision |  | Planning Guide Sections (via Planning Guide Revision Request (PGRR) 035, DC Tie Interconnection Process: 2.2, Acronyms and Abbreviations 6.11, Addition of Proposed DC Ties to the Planning Models (new) 7, DC Tie Interconnection or Related Change Requests (new) 7.1, Introduction (new) 7.1.1, Applicability (new) 7.1.2, Responsibilities (new) 7.2, DC Tie Interconnection Process (new) 7.2.1, DC Tie Interconnection or Change Request Application (new) 7.2.2, DC Tie Interconnection or Change Request Study Requirements (new) 7.3, Reliability and Facility Interconnection Study Request (new) 7.3.1, Reliability and Facility Interconnection Study Submission Requirements (new) 7.3.2, Modifications to Request (new) 7.4, Reliability and Facility Interconnection Study Processes and Procedures (new) 7.4.1, Reliability and Facility Interconnection Study Administration (new) 7.4.2, Reliability and Facility Interconnection Study Process Overview (new) 7.4.3, Reliability and Facility Interconnection Study Elements (new) 7.4.3.1, Reliability and Facility Interconnection Study: Steady-State Analysis (new) 7.4.3.2, Reliability and Facility Interconnection Study: Short-Circuit (System Protection) Analysis (new) 7.4.3.3, Reliability and Facility Interconnection Study: Dynamic and Transient Stability (Unit Stability, Voltage, Subsynchronous Resonance) Analysis (new) 7.4.3.4, Subsynchronous Resonance Studies (new) 7.4.3.5, Reliability and Facility Interconnection Study: Facility Study 7.5, Economic Study (new) 7.6, Ancillary Services Study (new) 7.7, Reliability and Facility Interconnection Study Report and Follow-up (new) 7.8, Proof of Site Control (new) 7.9, Confidentiality (new) 7.10, Interconnection Agreement (new) 7.11, Notification to ERCOT Concerning Certain Project Developments (new) 7.12, Compliance with Operational Standards (new) 7.13, DC Tie Data Requirements (new) 7.14, Interconnection Study Fees (new) 7.14.1, Stability Modeling Fee (new) 7.14.2, Reliability and Facility Interconnection Study Fee/Cost (new) 7.15, Interconnection Process Timetables (new) |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) references the formal Direct Current Tie (DC Tie) interconnection process which is being added to the Planning Guide via PGRR035, DC Tie Interconnection Process. |  |
| Reason for Revision |  | To formalize the DC Tie interconnection process in the Protocols and Guides. |  |
| Credit Implications |  | No. |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Provides coordinated language between the Protocols and Planning Guide regarding the interconnection process. |

Revised Proposed Protocol Language

## DEFINITIONS

Interconnecting Entity (IE)

Any Entity that proposes to either interconnect an All-Inclusive Generation Resource with the ERCOT System, upgrade the rated capacity of an existing All-Inclusive Generation Resource by ten MW or greater, re-power an All-Inclusive Generation Resource, or change the Point of Interconnection (POI) of an All-Inclusive Generation Resource; or b)terconnect a an Tie, increase the capacity of a DC Tie by 50 MW or greater, or change the POIupg an existing Asye.

3.11.6	Generation and Direct Current Tie Interconnection Process

The generation interconnection and Direct Current Tie (DC Tie) process facilitates the interconnection of new generation units or new DC Ties in the ERCOT Region by assessing the transmission upgrades necessary for new generating units or DC Ties to operate reliably.  The process to study interconnecting new generation or modifying an existing generation interconnection; or new DC Ties or modifying an existing DC Tie interconnection to the ERCOT Transmission Grid is covered in the Planning Guide.  The generation and DC Tie interconnection study process primarily addresses the direct connection of generation Facilities or DC facilities to the ERCOT Transmission Grid and directly-related projects.  Projects that are identified through this process and are regional in nature may be reviewed through the RPG Project Review process upon recommendation by the TSP or ERCOT, subject to the confidentiality provisions of the generation and DC Tie interconnection procedure.  ERCOT shall perform an independent economic analysis of the transmission projects that are identified through this process that are expected to cost more than $25,000,000.  This economic analysis is performed only for informational purposes; as such, no ERCOT endorsement will be provided.  The results of the economic analysis shall be included in the interconnection study posting.  Additional upgrades to the ERCOT Transmission Grid that might be cost-effective as a result of new or modified generation or new or modified DC Tie may be initiated by any stakeholder through the RPG Project Review procedure described in Section 3.11.4, Regional Planning Group Project Review Process, at the appropriate time, subject to the confidentiality provisions of the generation and DC Tie interconnection procedure.