Section 2:

NOGRR111 – Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis

This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guides with Nodal Protocol Revision Request (NPRR) 527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis, which requires Combined Cycle Generation Resources to telemeter individual High Sustained Limits (HSLs) for gas and steam turbines.

Revised Subsection:  2.2.8