| NPRR Number | 543 | NPRR Title | Message for Confirmed E-Tags |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | November 19, 2013 |  |  |
| Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Priority – 2014; Rank – 980. |  |  |
| Nodal Protocol Section Requiring Revision |  | 4.4.4, DC Tie Schedules |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) provides for notification when a confirmed Electronic Tag (e-Tag) is downloaded, cancelled, or curtailed by ERCOT’s systems. |  |  |
| Reason for Revision |  | When a Qualified Scheduling Entity (QSE) has an import or export over one of the Direct Current Ties (DC Ties), the QSE enters an e-Tag using Open Access Technology International (OATI). Once the e-Tag is confirmed, ERCOT downloads the details from OATI, but currently, the QSE does not have visibility into the information that ERCOT downloaded and therefore cannot verify or confirm that the e-Tag is properly reflected in ERCOT’s systems. Implementing this new message could minimize future Settlement disputes regarding DC Ties if DC Tie-scheduling QSEs received confirmation messages from ERCOT containing high-level details about e-Tags. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR543 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 5/10/13, NPRR543 was posted. - On 6/20/13, PRS considered NPRR543. - On 7/11/13, an Impact Analysis was posted. - On 7/18/13, PRS considered the 6/20/13 PRS Report and Impact Analysis for NPRR543. - On 9/5/13, TAC considered NPRR543. - On 11/19/13, the ERCOT Board considered NPRR543. |  |  |
| PRS Decision |  | On 6/20/13, PRS voted to recommend approval of NPRR543 as submitted. There was one abstention from the Investor Owned Utility (IOU) Market Segment. All Market Segments were present for the vote. On 7/18/13, PRS unanimously voted to endorse and forward the 6/20/13 PRS Report and the Impact Analysis for NPRR543 to TAC with a recommended priority of 2014 and rank of 980. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 6/20/13, it was explained that NPRR543 provides for greater visibility of DC Tie scheduling and subsequent Settlement by requiring ERCOT to provide notification when a confirmed e-Tag is downloaded, cancelled, or curtailed by ERCOT’s systems. On 7/18/13, there was no discussion. |  |  |
| TAC Decision |  | On 9/5/13, TAC unanimously voted to recommend approval of NPRR543 as recommended by PRS in the 7/18/13 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/5/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR543 as the additional e-Tag functionality will provide greater data transparency, thereby reducing the amount of errors and minimizing future Settlement disputes regarding DC Tie scheduling. |  |  |
| Board Decision |  | On 11/19/13, the ERCOT Board approved NPRR543 as recommended by TAC in the 9/5/13 TAC Report. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - QSEs that schedule over DC Ties will be able to verify the information downloaded by ERCOT and contact ERCOT if there are discrepancies, potentially minimizing future Settlement disputes regarding DC Tie scheduling. - Data transparency and reduction in errors. |
|  | 2 | Impacts to Market Segments: - Parsing of the notification is optional. However, QSEs that create DC Tie e-Tags via OATI would be strongly encouraged to update their Application Programmatic Interface (API) codes to receive and process the new message. |

| Sponsor |  |
| --- | --- |
| Name | Jeremy Carpenter |
| E-mail Address | jcarpenter@tnsk.com |
| Company | Tenaska Power Service Co. |
| Phone Number | 817-303-1869 |
| Cell Number | 214-529-2320 |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Proposed Protocol Language Revision

4.4.4	DC Tie Schedules

(1)	All schedules between the ERCOT Control Area and a non-ERCOT Control Area(s) over Direct Current Tie(s) (DC Ties(s)), must be implemented under these Protocols, any applicable North American Electric Reliability Corporation (NERC) Reliability Standards, North American Energy Standards Board (NAESB) Practice Standards, and operating agreements between ERCOT and the Comision Federal de Electricidad (CFE).

(2)	A DC Tie Schedule for hours in the Operating Day corresponding to an Electronic Tag (e-Tag) that is reported to ERCOT before 1430 in the Day-Ahead creates a capacity supply for the equivalent Resource or an obligation for the equivalent Load of the DC Tie in the DRUC process.  DC Tie Schedules corresponding to e-Tags approved after 1430 in the Day-Ahead for the Operating Day create a capacity supply or obligation in any applicable HRUC processes.  DC Tie Schedules corresponding to e-Tags approved after the Reliability Unit Commitment (RUC) snapshot are considered in the Adjustment Period snapshot in accordance with the market timeline.

(3)	A QSE that is an importer into ERCOT through a DC Tie in a Settlement Interval under an approved e-Tag must be treated as a Resource at that DC Tie Settlement Point for that Settlement Interval.

(4)	A QSE that is an exporter from ERCOT through a DC Tie in a Settlement Interval under an approved e-Tag must be treated as a Load at the DC Tie Settlement Point for that Settlement Interval and is responsible for allocated Transmission Losses, Unaccounted for Energy (UFE), System Administration Fee, and any other applicable ERCOT fees.  This applies to all exports across the DC Ties except those that qualify for the Oklaunion Exemption.

(5)	ERCOT shall perform schedule confirmation with the applicable non-ERCOT Control Area(s) and shall coordinate the approval process for the e-Tags for the ERCOT Control Area.  An e-Tag for a schedule across a DC Tie is considered approved if:

(a)	All Control Areas and Transmission Service Providers (TSPs) with approval rights approve the e-Tag (active approval); or

(b)	No Entity with approval rights over the e-Tag has denied it, and the approval time window has ended (passive approval).

(6)	Using the DC Tie Schedule information corresponding to e-Tags submitted by QSEs, ERCOT shall update and maintain a Current Operating Plan (COP) for each DC Tie for which the aggregated DC Tie Schedules for that tie show a net export out of ERCOT for the applicable interval.  When the net energy schedule for a DC Tie indicates an export, ERCOT shall treat the DC Tie as an Off-Line Resource and set the High Sustained Limit (HSL) and Low Sustained Limit (LSL) for that DC Tie Resource to zero.  ERCOT shall monitor the associated Resource Status telemetry during the Operating Period.  When the net energy schedule for a DC Tie shows a net import, the Resource HSL, High Ancillary Service Limit (HASL) and LSL must be set appropriately, considering the resulting net import and any Ancillary Service Schedules for the DC Tie Resource.

(7)	A QSE exporting from ERCOT and/or importing to ERCOT through a DC Tie shall:

(a)	Secure and maintain an e-Tag service to submit e-Tags and monitor e-Tag status according to NERC requirements;

(b)	Submit e-Tags for all proposed transactions; and

(c)	Implement backup procedures in case of e-Tag service failure.

(8)	ERCOT shall post a notice to the MIS Certified Area when a confirmed e-Tag is downloaded, cancelled, or curtailed by ERCOT’s systems.

(9)	ERCOT shall use the DC Tie e-Tag MW amounts for Settlement.  The DC Tie operator shall communicate deratings of the DC Ties to ERCOT and other affected regions and all parties shall agree to any adjusted or curtailed e-Tag amounts.

(10)	DC Tie Load is considered as Load for daily and hourly reliability studies, and settled as Adjusted Metered Load (AML).  DC Tie Load is curtailed prior to other Load on the ERCOT System due to transmission constraints as set forth in Section 6.5.9.3.4, Emergency Notice, and during Energy Emergency Alert (EEA) events as set forth in 6.5.9.4.2, EEA Levels.

(11)	DC Tie Load shall neither be curtailed during the Adjustment Period, nor for more than one hour at a time, except for the purpose of maintaining reliability.