| NPRR Number | 547 | NPRR Title | Governor Test Data |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | November 19, 2013 |  |  |
| Effective Date |  | December 1, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Nodal Protocol Sections Requiring Revision |  | 8.5.1.1, Governor in Service 8.5.1.2, Reporting |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) aligns the Protocols with current practice by clarifying that Governor test results are made available to Transmission Service Providers (TSPs). |  |  |
| Reason for Revision |  | Aligns the Protocols with ERCOT’s current process. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR547 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 6/5/13, NPRR547 and an Impact Analysis were posted. - On 6/20/13, PRS considered NPRR547. - On 7/18/13, PRS considered the 6/20/13 PRS Report and Impact Analysis for NPRR547. - On 9/3/13, Austin Energy comments were posted. - On 9/5/13, TAC considered NPRR547. - On 11/19/13, the ERCOT Board considered NPRR547. |  |  |
| PRS Decision |  | On 6/20/13, PRS unanimously voted to recommend approval of NPRR547 as submitted. All Market Segments were present for the vote. On 7/18/13, PRS unanimously voted to endorse and forward the 6/20/13 PRS Report and Impact Analysis for NPRR547 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 6/20/13, there was no discussion. On 7/18/13, there was no discussion. |  |  |
| TAC Decision |  | On 9/5/13, TAC unanimously voted to recommend approval of NPRR547 as recommended by PRS in the 7/18/13 PRS Report and as amended by the 9/3/13 Austin Energy comments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/5/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR547. |  |  |
| Board Decision |  | On 11/19/13, the ERCOT Board approved NPRR547 as recommended by TAC in the 9/5/13 TAC Report. |  |  |

| Business Case |  |
| --- | --- |
| 1 | Clarified Protocol language. |

| Sponsor |  |
| --- | --- |
| Name | Sandip Sharma |
| E-mail Address | ssharma@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4298 |
| Cell Number | 817-371-7773 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | Sandra.Tindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Austin Energy 090313 | Proposed clarifications regarding a Qualified Scheduling Entity’s (QSE’s) reporting responsibilities in the event of a Governor going out-of-service. |

Proposed Protocol Language Revision

- 8.5.1.1	Governor in Service

At all times an All-Inclusive Generation Resource is On-Line, its Governor must remain in service and be allowed to respond to all changes in system frequency except during startup, shutdown, or testing.  A Generation Entity may not reduce Primary Frequency Response on an individual All-Inclusive Generation Resource even during abnormal conditions without ERCOT’s consent (conveyed by way of the Resource Entity’s Qualified Scheduling Entity (QSE)) unless equipment damage is imminent.  All Generation Resources that have capacity available to either increase output or decrease output in Real-Time must provide Primary Frequency Response, which may make use of that available capacity.  Only Generation Resources providing Regulation Up (Reg-Up), Regulation Down (Reg-Down), Responsive Reserve (RRS), or Non-Spinning Reserve (Non-Spin) from On-Line Resources, as specified in Section 8.1.1, QSE Ancillary Service Performance Standards, shall be required to reserve capacity that may also be used to provide Primary Frequency Response.

- 8.5.1.2	Reporting

(1)	Each Resource Entity shall conduct applicable Governor tests on each of its Generation Resources as specified in the Operating Guides.  The Resource Entity shall provide test results and other relevant information to ERCOT.  ERCOT shall make these results available to the Transmission Service Providers (TSPs).

(2)	Generation Resource Governor modeling information required in the ERCOT planning criteria must be determined from actual Generation Resource testing described in the Operating Guides.  Within 30 days of ERCOT’s request, the results of the latest test performed must be supplied to ERCOT and the connected TSP.

(3)	Each QSE shall inform ERCOT as soon as practical when notified by its On-Line Generation Resource of the Governor being out-of-service.  The QSE shall supply related logs to ERCOT upon request.

(4)	If a Generation Resource trips Off-Line during a disturbance, as described by the North American Electric Reliability Corporation (NERC), while providing Primary Frequency Response, the QSE shall report the cause of the failure to ERCOT as soon as the cause has been identified.