- Section 2:

NPRR527 – Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis

- This Nodal Protocol Revision Request (NPRR) requires Combined Cycle Generation Resources to telemeter individual High Sustainable Limits (HSLs) for gas and steam turbines.

- Revised Subsection:  2.1, 2.2

NPRR546 – Removal of References to RUC Notifications

- This NPRR removes outstanding references to “Reliability Unit Commitment (RUC) Notifications.”  This language is no longer relevant as a result of changes made through NPRR321, Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period, which was approved by the ERCOT Board on 9/20/11.

- Revised Subsection:  2.1

NPRR564– Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions

- This NPRR implements a 30-minute Emergency Response Service (ERS) product introduces Settlement based on a clearing price instead of individual Qualified Scheduling Entity (QSE) offer price; introduces stronger financial penalties for non-performance in a single ERS Standard Contract Term but removes mandatory suspensions; clarifies obligations of ERS Resources when deployments cross over multiple ERS Time Periods; authorizes ERCOT to provide times and dates of particular Resource deployments to QSEs in order to allow them to analyze past performance of newly acquired ERS sites; prohibits participation by sites associated with Dynamically Scheduled Resources (DSRs); clarifies that ERS Generators and ERS Loads are to be evaluated together when an ERS Generator is providing backup to an ERS Load; and calls for ERCOT to define the procurement methodology.

- Revised Subsection:  2.1 [effective February 1, 2014]

NPRR570 – Reduce RTM Settlement Timeline to Operating Day Plus Five

- This NPRR implements a phased approach to change the posting date for the Real-Time Market (RTM) Initial Settlement Statement from seven days after the Operating Day to five days after the Operating Day and changes the posting date of the Final Settlement Statement from the 57th day after the Operating Day to the 55th day after the Operating Day.

- Revised Subsection:  2.1 [effective May 1, 2014, pending system implementation unless the ERCOT Board affirmatively votes to delay implementation to a later date or condition]

- Section 3:

NPRR536 – ERS Time Obligation Certainty

- This NPRR strikes language which has the effect of creating an uncertain and indefinite obligation to provide ongoing Demand response capacity in an Emergency Condition.

- Revised Subsection:  3.14.3.3

NPRR545 – Removal of Reference to Wave Traps

- This NPRR removes a reference to wave traps as this equipment is not modeled in ERCOT systems.

- Revised Subsection:  3.3.2

NPRR550 – Modifications to Planning Reserve Margin Inputs

- This NPRR modifies the Planning Reserve Margin (PRM) based on the results of the 2012 ERCOT Loss of Load Study and subsequent discussions of the Generation Adequacy Task Force (GATF); and removes language in Section 21.1 that allows Section 3.2.6.1 to be revised via the Administrative NPRR process.

- Revised Subsection:  3.2.6.1, 3.2.6.2.1, 3.2.6.2.2

NPRR564– Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions

- See Section 2 above.

- Revised Subsection:  3.14.3, 3.14.3.1, 3.14.3.2, 3.14.3.3, 3.14.3.4 [effective February 1, 2014]

- Section 4:

NPRR543 – Message for Confirmed E-Tags

- This NPRR provides for notification when a confirmed Electronic Tag (e-Tag) is downloaded, cancelled, or curtailed by ERCOT’s systems.

- Revised Subsection:  4.4.4 [effective upon system implementation]

NPRR546 – Removal of References to RUC Notifications

- See Section 2 above.

- Revised Subsection:  4.4.9.2.1

NPRR548 – Remove NPRR153 Grey Boxes and Clarify Fixed Quantity Block Treatment in the DAM

- This NPRR removes the grey boxes that are pending implementation of system changes associated with NPRR153, Generation Resource Fixed Quantity Block; and clarifies how the Day-Ahead Market (DAM) currently considers block offers and bids for Ancillary Services.

- Revised Subsection:  4.4.7.2.1, 4.4.9.5.1, 4.4.9.6.1, 4.5.1

NPRR570 – Reduce RTM Settlement Timeline to Operating Day Plus Five

- See Section 2 above.

- Revised Subsection: 4.2.1.2 [effective January 1, 2014]

Point-to-Point (PTP) Obligation Discount Factor

- On 11/19/13, the ERCOT Board revised the PTP Obligation Discount Factor from 80% to 90% effective December 1, 2013.

- Revised Subsection:  4.4.10

- Section 6:

NPRR527 – Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis

- See Section 2 above.

- Revised Subsection:  6.5.5.2 [partially effective upon system implementation]

NPRR536 – ERS Time Obligation Certainty

- See Section 3 above.

- Revised Subsection:  6.5.9.4.2

NPRR553 – Monthly BLT Payment and Charge for Presidio Exception

- This NPRR introduces a new monthly charge type allocated through monthly Load Ratio Share (LRS) for energy associated with the Presidio Exception.

- Revised Subsection:  6.6.3.5

NPRR564 – Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions

- See Section 2 above.

- Revised Subsection:  6.5.9.4.2, 6.6.11.1, 6.6.11.2 [effective February 1, 2014]

- Section 8:

NPRR547 – Governor Test Data

- This NPRR aligns the Protocols with current practice by clarifying that Governor test results are made available to Transmission Service Providers (TSPs).

- Revised Subsection:  8.5.1.1, 8.5.1.2

NPRR564 – Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions

- See Section 2 above.

- Revised Subsection:  8.1.3.1.1, 8.1.3.1.2, 8.1.3.1.3, 8.1.3.1.3.1, 8.1.3.1.3.2, 8.1.3.1.3.3, 8.1.3.1.4, 8.1.3.2, 8.1.3.3, 8.1.3.3.1, 8.1.3.4, 8.4 [effective February 1, 2014]

- Section 9:

NPRR570 – Reduce RTM Settlement Timeline to Operating Day Plus Five

- See Section 2 above.

- Revised Subsection: 9.5.2, 9.5.4. 9.5.5 [effective May 1, 2014, pending system implementation unless the ERCOT Board affirmatively votes to delay implementation to a later date or condition] and 9.5.4 [partially effective January 1, 2014]

NPRR564 – Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions

- See Section 2 above.

- Revised Subsection:  9.14.5 [effective February 1, 2014]

- Section 10:

NPRR570 – Reduce RTM Settlement Timeline to Operating Day Plus Five

- See Section 2 above.

- Revised Subsection:  10.8.1.2 [effective May 1, 2014, pending system implementation unless the ERCOT Board affirmatively votes to delay implementation to a later date or condition]

- Section 13:

NPRR549 – Clarification for Posting Transmission Loss Factors

- This NPRR clarifies the posting requirements for Transmission Loss Factors (TLFs).

- Revised Subsection:  13.2.4

- Section 16:

NPRR559 – Revisions to MCE Calculation

- This NPRR revises the definition of the Minimum Current Exposure (MCE) component of Total Potential Exposure (TPE) to allow adjustment for the revised Settlement cycle that will be effective with implementation of NPRR509, Shortened RTM Settlement Cycle; and clarifies the approval process for variables M1 and M2 to specify that the Technical Advisory Committee (TAC) and ERCOT Board-approved changes will be implemented on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board.

- Revised Subsection:  16.11.4.1 [partially effective upon system implementation]

- Section 21:

NPRR550 – Modifications to Planning Reserve Margin Inputs

- See Section 3 above.

- Revised Subsection:  21.1

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting and correcting Section numbering and references.

- Revised Subsections:  3.10.1, 10.8.1.1