## Slide 1: Ancillary Services Methodology Changes
Bill Blevins
Manager, Operations Planning

## Slide 2: Schedule for discussion with Stakeholders
Week of 30th Sept | Release the red-line version to stakeholders
7-Oct | QMWG
9-Oct | WMS
10-Oct/14-Nov | ROS
3-Dec | TAC
10-Dec | BOD
Feb-1-2014 | Implementation

## Slide 3: Overview of Proposed Changes
Update the factors used to adjust the Regulation Service quantities for additional installed wind generation
Remove Load Forecast Bias adjustment from ERCOT Load Forecast used by Control Room
Modify the method used to determine the quantity of Non-Spinning Reserve Service (NSRS) capacity to be procured by using the Load Forecast Bias that is based on the six hours ahead-forecast instead of the mid-night forecast.

## Slide 4: Regulation Service Adjustment for Additional Wind
ERCOT has updated the analysis from the GE study using actual wind output and uses the median of the regulation requirement for the last five years.
Conclusions:
  Relationships between Reg needed and MW wind is still linear
  Overall, increase in Reg needed per MW increase in installed wind is slightly less than what GE Study predicted
MW Changes in Regulation requirements are small; less than 5MW in any hour
Link for Report on study to update the GE table
http://www.ercot.com/calendar/2013/10/20131007-QMWG

## Slide 5: Problems with Current Implementation of Bias in Forecasting
The bias is calculated based on the day-ahead error and applied not only to the Day Ahead load forecast but to the Real-Time load forecast as well.
  The load forecast becomes more accurate as the time of the forecast approaches real-time
The bias is applied to all three ERCOT load forecasts regardless of which forecast was actually used in determination of bias
The posting of unbiased forecast and/or biased forecast has created communication issues for ERCOT with external entities.

## Slide 6: ERCOT’s Recommendation
ERCOT recommends that, TAC endorse the proposed changes to the Ancillary Services Methodology for 2014 as endorsed by 11/14/2013 ROS and to be effective on February 1, 2014.