| PGRR Number | 030 | PGRR Title | New Planning Guide Sections 8A, Declaration of Resource Data Accuracy and 8B, Declaration of Adequate Water Rights (formerly “New Planning Guide Section 8A, Declaration of Resource Data Accuracy”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | November 7, 2013 |  |  |
| Proposed Effective Date |  | January 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Planning Guide Sections Requiring Revision |  | 5.3.2, Modifications to Request 8, Attachment A, Declaration of Resource Data Accuracy (new) 8, Attachment B, Declaration of Adequate Water Rights (new) |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) creates a standardized declaration form to facilitate compliance with the declaration submission requirement in paragraph (2) of Section 5.3.2 and modifies this paragraph to require submission of this standardized declaration. This PGRR also adds a declaration for adequate water rights which must be submitted to ERCOT upon execution of the Standard Generation Interconnection Agreement (SGIA). |  |  |
| Reason for Revision |  | Market Participants have requested that ERCOT develop a standardized form to be used by Interconnecting Entities (IEs) for the purpose of complying with the declaration requirement. Additionally, ERCOT is creating a standardized declaration form for the submission of adequate water rights. |  |  |
| Procedural History |  | - On 5/24/13, PGRR030 and an Impact Analysis were posted. - On 6/26/13, the Planning Working Group (PLWG) considered PGRR030. - On 8/22/13, ERCOT comments were posted. - On 8/28/13, PLWG considered the 6/26/13 PLWG Report and Impact Analysis for PGRR030. - On 9/12/13, ROS considered PGRR030. - On 10/2/13, PLWG comments were posted. - On 10/10/13, ROS again considered PGRR030. - On 11/7/13, TAC considered PGRR030. |  |  |
| PLWG Decision |  | On 6/26/13, the PLWG was in consensus to recommend approval of PGRR030 as revised by PLWG. On 8/28/13, the PLWG was in consensus to endorse and forward the 6/26/13 PLWG Report as amended by the 8/22/13 ERCOT comments and as revised by PLWG and the Impact Analysis for PGRR030 to ROS. |  |  |
| Summary of PLWG Discussion |  | On 6/26/13, it was clarified that the declaration requirement applies to proposed facilities and not existing Generation Resources. On 8/28/13, the 8/22/13 ERCOT comments were discussed. It was clarified that IEs have ten Business Days to submit updates to the registration form or change in ownership to ERCOT and Transmission Service Providers (TSPs) where applicable. ERCOT Staff noted that any officer or person with authority to bind the IE may sign the Declaration of Adequate Water Rights. |  |  |
| ROS Decision |  | On 9/12/13, ROS voted to table PGRR030 for one month and refer the issue to PLWG. There was one abstention from the Cooperative Market Segment. All Market Segments were present for the vote. On 10/10/13, ROS voted to recommend approval of PGRR030 as recommended by PLWG in the 8/28/13 PLWG Report. There was one abstention from the Independent Power Marketer (IPM) Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 9/12/13, there was a request for the PLWG to clarify when an IE is no longer required to submit the Declaration of Resource Data Accuracy and when an IE becomes a Resource Entity. On 10/10/13, the PLWG recommended incorporating revisions to the definition of an IE into Nodal Protocol Revision Request (NPRR) 567, Stakeholder Review of Resource Registration Data Requirements, to clarify when an IE is no longer required to submit the Declaration of Resource Data Accuracy and when an IE becomes a Resource Entity. |  |  |
| TAC Decision |  | On 11/7/13, TAC unanimously voted to recommend approval of PGRR030 as recommended by ROS in the 10/10/13 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 11/17/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR030. |  |  |

| Business Case |  |
| --- | --- |
| 1 | - Provides a standard form to be used by Market Participants in order to meet Planning Guide requirements. |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-6531 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | (512) 248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 082213 | Proposed an attestation form for proof of adequate water rights. |
| PLWG 100213 | Proposed incorporating revisions to clarify the definition of an IE into NPRR567 to address the directive from the 9/12/13 ROS meeting. |

Comments

Please note that PGRR032, Stakeholder Review of Resource Registration Data Requirements, also proposes revisions to Section 5.3.2.

Proposed Guide Language Revision

- 5.3.2	Modifications to Request Declarations of Resource Data Accuracy

(1)	The IE shall maintain communication with ERCOT and the TSP at all stages of the generation interconnection process.  As soon as possible, but in no event later than ten Business Days after any relevant change, the IE shall notify both ERCOT (via email at GINR@ercot.com) and the TSP of any changes that would affect the technical attributes and/or timeline of the project, including, but not limited to the following elements:

(a)	Capacity;

(b)	In-service date;

(c)	Location;

(d)	Generator type;

(e)	Interconnection agreement execution;

(f)	Status of the acquisition of any necessary rights to water supplies; and

(g)	Status of the acquisition of any necessary air permits.

(2)	The IE shall update the Resource registration form as soon as possible, but no later than ten Business Days, following any change to the proposed facility and shall submit the updated information to ERCOT and the TSP.  This obligation to update continues even after any interconnection agreement is signed.

(3)	Twice each year, each IE that has submitted an FIS request shall submit, for each proposed facility, the declaration in Section 8, Attachment A, Declaration of Resource Data Accuracy, stating that, as of the date of submission, the most recently submitted data on the current version of the Resource registration form accurately reflects the anticipated characteristics of the proposed Resource.  The declaration shall be executed by an officer or other person having authority to bind the company and shall be submitted to ERCOT via email at GINR@ercot.com.  Each IE shall submit one declaration for each project no earlier than March 1 and no later than March 15 each year, and shall submit another declaration for each proposed facility no earlier than September 1 and no later than September 15 each year.

(4)	If, after receipt of an updated Resource registration form, ERCOT or the TSP determines that any subsequent changes to the project may affect the reliable operation of the ERCOT System or otherwise warrant new studies, then ERCOT may require additional studies to be performed before the proposed Generation Resource is allowed to interconnect to the ERCOT System.  The IE and TSP(s) shall develop a schedule for completing the additional studies.  The TSP shall provide the FIS studies to ERCOT and the other TSPs through the confidential email list.  If these additional studies show that the project would not meet the operational standards specified in the Protocols, this Planning Guide, the Operating Guides, or Other Binding Documents, ERCOT may require the IE to demonstrate its compliance with these standards as a condition for energization of the proposed Generation Resource.

(5)	If the IE increases the requested amount of capacity of the proposed Generation Resource by more than 20% of the amount requested in the screening study, ERCOT shall require the IE to submit a new Generation Interconnection or Change Request (GINR) for the additional capacity or for the entire project.  ERCOT may, at its discretion, require the IE to submit a new GINR for significant capacity decreases or capacity increases of less than 20%, particularly if other changes to the request are also made, such as changes to the in-service date.  ERCOT’s determination as to whether new studies are needed in no way affects the ongoing obligations of the IE and TSP to comply with North American Electric Reliability Corporation (NERC) Reliability Standards, Protocols, this Planning Guide, and the Operating Guides.

(6)	Within ten Business Days, the IE shall notify ERCOT and the relevant TSP(s) of any change in ownership and shall provide conclusive documentary evidence of the ownership change (such as a purchase/sale agreement or a document executed by both parties confirming the transaction).

- 5.5.4	Notification to ERCOT Concerning Certain Project Developments

The following notifications shall be provided to ERCOT at GINR@ercot.com:

(1)	The IE shall notify ERCOT within ten Business Days of when it has given the TSP notice to proceed with the FIS.

(2)	The TSP must transmit a copy of the signed SGIA to ERCOT within ten Business Days of execution.

(3)	The TSP must transmit to ERCOT within a ten Business Days of execution a copy of any financially binding agreement between the IE and the TSP under which the interconnection for a Generation Resource will be constructed.

(4)	The TSP must transmit a written notice to ERCOT within ten Business Days after it receives both a notice to proceed with construction of the interconnection for the Generation Resource and the financial security sufficient to fund the interconnection facilities pursuant to either agreement addressed in (2) or (3) above.

(5)	A MOU or EC must transmit a letter from a duly authorized official to ERCOT confirming the Entity’s intent to construct and operate a proposed Generation Resource and interconnect such Generation Resource to its own transmission system.

(6)	Following the execution of an SGIA, the IE must complete and submit Section 8, Attachment B, Declaration of Adequate Water Rights, for each unique GINR as soon as the relevant water rights have been secured or, for Resources that do not require a water right to operate, upon submission of the SGIA to ERCOT.  The declaration shall be executed by an officer or other person having authority to bind the company and shall be submitted to ERCOT.

ERCOT Planning Guide

Section 8: Attachments

Attachment A

Declaration of Resource Data Accuracy

[DATE]

Declaration of Resource Data Accuracy

Name of Interconnecting Entity:

_____________________________________________________

Name and INR number of Project:

_____________________________________________________

Declaration Submission Period:

 March 1-15, 20___

 September 1-15, 20___

By signing below, I certify that I am knowledgeable about the design of the above-named project, and that the Resource registration form most recently submitted to ERCOT for the above-named project accurately reflects the anticipated characteristics of the proposed Resource.

I further certify that I am authorized to execute and submit this declaration on behalf of the Interconnecting Entity listed above, and that the statements contained herein are true and correct.

______________________________________

Signature

______________________________________

Name

______________________________________

Title

______________________________________

Date

ERCOT Planning Guide

Section 8: Attachments

Attachment B

Declaration of Adequate Water Rights

[DATE]

Declaration of Adequate Water Rights

This attestation form is provided as a means for Interconnecting Entities (IE) to notify ERCOT of water rights obtained for proposed Generation Resources that require water to operate.  Section 6.9 of the ERCOT Planning Guide requires proof of such rights before ERCOT may include a proposed Generation Resource in the base cases created and maintained by the Steady State Working Group (SSWG), the System Protection Working Group (SPWG), and the Dynamics Working Group (DWG).

Each IE should submit this attestation for each unique Generation Resource Interconnection Request (GINR) as soon as the relevant water rights have been secured, or, for Resources that do not require a water right to operate, upon submission of the Interconnection Agreement with the TSP.  The attestation should be signed by an officer or other individual with authority to bind the IE.  The IE should submit the attestation and the necessary attachments to ERCOT via email at GINR@ercot.com.

ATTESTATION

Name of Interconnecting Entity:

_____________________________________________________

Name and INR number of Project:

_____________________________________________________

By signing below, I certify that I am knowledgeable about the above-named project, and hereby represent as follows (check one of the following):

No water rights are needed for the operation of the above-named proposed Resource.

The IE, the owner of the proposed Resource, or another similarly situated party has secured water rights by contract or by permit sufficient for the operation of the proposed Resource.  A copy of the relevant contract(s) and/or permit(s) is attached to this declaration.  This right (or rights) allows the Resource owner or operator access to water according to the following terms (describe basic terms, including quantity, duration, and conditions of access):

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________

Signature

______________________________________

Name

______________________________________

Title

______________________________________

Date