ERCOT System Protection Working Group (SPWG)

monthly report to

ERCOT Reliability Operation Subcommittee (ROS)

December 9th, 2013

SPWG meetings since last ROS meeting:

SPWG last met on 11/21/13 & 11/22/13. Draft meeting minutes and action items are in development and will be posted by 1/3/14. The SPWG meeting calendar for 2014 was developed and dates have been posted on the ERCOT web site. The 2014 CY & FY short circuit case building schedule was developed and approved.

Major discussion topics for the November SPWG meeting were:

- A discussion with a NERC representative (via WebEx) and TRE on misoperations

- Event reporting within ERCOT, and reporting formats – NERC, TRE, and ERCOT

- Technical presentation on protecting multi-terminal lines

- Update on Panhandle renewable studies

- Minor edits to SPWG-specific Short Circuit Case Building Guide

- Discussion on end-to-end relay testing using GPS synchronized test sets

- Geomagnetic Disturbance presentation and discussion

- Nominees for SPWG 2014 Chair (Andrew Mattei, Brazos Electric) and Vice-Chair (Brian Clowe, Centerpoint Energy) have been identified.

Upcoming activity (action items):

- SPWG comments on NOGRR 123

  - Eliminate Failure to Reclose

  - Allow TRE format for reports

- Short circuit case timeline begins 1/3/2014

2014 SPWG Meetings

- Scheduled for:  March 17 & 18, July 16 & 17, and November 20 & 21 at ERCOT Met Center Facility.

Submitted by Danny Ee, SPWG 2013 Chair, 12/09/13