## Slide 1: PLWG Report to ROS
December 12, 2013
John Moore, PLWG Chair

## Slide 2: Voting Item: PGRR033 Dynamics Flat Start Cases Preparation
PLWG recommends support for PGRR033 as currently written with no additional edits:
  This PGRR adds the requirement to the Planning Guide for ERCOT to prepare all flat start simulations
  This PGRR aligns the Planning Guide with the Dynamics Working Group Procedural Manual, Revision 8, which requires ERCOT to prepare all flat start simulations after 1/1/15
  Support for PGRR033 was unanimous of those attending November 22 PLWG Mtg

## Slide 3: Update: PGRR028 Evaluation of Compliance with Reactive Requirements
PLWG considered issues raised at November ROS Mtg.
Primary concern is appropriate language defining reactive operating range for anticipated future voltage profiles.
After considerable discussion by stakeholders, decision was made to table to allow for additional consideration of how to define operating ranges and assure consistency with other operating guide requirements.
ERCOT Staff (Isabel) and other stakeholders will discuss operating range issues and submit recommended language edits for consideration at December PLWG Mtg.

## Slide 4: Active PGRRs/NPRRs Under Consideration
PGRR035 “DC Tie Interconnection Process”
  Detail review of PGRR035 was held at November PLWG Mtg
  November PLWG Mtg discussion identified issues that require additional consideration and edits to current draft language.
  Stakeholder comments on identified issues will be received and considered at December PLWG Mtg with intent to get revised language developed for final consideration at January PLWG Mtg.
NPRR572 “Asynchronous Tie Interconnection Process”
  Expect to have NPRR572 assigned to PLWG for review.
  NPRR572 language will need to coordinated with final PGRR035 language.