# NDSWG Report to ROS

# December 2013

**NDSWG held a webex meeting on 12/10/13 to discuss NPRR556.**

Based on the meeting comments, NDSWG recommends the following suggested changes to NPRR556 language for ROS endorsement.

***ERCOT Comments 10-29-13:***

|  |
| --- |
| ***[NPRR556: Insert paragraph (9) below upon system implementation:]***  (9) For purposes of Day-Ahead Market (DAM) Ancillary Services clearing, transmission Outages will be presumed not to affect the availability of any Load Resource for which an offer is submitted; however, in the event that a TSP confirms to ERCOT that a Load Resource will not remain connected during a transmission Outage, ERCOT will temporarily override the energization status of the Load Resource in DAM to properly reflect the status during the Outage. |

***NDSWG Recommendation 12-10-13 [CLEAN]:***

***[NPRR556: Insert paragraph (9) below upon system implementation:]***

(9) For purposes of Day-Ahead Market (DAM) Ancillary Services clearing, transmission Outages will be presumed not to affect the availability of any Load Resource for which an offer is submitted. In the event that ERCOT contacts a TSP and confirms that load will not remain connected during a transmission Outage, ERCOT will temporarily override the energization status of the load in DAM to properly reflect the status during the Outage.

**Upcoming NDSWG activities:**

Develop and submit NDSWG comments for NOGRR034

Next meeting scheduled for 1/21/2014.