ERCOT Planning Guide

- Table of Contents

- January 1, 2014

1	Process for Planning Guide Revision	1

1.1	Purpose	1

1.2	Process for Planning Guide Revision	1

1.2.1	Introduction	1

1.2.2	Submission of a Planning Guide Revision Request	2

1.2.3	Planning Working Group	3

1.2.4	Planning Guide Revision Procedure	3

1.2.5	Urgent Requests	12

1.2.6	Planning Guide Revision Implementation	13

2	Definitions and Acronyms	2-1

2.1	Definitions	2-1

2.2	Acronyms and Abbreviations	2-3

3	Regional Planning	3-1

3.1	Communications	1

3.1.1	Overview of Major Transmission Planning Activities	1

3.1.2	Regional Planning Group Project Submission	2

3.1.3	Project Evaluation	4

3.1.4	Regional Transmission Plan Development Process	5

3.1.5	Regional Planning Group Comment Process	6

3.1.6	Notify PUCT of Recommended Transmission Projects	7

4	Transmission Planning Criteria	4-1

4.1	Introduction	1

4.1.1	Reliability Criteria	2

4.1.2	ERCOT Application of NERC Standards for System Assessments	4

5	GENERATION RESOURCE INTERCONNECTION or Change Request	1

5.1	Introduction	1

5.1.1	Applicability	1

5.1.2	Responsibilities	2

5.2	Generation Interconnection Process	2

5.2.1	Generation Interconnection or Change Request Application	3

5.2.2	Generation Interconnection or Change Request Submission Requirements	4

5.3	Full Interconnection Study Request	5

5.3.1	Full Interconnection Study Submission Requirements	6

5.3.2	Modifications to Request Declarations of Resource Data Accuracy	7

5.4	Study Processes and Procedures	8

5.4.1	Security Screening Study	8

5.4.2	Full Interconnection Study	9

5.4.3	Steady-State Analysis	12

5.4.4	System Protection (Short-Circuit) Analysis	12

5.4.5	Dynamic and Transient Stability (Unit Stability, Voltage, Subsynchronous Resonance) Analysis	13

5.4.6	Facility Study	14

5.4.7	Economic Study	14

5.4.8	FIS Study Report and Follow-up	15

5.4.9	Proof of Site Control	16

5.4.10	Confidentiality	16

5.5	Interconnection Agreement	17

5.5.1	Standard Generation Interconnection Agreement	17

5.5.2	Other Arrangements for Transmission Service	18

5.5.3	Provisions for Municipally Owned Utilities and Cooperatives	18

5.5.4	Notification to ERCOT Concerning Certain Project Developments	18

5.6	Compliance with Operational Standards	19

5.7	Interconnection Data, Fees, and Timetables	19

5.7.1	Generation Resource Data Requirements	19

5.7.2	Interconnection Study Fees	21

5.7.3	Stability Modeling Fee	21

5.7.4	Full Interconnection Study Fee/Cost	22

5.7.5	Interconnection Process Timetables	22

5.8	GENERAL AND TECHNICAL STANDARDS	24

5.8.1	Other Standards	24

5.8.2	Transformer Tap Position	24

6	Data/Modeling	6-1

6.1	Steady-State Model Development	1

6.2	Dynamics Modeling Development	2

6.2.1	Dynamics Data Requirements for Resources	3

6.2.2	Dynamics Data Requirements for Load Resources	4

6.2.3	Dynamics Data Requirements for and Transmission and/or Distribution Service Providers	4

6.2.4 	Dynamics Data Screening and Maintenance	4

6.2.5 	Dynamics Data Recorder	5

6.3	Process for Developing Short Circuit Cases	5

6.4	Transmission Project Information and Tracking Report and Data Requirements	6

6.4.1	Transmission Project Information and Tracking Report	6

6.4.2	ERCOT Responsibilities	7

6.4.3	TSP Responsibilities	7

6.4.4 	Five-Year Transmission Plan Projects in Transmission Project Information and Tracking Report	7

6.5	Annual Load Data Request	8

6.6	Intentionally Left Blank	9

6.7	Data Dictionary	9

6.8	Resource Registration Procedures	9

6.8.1	Resource Registration	9

6.8.2	Resource Registration Process	10

6.9	Addition of Proposed Generation Resources to the Planning Models	10

7	RESERVED	7-1

8	Attachments	8-1

Declaration of Resource Data Accuracy	8(A)

Declaration of Adequate Water Rights	8(B)

9	RESERVED	9-1