DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, December 12, 2013 – 9:30 a.m.

Attendance

Members:

| DeTullio, David | Air Liquide |  |
| --- | --- | --- |
| Dillard, Jesse | City of Dallas |  |
| Ebrahimian, Reza | Austin Energy | Alt. Rep. for J. Armke |
| Garrett, Mark | Direct Energy | Via Teleconference |
| Green, Bob | Garland Power and Light | Via Teleconference |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Holloway, Harry | GDF Suez |  |
| Jones, Randy | Calpine | Alt. Rep. for M. Wagner |
| Juricek, Michael | Oncor Electric Delivery | Alt. Rep. for K. Donohoo |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kolb, Larry | Golden Spread |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lona, Robert | TNMP | Alt. Rep. for T. Hudson |
| Lyons, Chris | Exelon |  |
| Marsh, Tony | MAMO Enterprises |  |
| Moore, John W. | STEC |  |
| Power, David | Public Citizen | Alt Rep. for C. Reed |
| Rocha, Paul | CenterPoint Energy |  |
| Ryno, Randy | Brazos Electric |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Williams, Blake | CPS Energy |  |

The following proxy was assigned:

- Bob Green to James Armke/Reza Ebrahimian

- Scott Helyer to Tony Marsh

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Bevill, Jennifer | AEP |  |
| Brown, Amanda | Xtreme Power |  |
| Brown, Jeff | Shell | Via Teleconference |
| Burke, Tom | GSEC | Via Teleconference |
| Chessmore, Carol | Oncor | Via Teleconference |
| Cook, Tim | CTT | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| Firestone, Joel | Topaz Power |  |
| Fogarty, Audrey | Xtreme Power | Via Teleconference |
| Froehling, Greg | Rayburn Electric | Via Teleconference |
| Giffin, Blair | Lone Star Transmission |  |
| Grimes, Mike | EDP Renewables | Via Teleconference |
| Henry, Mark | Texas Reliability Entity |  |
| Horvath, Julius | WETT | Via Teleconference |
| John, Ebby | CenterPoint Energy | Via Teleconference |
| Jones, Liz | Oncor |  |
| Judson, Judith | CES | Via Teleconference |
| Kee, David | CPS Energy | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Kremling, Barry | GVEC |  |
| Kroskey, Tony | Brazos Electric Cooperative |  |
| Lane, Rob | Luminant |  |
| Li, Young | Potomac Economics | Via Teleconference |
| Lichtenstiger, Neil | Xtreme Power | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Mattei, Andrew | Brazos Electric Cooperative | Via Teleconference |
| McClellan, Suzi | Good Company |  |
| Moore, John A. | Stratus Energy |  |
| Muñoz, Manuel | CenterPoint Energy | Via Teleconference |
| Nashawati, Eithar | Oncor |  |
| Ögelman, Kenan | CPS Energy |  |
| Reid, Walter | Wind Coalition |  |
| Rodriguez, Kristen | EPE Consulting | Via Teleconference |
| Stanfield, Leonard | CPS Energy | Via Teleconference |
| Stephenson, Randa | Lone Star Transmission |  |
| Trout, Seth | CES | Via Teleconference |
| Turner, David | Lone Star Transmission |  |
| Vo, Trieu | CPS Energy |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Frosch, Colleen |  |  |
| Fryer, Andrew |  | Via Teleconference |
| Geer, Ed |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| King, Charles |  | Via Teleconference |
| Landry, Kelly |  |  |
| Levine, Jonathan |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Saathoff, Kent |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Springer, Agee |  |  |
| Teixeira, Jay |  |  |
| Tindall, Sandra |  | Via Teleconference |
| Thompson, Chad |  |  |
| White, Camden |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

2013 ROS Chair Harry Holloway called the December 12, 2013 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Holloway directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the agenda

Draft Meeting Minutes (see Key Documents)

November 14, 2013

Consideration of the November 14, 2013 ROS meeting minutes was deferred to the January 9, 2014 ROS meeting.

Technical Advisory Committee (TAC) Update (see Key Documents)

Bill Hatfield noted the disposition of voting items considered at the December 3, 2013 TAC meeting, and noted that Planning Guide Revision Request (PGRR) 031, Implement 95% Facility Rating Limit in the Planning Criteria, was recommended for approval, but due to a ballot calculation irregularity, the item would also be noticed for possible vote on the January 30, 2014 TAC meeting agenda.

Draft 2014 TAC Goals

Mr. Hatfield noted that TAC further revised its draft 2014 goals at the December 3, 2013 TAC meeting.

Draft 2014 ROS Goals

Mr. Hatfield reviewed revised draft 2014 ROS goals, and noted that all goals may require further revision after the February 11, 2014 ERCOT Board of Directors (ERCOT Board) meeting.

ROS Procedures (see Key Documents)

Kelly Landry reviewed proposed revisions to the ROS Procedures

Blake Williams moved to approve the revised ROS Procedures as presented.  Randy Ryno seconded the motion.  The motion carried unanimously.

PRS Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 572, Asynchronous Tie Interconnection Process

Paul Rocha moved to refer NPRR572 to the Planning Working Group (PLWG) for consideration with PGRR035, DC Tie Interconnection Process.  Mr. Ryno seconded the motion.  The motion carried unanimously.

NPRR576, Changing Non-Spin Service to an Off-Line Service

Mr. Rocha moved to refer NPRR576 to the Performance, Disturbance, Compliance Working Group (PDCWG).  Randy Jones seconded the motion.  Market Participants agreed that PDCWG will require significant support from ERCOT Staff in order to consider NPRR576.  The motion carried unanimously.

NPRR581, Add Fast Responding Regulation Service as a Subset of Regulation Service

Mr. R. Jones moved to endorse NPRR581 as amended by the 12/11/13 ERCOT comments.  Mr. Rocha seconded the motion.  Mr. R. Jones reasserted that Fast Responding Regulation Service (FRRS) is appropriately housed as a Primary Frequency Response service.  The motion carried with one objection from the Independent Power Marketer (IPM) Market Segment.

ERCOT Updates (see Key Documents) Update – Project to Complete Resource Asset Registration Form (RARF) Database Jay Teixeira presented a final update regarding the RARF Data Completion Project.

November 2013 Operations Report Agee Springer presented the November 2013 Operations report. Market Participants discussed the possibility of adding voltage oscillations to the monthly report; and potential configuration issues pertaining to the Voltage Security Assessment Tool (VSAT) being unrelated to Security-Constrained Economic Dispatch (SCED) and having no impact to prices.

November 2013 System Planning Report Jeff Billo presented the November 2013 System Planning report and noted that Table 1.4, Projects with Interconnection Agreements, is correct, while Chart 1.7, Wind Generation Capacity Installed by Year, has errors. Dynamics Working Group (DWG) (see Key Documents) Reza Ebrahimian reviewed recent DWG activities and requested ROS table PGRR033, Dynamic Flat Start Cases Preparation. PGRR033 Mr. Rocha moved to defer consideration of PGRR033 to the January 9, 2014 ROS Meeting. Blake Williams seconded the motion. The motion carried unanimously. DWG Procedure Manual Market Participants discussed difficulties in acquiring models for Power System Simulator for Engineering (PSSE) V33; the difficulty of maintaining two versions of software; that generic models are vendor tested, where user-written models may experience issues when transferring between versions; and the likelihood that Entities will not able to comply with the December 31, 2013 deadline for V33. Market Participants also discussed that the North American Electric Reliability Corporation (NERC) Model Validation Working Group will meet with industry members regarding standardized models; that in the short-term a middle ground is needed between generic and proprietary models; that Transmission Service Providers (TSPs) have planning obligations and need a standard for data; and that effort must be made to ensure modeling issues do not extend past wind technologies to other, newer renewable technologies. Texas Reliability Entity (Texas RE) Staff offered to be in contact with other regions regarding the issue. Market Participants discussed that the December 31, 2013 upgrade deadline is not reasonable and should be extended. Mr. Williams moved to waive notice in order to consider revisions to the DWG Procedures Manual. Rick Keetch seconded the motion. The motion carried unanimously. Mr. Rocha moved to amend the DWG Procedures Manual to facilitate a March 31, 2014 deadline for PSSE V33. Mike Juricek seconded the motion. The motion carried unanimously. Network Data Support Working Group (NDSWG) (see Key Documents) NPRR556, Resource Adequacy During Transmission Equipment Outage Mr. R. Jones moved to endorse NPRR556 as amended by the 10/29/13 ERCOT comments and as revised by ROS. Clayton Greer seconded the motion. The motion carried unanimously. NERC Reliability Working Group (NRWG) Mr. Juricek reviewed recent NRWG activities. Operations Working Group (OWG) (see Key Documents) Mr. Holloway noted that OWG had not met since the last ROS meeting. Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents) David Kee reviewed recent PDCWG activities and presented questions and answers regarding NPRR524, Resource Limits in Providing Ancillary Service. Market Participants debated how to be responsive to TAC regarding NPRR524, and noted that any interested individual may file comments or a Revision Request. Release of Reserves under ORDC Mr. Kee noted that PDCWG would take another month to consider the issue of releasing Reserves under ORDC and develop scenarios for ROS consideration. Mr. Greer requested that PDCWG provide conference call access for the open portion of the PDCWG meeting. Planning Working Group (PLWG) (see Key Documents) John A. Moore reviewed recent PLWG activities. PGRR033 Mr. Moore noted that PGRR033 was addressed earlier in the day and no longer a PLWG action item unless reassigned by ROS. Resource Data Working Group (RDWG) (see Key Documents) Dana Showalter reviewed recent RDWG activities and requested that Market Participants provide impact information to RDWG for development of the MP Online Cost Benefit Analysis. Steady State Working Group (SSWG) (see Key Documents) SSWG Procedure Manual Mr. R. Jones moved to approve the revised SSWG Procedure Manual as presented. Mr. Ryno seconded the motion. The motion carried unanimously. Rob Lane expressed concern for data missing from the recent Transmission Project Information and Tracking (TPIT) Report, and opined that Entities that do not provide data as required are in violation of the Planning Guide. Synchrophasor Task Force (see Key Documents) Kristian Koellner reviewed recent Synchrophasor Task Force activities. System Protection Working Group (SPWG) (see Key Documents) Andrew Mattei reviewed recent SPWG activities. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati reviewed recent VRTF activities. Geomagnetic Disturbance Task Force (GMDTF) (see Key Documents) Dan Woodfin proposed the establishment of a GMDTF and presented a draft scope for ROS consideration. Mr. Ryno moved to establish the GMDTF and to approve the scope as presented. Mr. Juricek seconded the motion. The motion carried unanimously. Other Business (see Key Documents) December 13, 2013 – Workshop #2: Future Ancillary Services in ERCOT December 16, 2013 – Joint ROS/WMS Workshop re CDR Methodology Change Mr. Holloway called attention to upcoming workshops and encouraged participation. Mr. Holloway thanked Mr. Hatfield, ROS members, Market Participants, and ERCOT Staff for their support during his tenure; thanked non-returning ROS members for their work; and extended his best wishes for a successful 2014. Adjournment Mr. Holloway adjourned the December 12, 2013 ROS meeting at 1:00 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2013/12/20131212-ROS