| NPRR Number | 556 | NPRR Title | Resource Adequacy During Transmission Equipment Outage |
| --- | --- | --- | --- |
| Date |  | September 17, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Varnell |  |
| E-mail Address |  | jvarnell@tnsk.com |  |
| Company |  | Tenaska Power Services Co |  |
| Phone Number |  | 817-462-1037 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Power Marketer (IPM) |  |

Comments

Loads are not normally disconnected from the ERCOT system for planned outages or any non-weather related outages.  ERCOT could keep all LRs, ALRs, and DGs in the Market by removing the outage data that is transferred into the Market systems for any load.  If a Load Resource is disconnected from the ERCOT system during a transmission outage, that Resource is obligated to update the COP with such information.

This will cause minimal changes to the modeling system and Market systems.

Evidence of the need for this was in a ERCOT email:

“

At the September 4, 2012 NDSWG meeting several Market Participants requested information on how many Load Resources there are in ERCOT and just how many outages ERCOT has processed so far this year that have potential to impact a Load Resource. As of Thursday September 5, 2013 there are 232 Load Resources in the ERCOT model. Of these 232 Load Resources ERCOT has received 92 Outage Requests for 2013 that are actually on a designated Load Resource or on a transmission device that shows to have the ability to deny a Load Resource access to the grid.

Outage Scheduler data filtered 1/1/13 – 9/04/13

CNP had 24 Planned outages that show to have isolated a Load Resource and 3 that haven’t taken place yet. Total 27

AEP had 2 Planned outages that show to have isolated a Load Resource since 1/1/13. Total 2

PUB had 4 Planned outages that show to have isolated a Load Resource and 1 that hasn’t taken place yet. Total 5

ERCOT (PUNs) had 10 Planned outages that show to have isolated a Load Resource. Total 10

Garland had 2 Planned outages that show to have isolated a Load Resource. Total 2

ONCOR had 44 Planned outages that show to have isolated a Load Resource, 1 that is ongoing and 1 that hasn’t taken place yet. Total 46

“

Revised Proposed Protocol Language

None.