DRAFT

Protocol Revision Subcommittee (PRS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, December 19, 2013 – 9:30am

- Attendance

Members:

| Bombick, Sarah | LCRA | Alt. Rep. for C. Lange |
| --- | --- | --- |
| DeAlmeida, Joe | Occidental Chemical Corporation |  |
| Detelich, David | CPS Energy |  |
| Frazier, Amanda | Luminant |  |
| Hauk, Christine | Garland Power and Light | Alt. Rep. for D. Bailey |
| Heino, Shari | Brazos Electric Power Cooperative |  |
| Lange, Clif | STEC | Via Teleconference |
| Lyons, Chris | Exelon |  |
| Power, David | Public Citizen, Inc. |  |
| Scott, Kathy | CenterPoint Energy | Alt. Rep. for D. Walker |
| Varnell, John | Tenaska Power Services |  |
| Wagner, Marguerite | Edison Mission |  |
| Walker, DeAnn | CenterPoint Energy |  |

Guests:

| Ainspan, Malcom | ECS Grid | Via Teleconference |
| --- | --- | --- |
| Barnes, Bill | Reliant |  |
| Bevill, Jennifer | AEPSC |  |
| Blackburn, Don | Luminant | Via Teleconference |
| Brandt, Adrianne | Austin Energy |  |
| Brown, Amanda | Xtreme Power |  |
| Bruce, Mark | Stratus Energy |  |
| Calzada, Gricelda | AEP |  |
| Chang, Robin | Ventyx ABB | Via Teleconference |
| Harvey, Jenny | KONEKTIV | Via Teleconference |
| Jones, Liz | Oncor | Via Teleconference |
| Juricek, Michael | Oncor |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Morris, Sandy | Direct Energy |  |
| Ögelman, Kenan | CPS Energy |  |
| Penny, David | Texas Reliability Entity | Via Teleconference |
| Raj, Priya | Ventyx ABB | Via Teleconference |
| Reed, Cyrus | Sierra Club |  |
| Reid, Walter | Wind Coalition | Via Teleconference |
| Rehfeldt, Diana | TNMP |  |
| Rothschild, Eric | GDS Associates | Via Teleconference |
| Siddiqi, Shams | Crescent Power |  |
| Smith, Mark | Chaparral Steel |  |
| Stephenson, Randa | Lone Star Transmission |  |
| Sullivan, Patrick | Conoco Phillips |  |
| Thompson, David | Austin Energy | Via Teleconference |
| Thurnher, Greg | Luminant | Via Teleconference |
| Trout, Seth | CES | Via Teleconference |
| Watson, Markam | Platts | Via Teleconference |
| White, Laurie | AEP Texas |  |
| Whittle, Brandon | Stratus Energy Group | Via Teleconference |
| Wittmeyer, Bob | DME |  |
| Wysopal, Adam | OATI | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Bauld, Mandy |  | Via Teleconference |
| Bivens, Carrie |  |  |
| Boren, Ann |  |  |
| Hobbs, Kristi |  |  |
| House, Donald |  | Via Teleconference |
| Landry, Kelly |  |  |
| Lavas, Jamie |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| Peters, Patrick |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Ruane, Mark |  | Via Teleconference |
| Thurman, Kathryn |  | Via Teleconference |
| Thompson, Chad |  | Via Teleconference |
| Tozer, Matt |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

2013 PRS Chair John Varnell called the December 19, 2013 PRS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Varnell directed attention to the Antitrust Admonition, which was displayed.  A copy of the Antitrust Guidelines was available for review.

Approval of Minutes (see Key Documents)

October 17, 2013

November 21, 2013

Amanda Frazier moved to approve the October 17, 2013 PRS meeting minutes as amended by PRS, and the November 21, 2013 PRS meeting minutes as posted.  Adrianne Brandt seconded the motion.  The motion carried with one abstention from the Investor Owned Utility (IOU) Market Segment.

Technical Advisory Committee (TAC) and ERCOT Board Reports (see Key Documents)

Mr. Varnell reported the disposition of Revision Requests considered at the December 3, 2013 TAC and December 10, 2013 ERCOT Board meetings.

Project Update and Summary of Project Priority List (PPL) Activity to Date (see Key Documents)

Troy Anderson presented the Project Update and summary of PPL activity to-date, and noted that 31 Nodal Protocol Revision Requests (NPRRs) or portions thereof were implemented in 2013.

Review PRS Reports, Impact Analyses, and Prioritization (see Key Documents)

NPRR560, Caps and Floors for Energy Storage Resources

ERCOT Staff reviewed options proposed in the 12/16/13 ERCOT comments.  Market Participants discussed tabling NPRR560 to allow additional time for interested parties to review the options proposed by ERCOT and develop additional solutions.

Ms. Brandt moved to table NPRR560 for one month.  Mark Smith seconded the motion.  The motion carried with one abstention from the Consumer Market Segment.

NPRR573, Alignment of PRC Calculation

Ms. Frazier moved to endorse and forward the 12/21/13 PRS Report and Impact Analysis for NPRR573 to TAC with a recommended priority of 2014 and a rank of 1050.  Clayton Greer seconded the motion.  The motion carried unanimously.

NPRR577, As-Built Clarification for Portion of WGR Group GREDP Evaluation

Ms. Frazier moved to endorse and forward the 11/21/13 PRS Report and Impact Analysis for NPRR577 to TAC.  David Detelich seconded the motion.  The motion carried unanimously.

NPRR580, Establishment of a Rolling CRR Balancing Account Fund

Market Participants reviewed the Impact Analysis for NPRR580 and discussed budget and timeline impacts to the Settlements System Upgrade project should NPRR580 be delivered in conjunction with the project.

Ms. Frazier moved to endorse and forward the 11/21/13 PRS Report and Impact Analysis for NPRR580 to TAC with a recommended priority of 2014 and a rank of 1060, and to recommend that NPRR580 be included in the Settlements System Upgrade project.  Mr. Greer seconded the motion.  The motion carried unanimously.

System Change Request (SCR) 774, Enhancement to Outage Scheduler and Reports

Ms. Frazier moved to endorse and forward the 11/21/13 PRS Report and Impact Analysis for SCR774 to TAC with a recommended priority of 2014 and rank of 1070.  Seth Cochran seconded the motion.  The motion carried unanimously.

SCR775, Posting Results of Real-Time Data in a Display Format

ERCOT Staff reviewed an alternative solution for implementation for SCR775 detailed in the 12/18/13 ERCOT comments.  Market Participants debated the value of indicative prices.

David Power moved to endorse and forward the 11/21/13 PRS Report and Impact Analysis for SCR775 to TAC, and to recommend a priority of 2014 and a rank of 1080.  Mr. M. Smith seconded the motion.  Mr. Detelich expressed concern for inaccurate information and the value of the data.  The motion failed via roll call vote.

Mr. Power moved to table SCR775.  Sandy Morris seconded the motion.  Market Participants discussed that consideration should be given to whether additional expenditure is warranted, given that the data is available to Market Participants in a different format; and requested that ERCOT reassess impacts to discover any efficiencies by eliminating the interactive portion of SCR775.  The motion carried with one objection from the Independent Generator Market Segment, and three abstentions from the Independent Power Marketer (IPM) Market Segments.

SCR776, Retail Data Transport Upgrade to NAESB EDM v2.2

DeAnn Walker moved to table SCR776.  Mr. Detelich seconded the motion.  The motion carried unanimously.

Review of Pending Project Priorities (see Key Documents)

Mr. Anderson reviewed the list of approved Revision Requests “Not Started” and noted that NPRR495, Changes to Ancillary Services Capacity Monitor, and NPRR500, Posting of Generation that is Off but Available, were moved, after lengthy internal discussions, from a November 2013 start to a July 2014 start to preserve resources for Operating Reserve Demand Curve (ORDC) implementation.

Market Participants noted the need to implement NPRR495 and NPRR500 before ORDC, and expressed frustration that NPRR500 in particular had been reassigned to a release target 2014-R6.  Market Participants complimented Mr. Anderson’s efforts to apprise PRS of changes to prioritizations, and for ERCOT Staffs’ efforts to maximize available project dollars, but requested additional insight and input regarding reprioritizations.

Urgency Votes (see Key Documents)

There were no requests for Urgent status.

Revision Requests Tabled at PRS (see Key Documents)

NPRR503, Removal of Language Related to NPRR219

Ms. Walker moved to recommend approval of NPRR503 as submitted.  Mr. Frazier seconded the motion.  The motion carried with one objection from the IPM Market Segment, and one abstention from the IPM Market Segment.

NPRR533, Clarification of PCRR Eligibility Requirements

NPRR535, Resource Status Startup - Shutdown

NPRR562, Subsynchronous Resonance

NPRR572, Asynchronous Tie Interconnection Process

NPRR574, Removal of Offer Curve Flexibility for DAM-Committed Resources

NPRR576, Changing Non-Spin Service to an Off-Line Service

PRS took no action on these items.

NPRR556, Resource Adequacy During Transmission Equipment Outage – Urgent

Ms. Walker moved to recommend approval of NPRR556 as amended by the 12/16/13 Reliability and Operations Subcommittee (ROS) comments, and to bring the Impact Analysis back to PRS for review.  Mr. Varnell seconded the motion.  The motion carried unanimously.

NPRR581, Add Fast Responding Regulation Service as a Subset of Regulation Service

Mr. Power moved to recommend approval of NPRR581 as amended by the 12/11/13 ERCOT comments, and to request that ERCOT present proposed revisions to the relevant Business Practice Manual(s) at the January 16, 2014 PRS meeting.  Bob Wittmeyer seconded the motion.  Marguerite Wagner questioned why Fast Responding Regulation Service (FRRS) is being advanced ahead of the Ancillary Services redesign effort, and objected to FRRS being categorized as a subset of FRRS.

Mr. Power noted that the redesign is anticipated to be a multi-year effort; and that ROS discussed the difficulty of creating a separate market for FRRS at this time, given the limited number of participants.

Market Participants discussed the need for detailed documentation of next-steps as the amount of FRRS-Up/Down approaches or exceeds limited established in NPRR581; specifics regarding the calculation of the Load Frequency Control (LFC) signal, deployment and recall, and other issues; and requested that ERCOT Staff propose revisions to business practices.  The motion carried with three abstentions from the Consumer, Independent Generator, and IPM Market Segment.

Review of Revision Request Language (see Key Documents)

NPRR582, Refinements to Testing ERS

Ms. Wagner moved to table NPRR582 and to refer the issue to the Wholesale Market Subcommittee (WMS).  Ms. Frazier seconded the motion.  Market Participants requested WMS refer NPRR582 to the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) for additional review of parameters, procedures and impacts related to testing ERS Resources.  The motion carried unanimously.

NPRR583, Validate That CSA Bypass Code in a Move-Out Request is From Current CSA CR of Record

Bill Barnes moved to recommend approval of NPRR583 as submitted.  Mr. Greer seconded the motion.  The motion carried unanimously.

NPRR584, Alignment with TAC Procedures to Shorten the Appeals Timeline

Mr. Barnes moved to table NPRR584.  Mr. Power seconded the motion.  Mr. Barnes expressed concern that a shortened timeline would not allow an advocate to prepare an appeal and post timely materials.  Market Participants discussed the need for time to review appeals materials but that most parties wish to have appeals heard as soon as possible.  Mr. Greer requested that PRS be prepared to discuss the appeals timeline at the January 16, 2014 PRS meeting.  The motion carried unanimously.

SCR777, Bilateral CRR Interface Enhancement

Mr. Greer moved to recommend approval of SCR777 as submitted.  Mr. Barnes seconded the motion.  The motion carried unanimously.

SCR778, Exposure Calculations for NOIE Options Linked to RTM PTP Obligations

Market Participants discussed the potential for a manual workaround that would allow Non-Opt-In Entities (NOIEs) the ability to offset some collateral requirements with credit for Congestion Revenue Rights (CRRs) in Real-Time.  ERCOT Staff expressed concern with a manual workaround and noted that if issues arose prior to the automated implementation of SCR778, they would be reviewed on a case-by-case basis.  ERCOT Staff agreed to look for further efficiencies for the implementation of SCR778.

Ms. Brandt moved to recommend approval of SCR778 as submitted.  Mr. Detelich seconded the motion.  The motion carried unanimously.

Addition to Other Binding Documents List (see Key Documents)

Methodology for Implementing ORDC to Calculate Real-Time Reserve Price Adder

Ms. Frazier moved to add the Methodology for Implementing ORDC to Calculate Real-Time Reserve Price Adder to the list of Other Binding Documents.  Ms. Wagner seconded the motion.  The motion carried unanimously.

Other Business

Revised Revision Request Submission Form

ERCOT Staff noted proposed revisions to the Revision Request submission form...  Ms. Wagner questioned why ERCOT-submitted Revision Requests are submitted with an Impact Analysis and expressed concern that time is spent developing the Impact Analysis before language is approved.  Ms. Frazier voiced support for the process and opined that the additional information is helpful.  Kristi Hobbs explained that ERCOT-submitted Revision Requests are submitted with an Impact Analysis per Protocol and that as a good business practice, ERCOT would review impacts before submitting a Revision Request, even if not required by Protocol.

NPRR219, NPRR219, Resolution of Alignment Items A33, A92, A106, and A150/Nodal Operating Guide Revision Request (NOGRR) 050, Resolution of Reporting Issues Related to NPRR219

Ms. Frazier noted that NPRR219 and NOGRR050 remain open action items, and that she would be in contact with WMS leadership to discuss a way forward for the two items.

Adjournment

Mr. Varnell adjourned the December 19, 2013 PRS meeting at 12:45 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2013/12/20131219-PRS