PSSe version in use at ERCOT: V.31 and/or V.32

Wind Turbine – Dynamic models available at ERCOT for use with PTI V.31 and/or V.32

| Manufacturer | Models | Size (MW) | Model Version |
| --- | --- | --- | --- |
| Bonus | 1.3 MW | 1.3 | DWG r5 |
| Clipper | C-93 | 2.5 | H4 |
| Gamesa | G8X | 2 | Revision 3.2 |
| GE | ge1500 | 1.5 | 5.1.0* |
| GE | ge3600 | 3.6 | 5.1.0* |
| Kenetech | Kenetech | 0.4 | DWG r5 |
| Micon | NM72 | 1.5 | DWG r5 |
| Mitsubishi | MPS-1000 | 1.0 | 5.0.0* |
| Mitsubishi | MWT9295 | 2.5 | 5.1.0* |
| Siemens | Smk203 | 2.3 | 1.3 |
| Suzlon | S88 | 2.1 | 4.18 |
| Vestas | V47 | 0.66 | 4.1.0* |
| Vestas | V80 | 1.8 | 4.1.0* |
| Vestas | V82BB | 1.8 | 4.1.0* |
| Vestas | V90 | 1.8 | 7.2 |
| PSSe Generic Wind Model Library | Type 1, Type 2, Type 3, Type 4 |  |  |

*Models are available for download at Siemens PSS®E user support website.

The models are a collection of an object code (.obj) or a library file (.lib), an iplan program (.ipl or .irf), a machine parameter file (.dat), and a data file that contains the coefficient of performance Cp (.dat). Depending on how the models are written, it may contain some or all of these files. These files are generally available as a single executable file (.exe) or a single zip file (.zip or .rar etc.).

Wind developer shall provide the most recent dynamic models compatible with the PSSe version in use by ERCOT System Planning.