| NPRR Number | 503 | NPRR Title | Removal of Language Related to NPRR219 |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | January 16, 2014 |  |  |
| Proposed Effective Date |  | March 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 3.1.3.1, Transmission Facilities 8.3, TSP Performance Monitoring and Compliance |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes two grey-boxes associated with NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings. |  |  |
| Reason for Revision |  | At the 11/8/12 ROS meeting, ROS voted for the Network Data Support Working Group (NDSWG) to submit an NPRR to remove the relevant grey-boxes as neither ERCOT nor NDSWG see a benefit in implementing a project for these items. This directive is consistent with a recommendation developed by NDSWG at its 10/16/12 meeting. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 11/20/12, NPRR503 was posted. - On 12/7/12, ROS comments were posted. - On 12/13/12, PRS considered NPRR503. - On 1/10/13, WMS comments were posted. - On 1/16/13, Edison Mission Marketing & Trading comments were posted. - On 2/15/13, a second set of WMS comments were posted. - On 12/19/13, PRS again considered NPRR503. - On 1/8/14, an Impact Analysis was posted. - On 1/16/14, PRS considered the 12/19/13 PRS Report and Impact Analysis for NPRR503. |  |  |
| PRS Decision |  | On 12/13/12, PRS unanimously voted to table NPRR503 and to refer the issue to WMS. All Market Segments were present for the vote. On 12/19/13, PRS voted to recommend approval of NPRR503 as submitted. There was one opposing vote from the Independent Generator Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment. All Market Segments were present for the vote. On 1/16/14, PRS voted to endorse and forward the 12/19/13 PRS Report and Impact Analysis for NPRR503 to TAC. There were two abstentions from the Independent Generator Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 12/13/12, it was clarified that the report required by the grey-box will provide statistics of planned vs. actual transmission Outages and that WMS should review the value of receiving those statistics. On 12/19/13, there was no discussion. On 1/16/14, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Neither NDSWG nor ERCOT defined a qualitative benefit to these sections. |
|  | 2 | - Not implementing these changes will save the expense of designing new systems and or modifying existing systems and will not increase the burden on ERCOT to maintain the systems. |
|  | 3 | - Cost savings associated with this NPRR will not lead to an increase in energy prices. |

| Sponsor |  |
| --- | --- |
| Name | Doug Evans on behalf of NDSWG |
| E-mail Address | devans@stec.org |
| Company | STEC |
| Phone Number | 361-485-6459 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 120712 | Endorsed NPRR503 as submitted. |
| WMS 011013 | Recommended that NPRR503 remain tabled. |
| Edison Mission Marketing & Trading 011613 | Recommended rejection of NPRR503. |
| WMS 021513 | Recommended that NPRR503 remain tabled. |

Proposed Protocol Language Revision

- 3.1.3.1	Transmission Facilities

Each TSP shall provide to ERCOT a Planned Outage or Maintenance Outage plan in an ERCOT-provided format for the next 12 months updated monthly.  Planned Outage or Maintenance Outage scheduling data for Transmission Facilities must be kept current.  Updates must identify all changes to any previously proposed Planned Outages or Maintenance Outages and any additional Planned Outages or Maintenance Outage anticipated over the next 12 months.  ERCOT shall coordinate in-depth reviews of the 12-month plan with each TSP at least twice per year.

- 8.3	TSP Performance Monitoring and Compliance

(1)	ERCOT shall develop a Technical Advisory Committee (TAC)- and ERCOT Board-approved Transmission Service Provider (TSP) monitoring program to be included in the Operating Guides for TSPs prior to the Texas Nodal Market Implementation Date, which shall include the following:

(a)	Real-Time data:

(i)	Telemetry performance;

(b)	Compliance with model update requirements, including provision of network data in Common Informational Model (CIM) compatible format and consistency with the Transmission Element naming convention developed in accordance under Section 3, Management Activities for the ERCOT System;

(c)	Compliance with valid Dispatch Instructions.

[NPRR 257: Replace Section 8.3 with the following upon system implementation:] - 8.3 TSP Performance Monitoring and Compliance (1) ERCOT shall develop a Technical Advisory Committee (TAC)- and ERCOT Board-approved Transmission Service Provider (TSP) monitoring program to be included in the Operating Guides for TSPs prior to the Texas Nodal Market Implementation Date, which shall include the following: (a) Transmission Element ratings methodology as required by ERCOT: (i) Timely submittal of ratings, required information on methodology, and updates as requested by ERCOT; and (ii) Timely response to ERCOT requests to review rating methodology; (b) Real-Time data: (i) Telemetry performance; and (ii) Communications system performance; (c) Compliance with model update requirements, including provision of network data in Common Informational Model (CIM) compatible format and consistency with the Transmission Element naming convention developed in accordance under Section 3, Management Activities for the ERCOT System; (d) Staffing plan for a backup control facility or procedures in the event that the primary facility is unusable, for TSPs; and (e) Compliance with valid Dispatch Instructions.