Planning Working Group Meeting Agenda

January 22, 2013, 9:30 AM – noon, ERCOT MET Center

- Antitrust Admonition								Moore

- Agenda Review 									Moore

- Update on ROS, TAC and Board Activity on PLWG Matters				Moore

  - TAC/Board activity:

    - PGRR032 Stakeholder Review of Resource Registration

Data Requirements was approved at TAC; currently awaiting Board approval

    - PGRR031 Implement 95% Facility Rating Limit

in the Planning Criteria was approved at TAC; currently awaiting Board approval

  - ROS Activity:

    - ROS directed PLWG to consider “constrained generation” condition

throughout ERCOT; more info provided below

    - ROS assigned NPRR572 Asynchronous Tie Interconnection Process

was assigned to PLWG

    - PLWG recommended approval of PGRR033 Dynamics Flat Start

Cases Preparation at December ROS mtg; DWG requested that it be

tabled to allow additional consideration before a ROS vote

- PGRR028 – Evaluation of Compliance of Reactive Requirements			Flores

PGRR0228 defines ERCOT’s process for evaluation proposed Generation Resources’ ability

to provide reactive power.  Protocol Section 3.15, Voltage Support, defines reactive

capability requirements for Generation Resources.  Paragraph (3) of Protocol Section 16.5,

Registration of a Resource Entity requires ERCOT to opine upon the capability of the

proposed Generation Resource’s ability to meet these requirements.

  - ROS in Nov 14 Mtg referred PGRR028 back to PLWG to address issues with

language in Section 5.6.1 (3)

  - Request for greater clarity regarding defining what “future conditions” must be met

  - PLWG considered language at Nov meeting and tabled for consideration of

revised language to be offered at Dec PLWG Mtg from a small group led by ERCOT

  - ERCOT not prepared for discussion at Jan PLWG mtg, will be tabled until Feb PLWG mtg.

- PGRR035 – DC Tie Interconnection Process					Moore

PGR035 defines process for ERCOT to administer requests from Stakeholders for

interconnection to ERCOT grid for DC Ties

  - ERCOT legal continues to consider a broad range of DC Tie issues

involving planning/market/operations.

  - ERCOT submission of edits continues to be delayed pending resolution of

appropriate position on concerns with existing Guide/Protocol and PUC Rule language

- Constrained Generation

ROS directed PLWG to consider existing conditions where generation is constrained

from delivery to the grid. The question was raised whether system upgrades should be

identified to increase access to grid for constrained generation throughout ERCOT; and whether

decisions to upgrade be solely based on current reliability or economic criteria.

ERCOT’s work to assess potential system upgrades to relieve potential future congestion

in Panhandle (PREZ studies), while no similar assessment of existing constrained

generation in ERCOT, was offered as an inconsistency in addressing generation congestion

on the ERCOT Grid

  - An initial discussion to best define the concern will be held.

  - A review of current Planning Guide, Protocol, and PUC Substantive Rule language

may be appropriate to serve as a basis for identifying what is currently the

required planning responsibilities for ERCOT and TSPs

  - Parties may choose to offer PGRR language to revise planning criteria to

expand the basis for identifying system upgrades to reduce generation congestion

- Final OPSTF Issues List

Issue 5C: Discreet Load Additions (no action required)

- A recommendation was approved at the Oct PLWG Mtg that no

further action is needed to address consideration of discreet

load additions within the current ERCOT transmission planning processes.

Issue 10: Security-constrained deliverability of ancillary services		Gnanam

A     A subcommittee will report on their considerations of whether

any additional actions are needed

- 2014 PLWG Leadership

- Additional items

- Next Meeting: February 19, 2014

- Adjourn