## CT Burden Sheet
BURDEN
[9 empty] | Z1 | 0
[9 empty] | Z2 | 0
[9 empty] | Z3 | 0
[9 empty] | Z4 | 0
[9 empty] | Zcommon | 0.45
Secondary Amps
[9 empty] | CT1 | 5 | 5
[9 empty] | CT2 | 5 | 5
[9 empty] | CT3 | 5 | 5
[9 empty] | CT4 | 5 | 5
Total burden on individual current transformer
|  | CT1 | 45 | VA | 45 | 45 | 20 | 20
|  | CT2 | 45 | VA | 45 | 45
|  | CT3 | 45 | VA | 45 | 45
|  | CT4 | 45 | VA | 45 | 45
NOTE: Draft Copy for Meter Working Group meeting - October 16, 2012
Open Questions:
1. How to verify individual impedance on each conductor and common impedance (Zcommon).
2. Should maximum current (at rating factor) be utilized in calculating total burden on each CT in case of flow thru scenarios (eg. Breaker and half scheme)

## Formula
VA across CT1: | I1*VCT1
I1*(I1*Z1 + ICommon * ZCommon)
I12*Z1 + I1*(ICommon * ZCommon)