DWG Meeting Agenda

February 4-5, 2014

Taylor, TX at ERCOT Taylor Building

Day 1

- Antitrust Admonition

- Approval of December Meeting Minutes and Jan 7 Webinar Minutes

- PGRR 33 Update  (2 minutes)- Carol Chessmore

- FY2018 Update -Reza Ebrahimian

- 2014 Flat Start Review-Ami

- NERC Standards and DWG - ERCOT

  - TPL-001-4:  requires PC to define a voltage performance criteria

    - R4.1.3 (damping),

    - R5 (transient voltage recovery),

    - R 4.3.1.2 (generators tripping when voltage drops below its low voltage ride-through capability)

  - BAL-003: requires system frequency response

  - MOD-032_R1: develop process to collect dynamic data

  - MOD-033_R1_1.2: validation of system performance

Day 2

- PSSE Version 33 User Written Model Update-Fred Huang/John Schmall

- DWG 2013 Stability Book progress update

- Continue NERC Standards Discussion from Day 1 as Necessary - ERCOT

- NOGRR 124-High Voltage Ride Through – Fred Huang

Update on the Synchrophasor Task Force and discuss PMU data and quality requirements – David Mercado

- Overview of CNP GIC efforts. - Jason Hulbert

- Next DWG Meeting Dates

- Adjourn