Date: 	January 21, 2014

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR503, Removal of Language Related to NPRR219* - NPRR556, Resource Adequacy During Transmission Equipment Outage – Urgent - NPRR573, Alignment of PRC Calculation - NPRR577, As-Built Clarification for Portion of WGR Group GREDP Evaluation* - NPRR580, Establishment of a Rolling CRR Balancing Account Fund - NPRR581, Add Fast Responding Regulation Service as a Subset of Regulation Service - NPRR591, As-Built Clarification and Corrections Related to NPRR568 and NPRR555 – Urgent* - SCR774, Enhancement to Outage Scheduler and Reports - SCR775, Posting Results of Real-Time Data in a Display Format - SCR777, Bilateral CRR Interface Enhancement - SCR778, Exposure Calculations for NOIE Options Linked to RTM PTP Obligations (*) denotes no impact

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. NPRRs Recommended for Approval - NPRR503, Removal of Language Related to NPRR219 [Network Data Support Working Group (NDSWG)]. Proposed Effective Date: March 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes two grey-boxes associated with NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings. PRS Decision: On 12/19/13, PRS voted to recommend approval of NPRR503 as submitted. There was one opposing vote from the Independent Generator Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment. On 1/16/14, PRS endorsed and forwarded the 12/19/13 PRS Report and Impact Analysis for NPRR503 to TAC. There were two abstentions from the Independent Generator Market Segment. Credit review pending. - NPRR556, Resource Adequacy During Transmission Equipment Outage [Tenaska] - Urgent. Proposed Effective Date: Upon System Implementation – Priority 2014; Rank 1080 ERCOT Impact Analysis: $65k - $95k; no impacts to ERCOT staffing; impacts to the Market Management System (MMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds a requirement for the Network Operations Model so that Resources that are being served by temporary equipment can participate in the ERCOT market as in normal operations. PRS Decision: On 12/19/13, PRS unanimously voted to recommend approval of NPRR556 as amended by the 12/16/13 ROS comments and to bring the Impact Analysis back to PRS for review. On 1/16/14, PRS voted to endorse and forward the 12/19/13 PRS Report and Impact Analysis for NPRR556 to TAC with a recommended priority of 2014 and rank of 1080. There were two abstentions from the Investor Owned Utility (IOU) Market Segment. Credit review pending. - NPRR573, Alignment of PRC Calculation [ERCOT]. Proposed Effective Date: March 1, 2014 for revisions to PRC1; Upon System Implementation for addition of new PRC2 – Priority 2014; Rank 1050. ERCOT Impact Analysis: $20k - $40k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR aligns the Protocols with the current calculation used in the EMS to calculate Physical Responsive Capability (PRC), and adds capacity from Primary Frequency Response-capable Wind-powered Generation Resources (WGRs) to PRC. PRS Decision: On 11/21/13, PRS unanimously voted to recommend approval of NPRR573 as amended by the 11/5/13 Performance, Disturbance, Compliance Working Group (PDCWG) comments. On 12/19/13, PRS unanimously voted to endorse and forward the 11/21/13 PRS Report and Impact Analysis for NPRR573 to TAC with a recommended priority of 2014 and rank of 1050. - NPRR577, As-Built Clarification for Portion of WGR Group GREDP Evaluation [ERCOT]. Proposed Effective Date: March 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: NPRR425, Creation of a WGR Group for GREDP and Base Point Deviation Evaluation and Mixing Turbine Types Within a WGR, which was approved by the ERCOT Board on 11/2/2011 and is currently pending implementation, revised the Protocols to allow WGRs meeting certain registration requirements to be evaluated for Generation Resource Energy Deployment Performance (GREDP) as groups of WGRs rather than individual WGRs. This NPRR clarifies that certain components of the GREDP report for WGRs will be evaluated at the WGR-level, rather than the WGR Group-level. PRS Decision: On 11/21/13, PRS unanimously voted to recommend approval of NPRR577 as submitted. On 12/19/13, PRS unanimously voted to endorse and forward the 11/21/13 PRS Report and Impact Analysis for NPRR577 to TAC. - NPRR580, Establishment of a Rolling CRR Balancing Account Fund [ERCOT]. Proposed Effective Date: Upon System Implementation – Priority 2014; Rank 1060. ERCOT Impact Analysis: $100k - $125k; no impacts to ERCOT staffing; impacts to Settlements & Billing (S&B) and Enterprise Information Services (EIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR establishes a rolling Balancing Account Fund. PRS Decision: On 11/21/13, PRS unanimously voted to recommend approval of NPRR580 as revised by PRS with a $10 million CRR Balancing Account Fund cap. On 12/19/13, PRS unanimously voted to endorse and forward the 11/21/13 PRS Report and Impact Analysis for NPRR580 to TAC with a recommended priority of 2014 and rank of 1060 and recommend that NPRR580 be included in the Settlements System Upgrade project. - NPRR581, Add Fast Responding Regulation Service as a Subset of Regulation Service [ERCOT]. Proposed Effective Date: March 1, 2014 (for manual workaround); Upon System Implementation (for automated solution) – Priority 2014; Rank 1090. ERCOT Impact Analysis: $20k - $35k; no impacts to ERCOT staffing; impacts to EMS and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR defines “Fast Responding Regulation Service (FRRS)” and specifies that FRRS is a subset of Regulation Service; includes the necessary clarifications for the qualification, operation and performance monitoring of Resources providing FRRS; and specifies a maximum amount of Regulation Service for each hour that can be provided by Resources providing FRRS. PRS Decision: On 12/19/13, PRS voted to recommend approval of NPRR581 as amended by the 12/11/13 ERCOT comments and to request that ERCOT present proposed revisions to the relevant Business Practice Manual(s) at the 1/16/13 PRS meeting. There were three abstentions from the Consumer, Independent Generator and IPM Market Segments. On 1/16/14, PRS voted to endorse and forward the 12/19/13 PRS Report and Impact Analysis for NPRR581 to TAC with a recommended priority of 2014 and rank of 1090. There were three abstentions from the Consumer and IOU (2) Market Segments. Credit review pending. - NPRR591, As-Built Clarification and Corrections Related to NPRR568 and NPRR555 [ERCOT] - Urgent. Proposed Effective Date: March 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business functions will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes changes that clarify ERCOT’s intended implementation of the Settlement formulas in NPRR568, Real-Time Reserve Price Adder Based on Operating Reserve Demand Curve, and that align the Protocols with the Settlement mechanisms that ERCOT’s system design and requirements analysis has concluded are essential to implement NPRR568. In effect this NPRR provides “as-built” modifications to the requirements of NPRR568. PRS Decision: On 1/16/14, PRS unanimously voted to grant NPRR591 Urgent status. PRS then unanimously voted to recommend approval of NPRR591 as revised by PRS and to forward NPRR591 to TAC. Credit review pending. - SCR774, Enhancement to Outage Scheduler and Reports [Edison Mission] - Urgent. Proposed Effective Date: Upon System Implementation – Priority 2014; Rank 1070 ERCOT Impact Analysis: $20k - $30k; no impacts to ERCOT staffing; impacts to Outage Scheduler (OS), Current Day Reports (CDR), and Market Information System (MIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This SCR adds fields to the Outage Scheduler in order to provide information on changes to approved Outages, and adds a report on cancelled Outages. PRS Decision: On 10/17/13, PRS voted to recommend approval of SCR774 as amended by the 10/11/13 ROS comments and as revised by PRS. There was one abstention from the IPM Market Segment. On 11/21/13, PRS voted to endorse the 10/17/13 PRS Report for SCR774 as revised by PRS and to bring a revised Impact Analysis back to PRS for consideration. There was one opposing vote from the Independent Generator Market Segment and one abstention from the IPM Market Segment. On 12/19/13, PRS unanimously voted to endorse and forward the 11/21/13 PRS Report and Impact Analysis for SCR774 to TAC with a recommended priority of 2014 and rank of 1070. Credit review not applicable. - SCR775, Posting Results of Real-Time Data in a Display Format [ERCOT Steel Companies]. Proposed Effective Date: Upon System Implementation – Priority 2014; Rank 1100 ERCOT Impact Analysis: $50k - $75k; no impacts to ERCOT staffing; impacts to MIS, ERCOT.com, CDR, and MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This SCR adds two new displays to the Day-Ahead and Real-Time data displays section under the Market Information tab on the ERCOT MIS: RTD Load Zone Forecasted Prices and RTD Hub Forecasted Prices. Each pricing display would automatically update with new revised prices on each execution of Real-Time data and delete the oldest data. PRS Decision: On 11/21/13, PRS voted to recommend approval of SCR775 as submitted. There were two opposing votes from the IOU and Municipal Market Segments and two abstentions from the IPM and Municipal Market Segments. On 1/16/14, PRS voted via roll call vote to endorse and forward the 12/19/13 PRS Report as revised by PRS and Impact Analysis for SCR775 to TAC with a recommended priority of 2014 and rank of 1100. There were four opposing votes from the Independent Generator, IPM, and IOU (2) Market Segments and seven abstentions from the Consumer, Cooperative (3), IPM, IOU, and Municipal Market Segments. Credit review not applicable. - SCR777, Bilateral CRR Interface Enhancement [SESCO]. Proposed Effective Date: Upon System Implementation – Priority 2014; Rank 1110 ERCOT Impact Analysis: $65k - $85k; no impacts to ERCOT staffing; impacts to Congestion Revenue Rights (CRR); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: Currently, the CRR interface allows for manual, discrete data entering. This SCR would implement a file upload/download feature for bilateral CRR transactions via the CRR interface. PRS Decision: On 12/19/13, PRS unanimously voted to recommend approval of SCR777 as submitted. On 1/16/14, PRS voted to endorse and forward the 12/19/13 PRS Report and Impact Analysis for SCR777 to TAC with a recommended priority of 2014 and rank of 1110. There were two opposing votes from the Cooperative Market Segment and four abstentions from the Consumer, IOU and Municipal (2) Market Segments. Credit review not applicable. - SCR778, Credit Exposure Calculations for NOIE Options Linked to RTM PTP Obligations [ERCOT]. Proposed Effective Date: Upon System Implementation – Priority 2014; Rank 1120 ERCOT Impact Analysis: $30k - $45k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management (CMM) and Commercial Systems Integration (CSI); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This SCR proposes changes to the CMM system to modify the Real-Time Liability (RTL) calculation to reduce credit exposure to an estimated amount based on calculations defined in paragraph (1) of Protocol Section 7.9.2.1; and modify the Outstanding Unpaid Transactions (OUT) calculation to include credit exposure to an estimated amount based on calculations defined in paragraphs (3) and (4) of Protocol Section 4.6.3. PRS Decision: On 12/19/13, PRS unanimously voted to recommend approval of SCR778 as submitted. On 1/16/14, PRS unanimously voted to endorse and forward the 12/19/13 PRS Report and Impact Analysis for SCR778 to TAC with a recommended priority of 2014 and rank of 1120. Credit review not applicable. Revision Requests Rejected None. Revision Requests Withdrawn (no TAC action required) None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the February 13, 2014 PRS Meeting - NPRR560, Caps and Floors for Energy Storage Resources [ETWG] - NPRR583, Validate That CSA Bypass Code in a Move-Out Request is From Current CSA CR of Record [TX SET Working Group] - NPRR584, Alignment with TAC Procedures to Shorten the Appeals Timeline [ERCOT] - NPRR586, Align Credit Lock for CRR Auctions with Transaction Submission Deadline [Reliant Energy] - SCR776, Retail Data Transport Upgrade to NAESB EDM v2.2 [TDTWG] - SCR779, Increase to the CRR Auction Transaction Limit [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR533, Clarification of PCRR Eligibility Requirements [ERCOT] - NPRR535, Resource Status Startup – Shutdown [GDF Suez] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR572, Asynchronous Tie Interconnection Process [Pattern Energy] - NPRR574, Removal of Offer Curve Flexibility for DAM-Committed Resources [Mercuria Energy America] – Urgent - NPRR576, Changing Non-Spin Service to an Off-Line Service [GDF Suez NA Inc.] - NPRR582, Refinements to Testing ERS [Edison Mission] - NPRR585, Clarification of Administrative Pricing Requirements for Self-Committed Combined Cycle Combustion Turbines on a Resource Committed by RUC [Calpine] - NPRR588, Clarifications for PV Generation Resources [ETWG] - NPRR589, Ancillary Service Offers in the Supplemental Ancillary Services Market [QMWG] - NPRR590, Inclusion of WSL in the Default Uplift Invoice Allocation [ERCOT] New Revision Requests Scheduled for Consideration at the February 13, 2014 PRS Meeting None. These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/nprotocols/nprr http://www.ercot.com/mktrules/syschangereq/scrs.html