| PGRR Number | 033 | PGRR Title | Dynamics Flat Start Cases Preparation |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | January 28, 2013 |  |  |
| Proposed Effective Date |  | January 1, 2015 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Planning Guide Section Requiring Revision |  | 6.2.4, Dynamics Data Screening and Maintenance |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) adds the requirement to the Planning Guide for ERCOT to prepare all flat start simulations; and proposes non-substantive administrative changes to correct the title of the Dynamics Working Group Procedural Manual, which are shown below with the author “ERCOT Market Rules.” |  |  |
| Reason for Revision |  | This PGRR aligns the Planning Guide with the Dynamics Working Group Procedural Manual, Revision 8, which requires ERCOT to prepare all flat start simulations after 1/1/15. |  |  |
| Procedural History |  | - On 9/23/13, PGRR033 was posted. - On 10/23/13, the Planning Working Group (PLWG) considered PGRR033. - On 11/20/13, an Impact Analysis was posted. - On 11/22/13, PLWG considered the 10/23/13 PLWG Report and Impact Analysis for PGRR033. - On 12/12/13, ROS considered PGRR033. - On 1/9/14, ROS again considered PGRR033. - On 1/28/14, TAC considered PGRR033. |  |  |
| PLWG Decision |  | On 10/23/13, the PLWG was in consensus to recommend approval of PGRR033 as submitted. On 11/22/13, the PLWG was in consensus to endorse and forward the 10/23/13 PLWG Report and the Impact Analysis for PGRR033 to ROS. |  |  |
| Summary of PLWG Discussion |  | On 10/23/13, there was no discussion. On 11/22/13, there was no discussion. |  |  |
| ROS Decision |  | On 12/12/13, ROS unanimously voted to table PGRR033. All Market Segments were present for the vote. On 1/9/14, ROS unanimously voted to recommend approval of PGRR033 as recommended by PLWG in the 11/22/13 PLWG Report with a proposed effective date of 1/1/15. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 12/12/13, PGRR033 was tabled to allow the Dynamics Working Group (DWG) time to review the Impact Analysis. On 1/9/14, participants identified ERCOT as the appropriate Entity to lead the flat start simulations, and reviewed potential cost savings and efficiencies to be gained by this. |  |  |
| TAC Decision |  | On 1/28/14, TAC unanimously voted to recommend approval of PGRR033 as recommended by ROS in the 1/9/14 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 1/28/14, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR033 as it will lead to all dynamic flat start cases being created by a single entity (ERCOT) which should result in better model consistency and quality. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Establishes the requirement for ERCOT to prepare all flat start simulations in a binding document. |

| Sponsor |  |
| --- | --- |
| Name | Reza Ebrahimian on behalf of DWG |
| E-mail Address | Reza.Ebrahimian@austinenergy.com |
| Company | Austin Energy |
| Phone Number | (512) 322-6740 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

- 6.2.4 	Dynamics Data Screening and Maintenance

(1)	In order to maintain simulation-ready base cases and associated dynamics data files for use in dynamic simulations, ERCOT, in consultation with the DWG, shall perform dynamic simulations, called flat-start simulations, as described in the Dynamics Working Group Procedural Manual.

(2)	The schedule for producing the flat start simulations will be reviewed annually and submitted to the ROS.

(3)	Transmission owners shall review the completeness and applicability of dynamics data used in the flat start simulation for equipment connected to their system.  The model should be appropriate for the equipment and the data shall be appropriate for the model.

(4)	ERCOT shall contact the appropriate TSP or Resource Entity to resolve any dynamics data problems, incomplete or missing data, encountered while preparing the flat start simulation.

(5)	Upon completion of each flat start simulation, ERCOT shall distribute an electronic copy of all files necessary to replicate the flat start simulation as described in the Dynamics Working Group Procedural Manual to the DWG.

(6)	ERCOT and the DWG shall document assumptions made, data created, and data changed during the creation of a flat start simulation.

(7)	ERCOT shall be responsible for storing all of the dynamics data and shall maintain a repository of dynamics data with tuned parameters and any submitted revisions.

(8)	Within 30 days of receipt, ERCOT shall forward all dynamics data received to the TSP to which the dynamics device is connected.