## Slide 1
MWG Update
Darrell Sumbera
MWG Chair
WMS
2/5/2014
Notes: <number>

## Slide 2
February 5, 2014
    Thanks to prior Meter Working Group leadership for 7 years of service
    Dottie Disanto - STEC
    Mark Rollins - LCRA
    NPRR 592
    Request for WMS to provide comments as recommended by the MWG and endorse NPRR 592, with comments
MWG update to WMS – February 2014
Notes: <number>

## Slide 3
February 5, 2014
    Focus Groups - subset of MWG discussing items for future consideration by the MWG
    Paralleling of current transformers
      Provide clarity in the Settlement Metering Operating Guide language for determining connected burden
      Provide excel worksheet to support the calculation of connected burden when the metering configuration utilizes parallel current transformers
    Loss of potential event logging
      Provide clarity in the Settlement Metering Operating Guide language for the threshold that would trigger this event for consistent application
    Proof of concept - for identifying a one to one relationship between EPS meters and a telemetry point
    Support estimation for settlements if data from an EPS meter is not available
MWG update to WMS – February 2014
Notes: <number>