Operations Working Group Meeting

Monday, 1/27/14

Austin Marriott North

In Attendance:

| John Warren – LCRA | John Abel - ONCOR |
| --- | --- |
| Kevin Morley – CNP | Laura Zotter – Austin Energy |
| Brad Bell – E.On | Jimmy Hartmann - ERCOT |
| Stan Morris –TNMP | Dennis Richardson - Denton |
| Rick Gillean - WETT | Nathan Bigbee – ERCOT |
| Shun-Hsien (Fred) Huang – ERCOT Tip Tipton – Brazos Colleen Frosch - ERCOT | Camden White – ERCOT Walter Reid – Wind Coalition Jeff Conner - LST |
| Kelly Landry – ERCOT | Jeff Sims – CPS Energy |
| Robert Bailey- NRG Michael Cruz-Montes – CNP Kelly Blackmer – ERCOT Chad Thompson – ERCOT Matt Carter - Garland | Lauri White - AEP Frank Owens – Cross Texas Matt Stout – ERCOT Stephen Solis - ERCOT |

Dial-In Attendees:

| Linda Rodriguez – AEP Liz Jones – ONCOR Leo Villanueva - ERCOT | Sherry Looney – Luminant David Penney – Texas RE Emal Latifzai - ERCOT |
| --- | --- |

- Antitrust Admonition

Meeting opened at 8:30 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting

No new assignments.

- December OWG Meeting Notes

Reviewed notes, minor changes identified.

- NOGRR Reviews

- 124NOGRR Additional VRT Requirement for IRRs. This Nodal Operating Guide Revision Request (NOGRR) specifies new high Voltage Ride-Through (VRT) requirements for Intermittent Renewable Resources (IRRs) and prohibits IRRs from tripping for events that are less severe than the defined thresholds and occur for shorter time durations.  Tabled to allow market participants to respond to ERCOT comments.

- 126NOGRR Deletion of the Regulatory Required Incident and Disturbance Reports.  This Nodal Operating Guide Revision Request (NOGRR) removes the regulation reporting requirements from the Operating Guides. Language Review.  Tabled

- 127NOGRR Synchronization with NPRR564, Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions.  This Nodal Operating Guide Revision Request (NOGRR) synchronizes Nodal Operating Guide Section 4.5.3.3, EEA Levels, with Protocol Section 6.5.9.4.2, EEA Levels. Language Review and Comment on Urgency.  Recommended Urgency be granted, and recommended approval of NOGRR127 as submitted.

- Monthly Operations Report

Reviewed the report; comments/questions were answered by ERCOT personnel.

- Operations Task Force

Stan will send out Market Notice regarding workshop to begin to tackle many of the voltage issues currently on the table.

Kelly Blackmer gave a brief report on the upcoming Hurricane Drill.

- Texas RE Update Report

BAL – 001 has been approved with an implementation date of 04/01/2014.

COM – 002 is out for ballot.

January 6 RFIs have been sent out in coordination with ERCOT.  Preliminary report on generator performance can be expected the middle of next month.  The full report will not be ready until March due to data collection on ERS deployment.

- System Operations Report

No report

- Seminar Task Force Report

Operations Seminar Dry Run beginning after OWG meeting.

- Other

John Warren brought up PRC values and the makeup of PRC.  The question on the table is do we need to look at what we procure or the change the levels of PRC associated with each level of EEA.  The item will be listed as an action item for next month’s OWG meeting.

Frank Owens and John Warren confirmed as Chair and Vice Chair of OWG for another year.

Discussion on ROS directive - Voltage support requirement for all Generation Resources greater than 20 MVA. (See Protocol Section 3.15, paragraph 2).  Walter Reid will draft some language and submit to Operations group to review.

- Future Meeting Date

Monday February 17th, 2014