APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, September 12, 2013 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| Bern, Alan | Oncor Electric Delivery | Alt. Rep. for K. Donohoo |
| DeTullio, David | Air Liquide |  |
| Ebrahimian, Reza | Austin Energy | Alt. Rep. for J. Armke |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Helyer, Scott | Tenaska Power Services |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| John, Ebby | CenterPoint Energy | Alt. Rep. for P. Rocha |
| Jones, Randy | Calpine | Alt. Rep. for C. Lyons (afternoon) |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kroskey, Tony | Brazos Electric | Alt. Rep. for R. Ryno |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lyons, Chris | Exelon |  |
| Moore, John | South Texas Electric |  |
| Reed, Cyrus | Sierra Club |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Wagner, Marguerite | Edison Mission |  |
| Williams, Blake | CPS Energy |  |

The following proxy was assigned:

- Mark Garrett to Rick Keetch

- Bob Green to Blake Williams

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Ee, Danny | Austin Energy |  |
| Harwell, Robin | Oncor |  |
| Henry, Jack | Siemens |  |
| Jones, Liz | Oncor |  |
| Kee, David | CPS Energy |  |
| Lane, Rob | Luminant |  |
| Le, Don | Lone Star Transmission |  |
| Looney, Sherry | Luminant |  |
| Macias, Michael | AEP | Via Teleconference |
| Muston, Bill | Oncor | Via Teleconference |
| Nashawati, Eithar | Oncor |  |
| Owens, Frank | Cross Texas Transmission |  |
| Penney, David | Texas Reliability Entity |  |
| Pieniazek, Adrian | NRG Texas |  |
| Reid, Walter | Wind Coalition |  |
| Rocha, Brasileo | CPS Energy | Via Teleconference |
| Rodriguez, Kristen | Electric Power Engineers | Via Teleconference |
| Schwarz, Brad | Hunt Power |  |
| Son, Peter | Crescent Power | Via Teleconference |
| Tammar, Carl | Sharyland |  |
| Vo, Trieu | CPS Energy |  |
| White, Lauri | AEP Texas |  |
| Zotter, Laura | Austin Energy |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Bivens, Carrie |  | Via Teleconference |
| Blevins, Bill |  |  |
| Deller, Art |  |  |
| Du, David Pengwei |  | Via Teleconference |
| Frosch, Colleen |  |  |
| Gonzalez, Ino |  | Via Teleconference |
| Landin, Yvette |  |  |
| Landry, Kelly |  |  |
| Middleton, Scott |  |  |
| Thompson, Chad |  |  |
| White, Camden |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

2013 ROS Chair Harry Holloway called the September 12, 2013 ROS meeting to order at 9:35 a.m.

Antitrust Admonition

Mr. Holloway directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

Mr. Holloway advised Market Participants the Planning Working Group (PLWG) report would be taken up as the first item of regular business.

Draft August 15, 2013 ROS Meeting Minutes

David DeTullio moved to approve the August 15, 2013 ROS meeting minutes as posted.  Dana Showalter seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

Mr. Holloway reported the disposition of items considered at the September 5, 2013 TAC meeting.

ERCOT Updates (see Key Documents) Update – Project to Complete Resource Asset Registration Form (RARF) Database Art Deller presented an update on the RARF Data Completion Project. Woody Rickerson added that the completion project attends to data on the existing RARF, and that Subsynchronous Resonance is a new data field and will not be added to the RARF outside of the Resource Data Working Group (RDWG) vetting process. RARF Update re Implementation of Nodal Protocol Revision Request (NPRR) 425, Creation of a WGR Group for GREDP and Base Point Deviation Evaluation and Mixing Turbine Types Within a WGR Mr. Deller reviewed changes to the RARF per implementation of NPRR425. Market Participants expressed concern that the new fields had not been considered by the RDWG. Mr. Deller noted that the fields are being presented to both ROS and the Wholesale Market Subcommittee (WMS) for transparency, as the RDWG process is not yet finalized. Market Participants acknowledged that the particular timelines do overlap and asked if there would be a workshop regarding the new fields. Mr. Deller offered to schedule a workshop but expressed hope that the guidebook would be sufficiently helpful.

August 2013 Operations Report Camden White presented the August 2013 Operations report.

August 2013 System Planning Report Jeff Billo presented the July 2013 System Planning report. Marguerite Wagner suggested that a comparison of North American Electric Reliability Corporation (NERC) versus ERCOT planning standards might be undertaken by the PLWG. Mr. Billo offered that Table 1: ERCOT-specific Reliability Performance Criteria, in Planning Guide Section 4.1.1.2, Reliability Performance Criteria, approaches such a comparison in listing each element where the ERCOT Standard exceeds the NERC Standard. NPRR562, Subsynchronous Resonance ROS took no action on this item. Synchrophasor Task Force (STF) (see Key Documents) Bill Blevins presented the draft STF scope and noted that task force leadership will be selected at the first formal meeting. It was noted that “STF” might be in use by another stakeholder body and require altering at a later date. Establish STF/Approve Scope Dennis Kunkel moved to establish the STF and approve the STF Scope as submitted. Alan Bern seconded the motion. The motion carried unanimously. Black Start Task Force (BSTF) (see Key Documents) No questions were offered regarding the posted BSTF report. Dynamics Working Group (DWG) (see Key Documents) Reza Ebrahimian presented draft language for ROS information. Draft Planning Guide Revision Request (PGRR) re Dynamics Flat Start Cases Preparation Mr. Holloway opined that the draft language suitably fulfills ROS’ previous directive. ROS took no action on this item. Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey reviewed recent NDSWG activities. NPRR556, Resource Adequacy During Transmission Equipment Outage Dan Woodfin offered to arrange a workshop regarding NPRR556. Market Participants discussed whether a workshop would be useful; that the resolution would likely be an effort between ERCOT and Transmission Service Providers (TSPs); and that a manual workaround offers an approximate 95 percent solution to the issue. ROS took no action on this item. NERC Reliability Working Group (NRWG) No NRWG report was offered. RDWG (see Key Documents) Ms. Showalter presented language for ROS consideration. Proposed Other Binding Document/RRGRR - ERCOT Resource Registration Glossary, Section 1: Overview and Revision Process NPRR567, Stakeholder Review of Resource Registration Data Requirements Ms. Wagner moved to recommend that the ERCOT Resource Registration Glossary, Section 1: Overview and Revision Process, be added to the list of Other Binding Documents; and to endorse NPRR567 as revised by ROS. Cyrus Reed seconded the motion. The motion carried unanimously. PGRR032, Stakeholder Review of Resource Registration Data Requirements ROS took no action on this item. PR106-1, MP Online Data Entry - Phase 1 Scott Middleton presented an update regarding Phase 1 of PR106-1, MP Online Data Entry. Ms. Wagner expressed support for the project. Operations Working Group (OWG) (see Key Documents) Frank Owens presented Revision Requests for ROS consideration. Chad Thompson reported on the September 3 and September 6, 2013 Constraint Management Plan Revision Request Workshops and reviewed resultant comments. Nodal Operating Guide Revision Request (NOGRR) 114, Synchronization with NPRR540, Clarification of Credible Single Contingency NPRR529, Congestion of Management Plan NPRR540, Clarification of Credible Single Contingency NPRR541, SPS and RAP Modeling Clarification NPRR542, Clarification of the Use of Emergency Condition Mr. DeTullio moved to recommend approval of NOGRR114 as amended by the 9/9/13 Constraint Management Plan Revision Request Workshop comments; and to endorse NPRR529, NPRR540, NPRR541, and NPRR542 as amended by the respective 9/9/13 Constraint Management Plan Revision Request Workshop comments. Blake Williams seconded the motion. The motion carried unanimously. NOGRR109, Revisions to Definition of Credible Single Contingency for Operations Planning Mr. DeTullio moved to recommend approval of NOGRR109 as recommended by OWG in the 6/19/13 OWG Report. Mr. Williams seconded the motion. The motion carried with one abstention from the Independent Generator Market Segment. NOGRR110, Synchronization with NPRR529, Congestion Management Plan Mr. DeTullio moved to recommend approval of NOGRR110 as amended by the 9/9/13 Constraint Management Plan Revision Request Workshop comments. Mr. Williams seconded the motion. It was noted that a revised Impact Analysis may be presented at the October 3, 2013 TAC meeting, due to language revisions proposed in comments. The motion carried with two abstentions from the Independent Generator Market Segment. NOGRR116, Synchronization with NPRR542, Clarification of the Use of Emergency Condition Mr. DeTullio moved to recommend approval of NOGRR116 as amended by the 9/10/13 ERCOT comments. Mr. Williams seconded the motion. The motion carried unanimously. NPRR528, Clarification of Assessment of Chronic Congestion Ms. Wagner expressed concern that proposed language limited ERCOT options to address congestion and would capture transient issues which would then be addressed with a Transmission project. Ms. Wagner also expressed concern for transparency for projects falling under the current cost thresholds, and for a gap in timing and frequency of information to Market Participants that are not Transmission Owners. Market Participants offered language revisions and discussed whether lists of projects to address chronic congestion might be incorporated in current reports, posted to the Market Information System (MIS), or shared at the Regional Planning Group (RPG). Mr. Kunkel moved to endorse NPRR528 as amended by the 9/11/13 WMS comments and as revised by ROS. Mr. DeTullio seconded the motion. The motion carried with three abstentions from the Independent Generator Market Segment. NOGRR120, Black Start Plan Template Revision Randy Jones moved to recommend approval of NOGRR120 as recommended by OWG in the 8/20/13 OWG Report. Mr. DeTullio seconded the motion. The motion carried unanimously. Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents) David Kee reviewed recent PDCWG activities and presented answers to questions regarding NPRR486, Calculation of Generation to be Dispatched and System Change Request (SCR) 773, Addition of Regulation Feedback to Generation to be Dispatched Calculation. Direction to PDCWG re NPRR486 and SCR773 Mr. Kee offered to host an open session at a future PDCWG meeting. ROS took no action on this item. Fast Responding Regulation Service (FRRS) Deployment – Options & Recommendation Mr. R. Jones moved to endorse the PDCWG recommendation for Option 2: - Adjust the granularity for deployment to three steps - Parameter changes are needed to add the extra granularity - Near term solution Mr. Williams seconded the motion. The motion carried unanimously. Planning Working Group (PLWG) John Moore presented language for ROS consideration. PGRR030, New Planning Guide Section 8A, Declaration of Resource Data Accuracy and 8B, Declaration of Adequate Water Rights (formerly “New Planning Guide Section 8A, Declaration of Resource Data Accuracy”) Market Participants discussed ongoing confusion as to the definition of Commercial Operation; and expressed consternation for repeat requests for old data. Market Participants requested that PLWG clarify when an Interconnecting Entity is no longer required to submit the Declaration Resource Data Accuracy, and when an Interconnecting Entity becomes a Resource Entity. Ms. Wagner moved to table PGRR030 for one month and refer the issues to PLWG. Ms. Showalter seconded the motion. ERCOT Staff offered to work with PLWG to resolve language. The motion carried with one abstention from the Cooperative Market Segment. Principles of Consistency Document Market Participants noted that TAC removed the Principles of Consistency document from the list of TAC-approved procedures at the September 5, 2013 TAC meeting, and that WMS will take up remaining issues for any necessary rules revisions. Options re PGRR031, Implement 95% Facility Rating Limit in the Planning Criteria Mr. Moore noted options regarding PGRR031 will be discussed at the September 25, 2013 PLWG meeting. Steady State Working Group (SSWG) There was no SSWG report. System Protection Working Group (SPWG) (see Key Documents) Danny Ee reviewed recent SPWG activities and presented proposed revisions to the SPWG Procedures. SPWG Procedures Mr. R. Jones moved to approve the revised SPWG Procedures as submitted. Scott Helyer seconded the motion. The motion carried unanimously. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati presented the VRTF report. Other Business (see Key Documents) Mr. Holloway noted Yvette Landin’s departure from the Market Rules team and thanked her for her service to ROS. Mr. Holloway advised Market Participants how to participate in seasonal kickoff meetings regarding Voltage Profiles and Remedial Action Plans. Adjournment Mr. Holloway adjourned the September 12, 2013 ROS meeting at 2:47 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2013/09/20130912-ROS