APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, October 10, 2013 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| DeTullio, David | Air Liquide |  |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Ebrahimian, Reza | Austin Energy | Alt. Rep. for J. Armke |
| Garrett, Mark | Direct Energy | Via Teleconference |
| Green, Bob | Garland Power and Light |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Hauk, Christine | Garland Power and Light | Via Teleconference |
| Helyer, Scott | Tenaska Power Services |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kolb, Larry | Golden Spread |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marsh, Tony | MAMO Enterprises |  |
| Moore, John | South Texas Electric |  |
| Reed, Cyrus | Sierra Club |  |
| Rocha, Paul | CenterPoint Energy |  |
| Ryno, Randy | Brazos Electric |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Wagner, Marguerite | Edison Mission |  |

Guests:

| Bern, Alan | Oncor |  |
| --- | --- | --- |
| Blackburn, Don | Luminant | Via Teleconference |
| Burke, Tom | GSEC | Via Teleconference |
| Carlson, Trent | JP Morgan |  |
| Cook, Tim | CTT |  |
| Ee, Danny | Austin Energy |  |
| English, Barksdale | Austin Energy |  |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Kroskey, Tony | Brazos Electric |  |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Firestone, Joel | Topaz Power | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Henry, Jack | Siemens PTI |  |
| Horvath, Julius | WETT |  |
| Jones, Liz | Oncor |  |
| Mena, Hugo | EPE Consulting | Via Teleconference |
| Moore, John | Stratus Energy |  |
| Nashawati, Eithar | Oncor |  |
| Niemeyer, Sydney | NRG | Via Teleconference |
| Ögelman, Kenan | CPS Energy |  |
| Ogin, Brett | Consolidated Edison Solutions | Via Teleconference |
| Owens, Frank | Cross Texas Transmission |  |
| Penney, David | Texas Reliability Entity |  |
| Preas, Dylan | LCRA |  |
| Reid, Walter | Wind Coalition |  |
| Schroeder, Eric | CTT |  |
| Stephenson, Randa | Lone Star Transmission |  |
| Trout, Seth | CES | Via Teleconference |
| Turner, David | Lone Star Transmission |  |
| White, Lauri | AEP Texas |  |
| Woodruff, Taylor | Oncor | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Deller, Art |  |  |
| Du, David Pengwei |  | Via Teleconference |
| Frosch, Colleen |  |  |
| Hobbs, Kristi |  | Via Teleconference |
| Landry, Kelly |  |  |
| Mago, Nitika |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Saathoff, Kent |  | Via Teleconference |
| Springer, Agee |  |  |
| Teixeira, Jay |  | Via Teleconference |
| Thompson, Chad |  | Via Teleconference |
| White, Camden |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

2013 ROS Chair Harry Holloway called the October 10, 2013 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Bill Hatfield directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

Mr. Hatfield advised Market Participants that Nodal Protocol Revision Request (NPRR) 568, Real-Time Reserve Adder Based on Operating Reserve Demand Curve, and the Physical Responsive Capability (PRC) calculation would be briefly discussed in Other Business.

Draft September 12, 2013 ROS Meeting Minutes

David DeTullio moved to approve the September 12, 2013 ROS meeting minutes as posted.  Ken Donohoo seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update (see Key Documents)

Mr. Hatfield reviewed proposed revisions to the TAC Procedures, noting in particular the possibility that working group and task force comment procedures would be standardized to require consideration at the parent voting body.  Mr. Hatfield invited discussion and upon hearing none encouraged interested parties to comment to TAC directly.  ROS took no action on this item.

ERCOT Updates (see Key Documents) Update – Project to Complete Resource Asset Registration Form (RARF) Database Art Deller presented an update on the RARF Data Completion Project and noted that approximately five Entities hold a majority of the outstanding data. Market Participants discussed the distinctions between the Siemens project to complete the RARF database, which has a closed scope, and the MP Online Data Entry project, which is in the scoping process and is for the development of the RARF replacement tool; that Nodal Protocol Section 3.7, Resource Parameters, necessitates the RARF completion project; that the Resource Data Working Group (RDWG) process should be engaged to address data that is being gathered and reported, to the Public Utility Commission of Texas (PUCT) for instance, but is not reaching ERCOT; and that stakeholders desire a noticed public forum to discuss requirements for the MP Online Data Entry project. Market Participants also discussed that some preliminary requirements discussions have taken place in necessarily closed forums due to confidentiality requirements; that the RARF replacement tool should be designed to accommodate new data fields, and provide verification capabilities; and specific data fields would be vetted by RDWG. Market Participants reiterated their request for a process by which to provide comment regarding the MP Online Data Entry project, and requested that consideration be given to creating the project as a System Change Request (SCR) to utilize existing comment processes.

September 2013 Operations Report Camden White presented the September 2013 Operations report.

September 2013 System Planning Report Jeff Billo presented the September 2013 System Planning report. Ancillary Service Methodology Bill Blevins presented proposed revisions to the Ancillary Services Methodology, noting similar presentations at the Qualified Scheduling Entity (QSE) Mangers Working Group (QMWG) and the Wholesale Market Subcommittee (WMS); that the methodology would be presented at the November 19, 2013 ERCOT Board of Directors meeting; and that Market Participants are invited to provide comment, but that subcommittee or TAC endorsement is not required. Marguerite Wagner noted that revisions to the Ancillary Services Methodology used to be presented closer to the August/September timeframe, and that while October is an improvement over November/December, the earlier timeframe is preferable so as to allow internal discussions and ROS comment to technical considerations. Market Participants requested any vote be postponed to the November 14, 2013 ROS meeting. SCR774, Enhancement to Outage Scheduler and Reports (see Key Documents) Market Participants discussed Resolution Options 1 and 2 proposed in the 9/20/13 SCR774 Workshop comments. Paul Rocha moved to endorse Resolution Option 1 as recommended in the 10/7/13 CenterPoint Energy comments. Mr. Donohoo seconded the motion. The motion carried unanimously. Steady State Working Group (SSWG) Julius Horvath presented the SSWG report. Mr. Donohoo suggested that recent discussions at SSWG, regarding such issues as particular data not being included in models and approval timelines, might be taken up at the Planning Working Group (PLWG). Synchrophasor Task Force (see Key Documents) Bill Blevins reported that the Synchrophasor Task Force had not yet met and will be scheduled after upcoming out-of-town synchrophasor conferences. System Protection Working Group (SPWG) (see Key Documents) Danny Ee presented the SPWG report. Mr. Rocha recommended that SPWG request of vendors information regarding mitigation for geomagnetic induced current. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati reviewed recent VRTF activities. Market Participants discussed voltage reduction testing efforts and concerns for potential impacts to voltage stability and effectiveness in reducing Load. Black Start Working Group (BSWG) (see Key Documents) Dylan Preas presented the BSWG report. Dynamics Working Group (DWG) (see Key Documents) Reza Ebrahimian presented the DWG report. Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey presented the NDSWG report. Telemetry Standards State Estimator Standards Market Participants discussed that there are no recommended changes to the Telemetry or State Estimator Standards at this time. Randy Ryno moved to endorse the current Telemetry Standards and State Estimator Standards. Mr. DeTullio seconded the motion. The motion carried unanimously. NERC Reliability Working Group (NRWG) No NRWG report was offered. RDWG (see Key Documents) No RDWG report was offered. Brenda Hampton invited questions regarding RDWG efforts to develop the ERCOT Resource Registration Glossary. Operations Working Group (OWG) (see Key Documents) Frank Owens presented Revision Requests for ROS consideration; requested increased participation in OWG; and noted that OWG is planning topic-specific workshops. Nodal Operating Guide Revision Request (NOGRR) 111, Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis Walter Reid proposed language revisions regarding low frequency disturbance. Mr. Ryno moved to recommend approval of NOGRR111 as recommended by OWG in the 9/18/13 OWG Report and as revised by ROS. Mr. Donohoo seconded the motion. The motion carried unanimously. Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents) Sydney Niemeyer presented the PDCWG report. Planning Working Group (PLWG) (see Key Documents) John A. Moore presented the PLWG report and noted Revision Requests currently under review by the group. Market Participants briefly discussed Planning Guide Revision Request (PGRR) 031, Implement 95% Facility Rating Limit in the Planning Criteria. PGRR030, New Planning Guide Sections 8A, Declaration of Resource Data Accuracy and 8B, Declaration of Adequate Water Rights (formerly “New Planning Guide Section 8A, Declaration of Resource Data Accuracy”) NPRR567, Stakeholder Review of Resource Registration Data Requirements Mr. J.A. Moore noted the revised definition of Interconnecting Entity (IE) as the PLWG solution to concerns regarding when an IE is no longer required to submit the Declaration of Resource Data Accuracy, and to clarify when an IE becomes a Resource Entity. Dana Showalter moved to recommend approval of PGRR030 as recommended by PLWG in the 8/28/13 PLWG Report; and to endorse NPRR567 as amended by the 10/2/13 PLWG comments. Mr. Ryno seconded the motion. The motion carried with one abstention from the Independent Power Marketer (IPM) Market Segment. Other Business (see Key Documents) 2014 Meeting Calendar Mr. Hatfield called Market Participants’ attention to the 2014 meeting schedule, noting changes to the customary meeting days for the ERCOT Board, TAC, and all subcommittees. Market Participants expressed concern that end-of-month reporting would be adversely affected. Mr. Hatfield requested that ERCOT Staff review reporting practices for any way to mitigate reporting delays. 2014 ERCOT Membership/Segment Representative Elections Brittney Albracht reminded Market Participants of the November 8, 2013 record date for 2014 ERCOT Membership, and the November 11, 2013 start date for 2014 Segment representative election processes. Upcoming Workshops/Trainings Mr. Hatfield noted scheduled October workshops, and encouraged Market Participants to review the whitepaper published by ERCOT Staff regarding future Ancillary Services in ERCOT. NPRR568 Randa Stephenson highlighted for Market Participants that NPRR568 is structured to use PRC and asked if ROS would be interested in discussing the calculation of PRC. Market Participants briefly debated whether PRC is appropriately applied in NPRR568; what should be included in the calculation of PRC; whether a new Revision Request might be needed; and which ROS working group might best undertake the discussion. Mr. Hatfield requested PDCWG host an open session to review current PRC language. Adjournment Mr. Hatfield adjourned the October 10, 2013 ROS meeting at 12:20 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2013/10/20131010-ROS