APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, November 14, 2013 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| Bern, Alan | Oncor | Alt. Rep. for K. Donohoo |
| DeTullio, David | Air Liquide |  |
| Ebrahimian, Reza | Austin Energy | Alt. Rep. for J. Armke |
| Evans, Doug | STEC |  |
| Garrett, Mark | Direct Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Green, Bob | Garland Power and Light | Via Teleconference |
| Hatfield, Bill | LCRA |  |
| Helyer, Scott | Tenaska Power Services |  |
| Hudson, Tony | TNMP |  |
| John, Ebby | CenterPoint Energy | Alt. Rep. for Paul Rocha |
| Jones, Randy | Calpine | Alt. Rep. for C. Lyons (afternoon only) |
| Kolb, Larry | Golden Spread |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marsh, Tony | MAMO Enterprises |  |
| Pieniazek, Adrian | Reliant Energy Retail Services | Alt. Rep. for R. Keetch |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Wagner, Marguerite | Edison Mission |  |
| Williams, Blake | CPS Energy |  |

The following proxy was assigned:

- Bob Green to Blake Williams

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Bevill, Jennifer | AEP | Via Teleconference |
| Blackburn, Don | Luminant | Via Teleconference |
| Brown, Amanda | Xtreme Power | Via Teleconference |
| Brown, Jeff | Shell | Via Teleconference |
| Cook, Tim | CTT | Via Teleconference |
| Ebrahimian, Reza | Austin Energy |  |
| Ee, Danny | Austin Energy |  |
| Elliot, Christopher | Bank of America/Merrill Lynch | Via Teleconference |
| English, Barksdale | Austin Energy |  |
| Firestone, Joel | Topaz Power |  |
| Griffin, Blair | Lone Star Transmission | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Henry, Mark | Texas Reliability Entity |  |
| Jones, Liz | Oncor |  |
| Kee, David | CPS Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Kroskey, Tony | Brazos Electric |  |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Mena, Hugo | EPE Consulting | Via Teleconference |
| Miller, Jake | EDF Trading | Via Teleconference |
| Moore, John | Stratus Energy |  |
| Nashawati, Eithar | Oncor |  |
| Owens, Frank | Cross Texas Transmission |  |
| Penney, David | Texas Reliability Entity |  |
| Reid, Walter | Wind Coalition |  |
| Rodriguez, Kristen | EPE Consulting | Via Teleconference |
| Sandidge, Clint | Noble Solutions | Via Teleconference |
| Stanfield, Leonard | CPS Energy | Via Teleconference |
| Trout, Seth | CES | Via Teleconference |
| Velasquez, Ivan | Oncor | Via Teleconference |
| Vo, Trieu | CPS Energy |  |
| White, Lauri | AEP Texas |  |
| Whittle, Brandon |  | Via Teleconference |
| Woodruff, Taylor | Oncor |  |
| Zotter, Laura | Austin Energy | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Du, Pengwei |  | Via Teleconference |
| Geer, Ed |  | Via Teleconference |
| Gnanam, Prabhu |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| King, Charles |  | Via Teleconference |
| Landry, Kelly |  |  |
| Mago, Nitika |  | Via Teleconference |
| McGinnis, Tim |  | Via Teleconference |
| Peters, Patrick |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Saathoff, Kent |  | Via Teleconference |
| Sharma, Sandip |  |  |
| Teixeira, Jay |  |  |
| Tindall, Sandra |  | Via Teleconference |
| Thompson, Chad |  |  |
| White, Camden |  |  |
| Williams, Leslie |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

2013 ROS Vice Chair Bill Hatfield called the November 14, 2013 ROS meeting to order at 9:33 a.m.

Antitrust Admonition

Mr. Hatfield directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

Mr. Hatfield advised Market Participants that a discussion of future Ancillary Services in ERCOT would be moved to the end of the agenda.

Draft Meeting Minutes (see Key Documents)

October 10, 2013

Randy Ryno moved to approve the October 10, 2013 ROS meeting minutes as posted.  David DeTullio seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update (see Key Documents)

Mr. Hatfield noted the disposition of voting items considered at the November 7, 2013 TAC meeting.

2014 Goals

Market Participants reviewed the proposed draft 2014 TAC goals and offered revisions.  Mr. Hatfield noted that draft 2014 ROS goals would be discussed at the December 12, 2013 ROS meeting.

Revised TAC Procedures

Kelly Landry reviewed recently revised TAC Procedures.  Mr. Hatfield reminded Market Participants that ROS will now consider working group and task force comments.

Appropriate Telemetering of High Sustained Limit (HSL) re Nodal Protocol Revision Request (NPRR) 524, Resource Limits in Providing Ancillary Service

Bill Hellinghausen requested clarification regarding the telemetering of HSL in light of NPRR524.  Mr. Hatfield referred the issue to the Performance, Disturbance, Compliance Working Group (PDCWG).

Earlier Release of High Ancillary Service Limit (HASL) to Security-Constrained Economic Dispatch (SCED)

Bill Blevins recounted discussion at recent Operating Reserve Demand Curve (ORDC) workshops and interest by some Entities in earlier release of Reserves to minimize price reversals.  Mr. B. Blevins highlighted some concern by ERCOT Operations for impacts to frequency response, and another manual process during already challenging conditions.  Market Participants discussed that the issue poses potential impacts to both the market and reliability and needs to be resolved by June 1, 2014 when the ORDC will be implemented.  Mr. Hatfield referred the issue to PDCWG.

ERCOT Updates (see Key Documents) Update – Project to Complete Resource Asset Registration Form (RARF) Database Jay Teixeira presented an update on the RARF Data Completion Project. Mark Henry emphasized the importance of completing the current database. Dana Showalter noted that some organizations are being required to resubmit old data that has not changed. Mr. Teixeira offered that it is a known weakness, but that attachments must be submitted each time.

October 2013 Operations Report Camden White presented the October 2013 Operations report.

October 2013 System Planning Report Jeff Billo presented the October 2013 System Planning report and offered his understanding that ERCOT is waiting for Planning Guide Revision Request (PGRR) 030, New Planning Guide Sections 8A, Declaration of Resource Data Accuracy and 8B, Declaration of Adequate Water Rights (formerly “New Planning Guide Section 8A, Declaration of Resource Data Accuracy”) to be approved before listing in the System Planning Report entities that have posted security. 2014 Ancillary Service Methodology Changes (see Key Documents) Market Participants discussed proposed revisions to the 2014 Ancillary Service Methodology and Luminant comments to the proposed revisions. Market Participants proposed further revisions to the language. Adrian Pieniazek moved to endorse the 2014 Ancillary Services Methodology as revised by ROS. Alan Bern seconded the motion. The motion carried unanimously. Fast Responding Regulation Service (FRRS) Pilot (see Key Documents) Sandip Sharma noted the filing of NPRR581 and requested Market Participant comment to the item. Marguerite Wagner opined that a new Ancillary Service should not be added at this time, as discussion of future Ancillary Services in ERCOT in underway, and added that Regulation is required to be an hourly product, and FRRS may not fit the requirement. Steady State Working Group (SSWG) (see Key Documents) The SSWG report was posted for review. Ms. Wagner suggested that it would be helpful to have the delta file be published mid-year. Operations Working Group (OWG) (see Key Documents) Frank Owens presented Revision Requests for ROS consideration. Nodal Operating Guide Revision Request (NOGRR) 121, ERCOT Operator Certification Program and ERCOT Fundamentals Manual NOGRR122, CRR Network Model Clarification for Accepted Outages Mr. Ryno moved to recommend approval of NOGRR121 and NOGRR122 as recommended by OWG in the respective 10/16/13 OWG Reports. Dennis Kunkel seconded the motion. The motion carried unanimously. Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents) David Kee reviewed recent PDCWG activities. Planning Working Group (PLWG) (see Key Documents) John A. Moore reviewed recent PLWG activities and presented Revision Requests for ROS consideration. PGRR028, Evaluation of Compliance with Reactive Requirements Mr. Ryno moved to recommend approval of PGRR028 as recommended by PLWG in the 10/23/13 PLWG comments and as revised by ROS. Market Participants discussed the expectation for Generation Resources to provide an operating range at anticipated future Voltage Profiles and the criteria used to determine that future date. Mr. Ryno noted that it is known that profiles will change from time to time; offered that the planning tool is to assist the Resource in meeting future Protocols; and suggested that care be given to not developing language that contradicts Protocols. Mr. Ryno withdrew the motion. Ms. Wagner moved to table PGRR028 and refer this issue to PLWG. Mr. Pieniazek seconded the motion. The motion carried unanimously. PGRR031, Implement 95% Facility Rating Limit in the Planning Criteria Mr. Moore noted that PDCWG was not unanimous in its opinion of PGRR031 but characterized support for the item as a majority, and thanked Ms. Wagner and Mr. Pieniazek for their considerable participation in discussions. Mr. Billo reviewed background for PGRR031 and addressed frequently asked questions. Market Participants discussed the Operations and Planning Synchronization Task Force (OPSTF) recommendation that Transmission Facilities’ planning criteria should be within 95 percent of the applicable Facility Rating; potential financial impacts to consumers associated with overbuilding transmission; and the risk of rolling Outages and high prices for inadequate transmission as a result of underbuilding. Mr. Kunkel moved to recommend approval of PGRR031 as recommended by PLWG in the 10/23/13 PLWG Report. Mark Garrett seconded the motion. The motion carried via roll call vote with six objections from the Independent Generator (3), Independent Power Marketer (IPM), Independent Retail Electric Provider (IREP), and Municipal Market Segments, and three abstentions from the Consumer and IPM (2) Market Segments. (Please see ballot posted with Key Documents for PGRR031) PGRR032, Stakeholder Review of Resource Registration Data Requirements Ms. Showalter moved to recommend approval of PGRR032 as recommended by PLWG in the 10/23/13 PLWG Report. Mr. Ryno seconded the motion. The motion carried unanimously. Synchrophasor Task Force (see Key Documents) Mr. B. Blevins reported that the Synchrophasor Task Force anticipates approximately six months of work to reach any proposed Revision Requests. Synchrophasor Task Force Leadership Randy Jones moved to endorse Kris Koellner and Mr. B. Blevins as Synchrophasor Task Force Chair and Vice Chair respectively. Mr. Bern seconded the motion. The motion carried unanimously. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati reviewed recent VRTF activities. Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey reviewed recent NDSWG activities. NPRR556, Resource Adequacy During Transmission Equipment Outage Ebby John moved to recommend that PRS table NPRR556 for one month. Mr. Kunkel seconded the motion. Market Participants discussed that the interested parties agree in principle on the concept but are having difficulty settling language. The motion carried unanimously. NERC Reliability Working Group (NRWG) No NRWG report was offered. Resource Data Working Group (RDWG) (see Key Documents) Brenda Hampton reviewed recent RDWG activities. Resource Registration Glossary Revision Request (RRGRR) 001, Section 2, Resource Registration Glossary Mr. R. Jones moved to grant RGRR001 Urgent status. Mr. Ryno seconded the motion. Market Participants discussed the need to reduce the opportunity for Resource Asset Registration Form (RARF) data fields to change absent vetting by stakeholders. The motion carried with one abstention from the IREP Market Segment. Mr. R. Jones moved to recommend approval of RRGRR001 as submitted and to forward RRGRR001 to TAC. Lloyd Kolb seconded the motion. The motion carried unanimously. Other Business (see Key Documents) Future Ancillary Services in ERCOT ERCOT Staff reviewed discussion at the October 24, 2013 Future Ancillary Services in ERCOT workshop and the ERCOT concept paper, reminding Market Participants that comments to the paper are due November 15, 2013. 20 Megavolt Ampere (MVA) Walter Reid noted the Protocol requirement that Voltage Support be provided by Resources at 20MVA, and the recent interpretation that during the commissioning process, as soon as the new Resource achieves 20MVA, it is required to provide Voltage Support, though the Resource is not yet commissioned and tested. It was noted that issues have arisen with lengthy commissioning periods. Mr. Hatfield referred the issue to the OWG. 2014 Meeting Calendar Mr. Garrett noted that the June 2014 ROS meeting may need to be rescheduled due to the X Games scheduled to take place in Austin. Meeting Conflicts Mr. R. Jones requested that working group meetings and other stakeholder forums not be scheduled on ERCOT Board meeting days. Adjournment Mr. Hatfield adjourned the November 14, 2013 ROS meeting at 3:30 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2013/11/20131114-ROS

http://www.ercot.com/mktrules/issues/pgrr/026-050/031/index