## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
LoadZones | Monthly peak demand and energy data for this year by load zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.

## Updates
File Updated | 2014-01-08

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2013
[5 empty] | Updated | 2014-01-08
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2013 Demand, MW | 50664.8051 | 40406.9964 | 41709.7986 | 45601.9335 | 56209.2205 | 64418.2945 | 64814 | 67244.5294 | 63387.8513 | 54709.5348 | 46954.2002 | 53642.4399 | 67244.5294
Date | 16 | 28 | 26 | 16 | 31 | 27 | 31 | 7 | 3 | 3 | 25 | 10
Hour Ending | 08:00 | 08:00 | 08:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 19:00 | 8:00
Day of Week | Wednesday | Thursday | Tuesday | Tuesday | Friday | Thursday | Wednesday | Wednesday | Tuesday | Thursday | Monday | Tuesday
Forecasted Demand, MW | 52231 | 47482 | 40707 | 45423 | 57617 | 61957 | 63819 | 67998 | 62968 | 49414 | 39420 | 54390 | 67998
Difference, percent | -2.999% | -14.9% | 2.463% | 0.3939% | -2.443% | 3.973% | 1.559% | -1.108% | 0.6668% | 10.72% | 19.11% | -1.374% | -1.108%
2012 Demand, MW | 46908.4905 | 42090.0469 | 42611.0462 | 48774.0356 | 58947.0194 | 66548 | 65807.6913 | 66509 | 64862.2074 | 48274.2721 | 41625.6633 | 45544.7859 | 66548
Date | 13 | 13 | 31 | 25 | 29 | 26 | 31 | 1 | 5 | 4 | 2 | 26
Hour Ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 10:00
Day of Week | Friday | Monday | Saturday | Wednesday | Tuesday | Tuesday | Tuesday | Wednesday | Wednesday | Thursday | Friday | Wednesday
Increase, MW | 3756.3146 | -1683.0505 | -901.2476 | -3172.1021 | -2737.7989 | -2129.7055 | -993.6913 | 735.5294 | -1474.356 | 6435.2626 | 5328.5369 | 8097.654
Increase, percent | 8.008% | -3.999% | -2.115% | -6.504% | -4.645% | -3.2% | -1.51% | 1.106% | -2.273% | 13.33% | 12.8% | 17.78%
Max All Time | 55877.8342 | 57265 | 43033 | 51800 | 58947 | 66548 | 65808 | 68305 | 64862 | 54710 | 46954.2002 | 53642.4399
Date | 1/8/2010 at 0800 | 2/10/2011 at 0800 | 3/4/2002 at 0800 | 4/18/2006 at 1700 | 5/29/2012 at 1700 | 6/26/2012 at 1700 | 7/31/2012 at 1700 | 8/3/2011 at 1700 | 9/5/2012 at 1700 | 10/3/2013 at 1700 | 11/25/2013 1900 | 12/10/2013 at 0800
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2013 Demand, MW | 51413.7901 | 41133.1732 | 42383.83 | 45664.3337 | 56330.1874 | 64533.3868 | 65040 | 67327.8115 | 63478.9618 | 54774.5502 | 46988.5484 | 54248.5695 | 67327.8115
Date | 16 | 28 | 26 | 16 | 31 | 27 | 31 | 7 | 3 | 3 | 25 | 10
Interval Ending | 07:15 | 07:15 | 07:15 | 17:00 | 17:00 | 17:00 | 17:00 | 16:45 | 16:45 | 16:45 | 18:30 | 7:15
Day of Week | Wednesday | Thursday | Tuesday | Tuesday | Friday | Thursday | Wednesday | Wednesday | Tuesday | Thursday | Monday | Tuesday
Max All Time | 56191 | 57971 | 43983 | 52024 | 59170 | 66577 | 65889 | 68342 | 64959 | 54775 | 46988.5484 | 54248.5695
Date | 1/8/2010 at 0715 | 2/10/2011 at 0715 | 3/4/2002 at 0715 | 4/17/2006 at 1615 | 5/29/2012 at 1700 | 6/26/2012 at 1630 | 7/31/2012 at 1700 | 8/3/2011 at 1700 | 9/5/2012 at 1700 | 10/3/2013 at 1645 | 11/25/2013 1830 | 12/10/2013 at 0715
NET SYSTEM MINIMUM DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2013 Demand, MW | 23706.9467 | 23527.9682 | 23755.4379 | 23414.896 | 23768.8271 | 27018.4348 | 29324 | 29222 | 25244.5021 | 23850.0405 | 24047.065 | 24995.0533
Date | 28 | 4 | 16 | 1 | 6 | 8 | 3 | 18 | 22 | 7 | 10 | 2
Interval Ending | 03:00 | 02:15 | 04:00 | 03:30 | 03:00 | 04:45 | 04:00 | 06:00 | 05:00 | 3:45 | 04:00 | 2:45
Day of Week | Monday | Monday | Saturday | Monday | Monday | Saturday | Wednesday | Sunday | Sunday | Monday | Sunday | Monday

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2013
[5 empty] | Updated | 2014-01-08
NET ENERGY FOR LOAD
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2013 Energy, MWh | 25636413.219 | 21186721.9993 | 23247782.0253 | 23337357.949 | 27417557.1955 | 32201198.1314 | 33591603 | 35621619.7632 | 31220619.8199 | 25812778.6986 | 24264017.0937 | 28086432.9627 | 331624101.8577
2013 YTD Energy, MWh | 25636413.219 | 46823135.2184 | 70070917.2437 | 93408275.1927 | 120825832.3882 | 153027030.5197 | 186618633.5197 | 222240253.2828 | 253460873.1028 | 279273651.8014 | 303537668.895 | 331624101.8577
Forecasted Energy, MWh | 25866488 | 22316283 | 24246856 | 24092312 | 29479934 | 31796919 | 34609597 | 35521026 | 29893965 | 25580420 | 22335580 | 26137340 | 331876720
Difference, percent | -0.8895% | -5.062% | -4.12% | -3.134% | -6.996% | 1.271% | -2.941% | 0.2832% | 4.438% | 0.9083% | 8.634% | 7.457% | -0.07612%
YTD Forecasted Energy, MWh | 25866488 | 48182771 | 72429627 | 96521939 | 126001873 | 157798792 | 192408389 | 227929415 | 257823380 | 283403800 | 305739380 | 331876720
YTD Difference, percent | -0.8895% | -2.822% | -3.257% | -3.226% | -4.108% | -3.024% | -3.009% | -2.496% | -1.692% | -1.457% | -0.7201% | -0.07612%
2012 Energy, MWh | 23992776.045 | 22129674.6662 | 23132814.6346 | 24359574.9053 | 28678073.1427 | 32034147.5971 | 33837815.1594 | 35062391.2076 | 29339963.0044 | 25120315.6981 | 22265195.3494 | 24906959.2762 | 324859700.6862
Increase, MWh | 1643637.1741 | -942952.6669 | 114967.3907 | -1022216.9562 | -1260515.9473 | 167050.5343 | -246212.1594 | 559228.5555 | 1880656.8155 | 692463.0005 | 1998821.7442 | 3179473.6864 | 6764401.1715
Increase, percent | 6.851% | -4.261% | 0.497% | -4.196% | -4.395% | 0.5215% | -0.7276% | 1.595% | 6.41% | 2.757% | 8.977% | 12.77% | 2.082%
2012 YTD Energy, MWh | 23992776.045 | 46122450.7112 | 69255265.3458 | 93614840.2511 | 122292913.3938 | 154327060.991 | 188164876.1504 | 223227267.358 | 252567230.3624 | 277687546.0606 | 299952741.41 | 324859700.6862
YTD Increase, MWh | 1643637.1741 | 700684.5072 | 815651.8979 | -206565.0583 | -1467081.0056 | -1300030.4713 | -1546242.6307 | -987014.0752 | 893642.7403 | 1586105.7408 | 3584927.485 | 6764401.1715
YTD Increase, percent | 6.851% | 1.519% | 1.178% | -0.2207% | -1.2% | -0.8424% | -0.8217% | -0.4422% | 0.3538% | 0.5712% | 1.195% | 2.082%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2013 | 68.01% | 78.03% | 74.92% | 71.08% | 65.56% | 69.43% | 69.66% | 71.2% | 68.41% | 63.42% | 71.77% | 70.37% | 56.3%
2012 | 68.75% | 75.54% | 72.97% | 69.37% | 65.39% | 66.86% | 69.11% | 70.86% | 62.83% | 69.94% | 74.29% | 73.5% | 55.73%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2013 | 67.02% | 76.65% | 73.72% | 70.98% | 65.42% | 69.3% | 69.42% | 71.11% | 68.31% | 63.34% | 71.72% | 69.59% | 56.23%

## LoadZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY LOAD SETTLEMENT ZONE FOR 2013
[5 empty] | Updated | 2014-01-08
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1909.6342 | 1476.0834 | 1541.9903 | 1814.8403 | 2143.7027 | 2475.794 | 2459.6751 | 2586.8902 | 2535.7308 | 2196.1266 | 1829.0687 | 2018.6068
LZ_CPS | 3668.7246 | 2654.3615 | 2750.1304 | 3262.0905 | 4060.1138 | 4466.7819 | 4564.8154 | 4796.5384 | 4614.86 | 4044.7052 | 3266.8491 | 3742.445
LZ_HOUSTON | 11693.7909 | 9549.7646 | 9909.9812 | 11774.1546 | 15560.584 | 17374.171 | 17223.0243 | 17661.529 | 17262.6008 | 14289.0695 | 11881.3727 | 12030.5501
LZ_LCRA | 3369.5012 | 2374.1451 | 2525.7763 | 2226.0914 | 2904.2649 | 3434.6676 | 3459.8668 | 3625.1937 | 3388.8943 | 2921.8908 | 2869.6184 | 3640.7925
LZ_NORTH | 20219.928 | 16999.5928 | 17729.2162 | 17427.1027 | 20508.3883 | 24774.886 | 25334.831 | 26392.3992 | 24304.0668 | 20696.5873 | 17676.099 | 21998.7172
LZ_RAYBN | 651.8101 | 561.7471 | 516.9833 | 427.0336 | 538.1103 | 706.067 | 721.0955 | 711.9583 | 666.0727 | 575.8208 | 305.7622 | 611.9437
LZ_SOUTH | 6099.1598 | 4153.5408 | 4096.666 | 5306.2512 | 6504.2732 | 6921.6922 | 6930.3325 | 7128.5833 | 6515.0632 | 6158.2277 | 5603.8439 | 6203.5347
LZ_WEST | 3801.2413 | 3363.9379 | 3313.0862 | 3426.7692 | 4110.7501 | 4379.3271 | 4347.0517 | 4424.7193 | 4191.6732 | 3892.1223 | 3555.9343 | 4001.9795
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1909.6342 | 1505.5857 | 1728.5318 | 1866.1699 | 2207.9929 | 2579.4833 | 2481.5374 | 2597.5572 | 2541.7485 | 2196.1266 | 1831.5275 | 2018.6068
Date and time | 16 @ 07:15 | 14 @ 07:15 | 18 @ 16:45 | 15 @ 16:45 | 20 @ 17:00 | 28 @ 18:00 | 31 @ 18:00 | 7 @ 18:00 | 3 @ 16:30 | 3 @ 16:45 | 25 @ 18:00 | 10 @ 07:15
LZ_CPS | 3668.7246 | 2790.0149 | 3367.3216 | 3448.9542 | 4246.8875 | 4706.9562 | 4717.6633 | 4895.7081 | 4682.3013 | 4062.5039 | 3269.5863 | 3742.445
Date and time | 16 @ 07:15 | 26 @ 07:00 | 18 @ 17:00 | 15 @ 17:45 | 17 @ 17:00 | 29 @ 17:00 | 30 @ 17:00 | 8 @ 17:00 | 3 @ 18:00 | 2 @ 17:00 | 25 @ 18:45 | 10 @ 07:15
LZ_HOUSTON | 12351.4801 | 10107.9107 | 12270.0101 | 12360.9248 | 15647.9944 | 17389.5828 | 17258.3499 | 17945.385 | 17283.8663 | 15333.2936 | 11997.0253 | 12030.5501
Date and time | 15 @ 18:30 | 14 @ 07:00 | 18 @ 17:00 | 30 @ 16:45 | 31 @ 16:00 | 27 @ 16:45 | 25 @ 16:45 | 13 @ 16:45 | 3 @ 16:00 | 4 @ 16:00 | 25 @ 18:00 | 10 @ 07:15
LZ_LCRA | 3369.5012 | 2555.2761 | 2730.1769 | 2304.8231 | 2933.2495 | 3718.1842 | 3523.5945 | 3643.5171 | 3437.3394 | 2921.8908 | 2924.8008 | 3640.7925
Date and time | 16 @ 07:15 | 14 @ 07:15 | 1 @ 07:00 | 15 @ 18:30 | 20 @ 17:45 | 29 @ 17:00 | 31 @ 18:15 | 7 @ 17:30 | 3 @ 17:45 | 3 @ 16:45 | 24 @ 19:15 | 10 @ 07:15
LZ_NORTH | 20219.928 | 16999.5928 | 17729.2162 | 17427.1027 | 20508.3883 | 24799.2085 | 25334.831 | 26394.1041 | 24863.3349 | 20723.633 | 17945.3464 | 21998.7172
Date and time | 16 @ 07:15 | 28 @ 07:15 | 26 @ 07:15 | 16 @ 17:00 | 31 @ 17:00 | 27 @ 17:30 | 31 @ 17:00 | 7 @ 17:00 | 5 @ 16:30 | 3 @ 17:00 | 27 @ 07:45 | 10 @ 07:15
LZ_RAYBN | 663.8123 | 569.4583 | 551.2735 | 523.2455 | 547.345 | 714.1682 | 728.6631 | 764.1316 | 731.2337 | 580.3123 | 464.8095 | 684.5937
Date and time | 14 @ 07:00 | 28 @ 07:00 | 23 @ 07:30 | 11 @ 07:15 | 31 @ 18:00 | 27 @ 17:45 | 31 @ 18:00 | 31 @ 17:15 | 6 @ 17:30 | 3 @ 17:30 | 7 @ 07:00 | 30 @ 07:00
LZ_SOUTH | 6099.1598 | 4314.5626 | 5241.2119 | 5593.1074 | 6516.8599 | 7091.9045 | 6940.0227 | 7206.5044 | 6617.8072 | 6258.6664 | 5681.9736 | 6203.5347
Date and time | 16 @ 07:15 | 5 @ 19:15 | 18 @ 17:00 | 15 @ 16:45 | 31 @ 16:45 | 29 @ 16:45 | 31 @ 16:45 | 8 @ 16:00 | 4 @ 15:15 | 2 @ 16:30 | 27 @ 07:30 | 10 @ 07:15
LZ_WEST | 3801.2413 | 3363.9379 | 3313.966 | 3519.4409 | 4110.7501 | 4410.6514 | 4354.0336 | 4446.252 | 4288.5065 | 3892.4031 | 3827.4521 | 4002.0962
Date and time | 16 @ 07:15 | 28 @ 07:15 | 25 @ 07:30 | 17 @ 16:45 | 31 @ 17:00 | 26 @ 16:45 | 31 @ 16:30 | 6 @ 16:15 | 4 @ 16:45 | 3 @ 17:00 | 22 @ 18:30 | 10 @ 07:30
NET ENERGY FOR LOAD, MWh
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
LZ_AEN | 992797.9468 | 819875.6933 | 920737.4537 | 940802.7438 | 1107986.4106 | 1298849.7952 | 1337905.7366 | 1413638.2234 | 1245818.7635 | 1048248.811 | 954647.245 | 1063931.2258 | 13145240.0487
LZ_CPS | 1713880.4578 | 1372318.429 | 1544452.3732 | 1574920.0074 | 1905669.3617 | 2218652.0467 | 2379473.2154 | 2542278.3111 | 2150228.1234 | 1818243.5295 | 1627060.5195 | 1836401.2166 | 22683577.5913
LZ_HOUSTON | 6588155.2097 | 5548114.676 | 6316393.7283 | 6390533.0116 | 7666397.1956 | 8953565.0175 | 9128872.3307 | 9482918.6307 | 8585023.7647 | 7291290.1417 | 6441354.5784 | 6932842.5686 | 89325460.8535
LZ_LCRA | 1407025.5295 | 1079417.5955 | 1183483.7999 | 1153253.7086 | 1353544.7405 | 1651157.5025 | 1736689.8282 | 1848149.2676 | 1577605.2445 | 1290259.6102 | 1293017.4966 | 1610754.0645 | 17184358.3881
LZ_NORTH | 9766293.4341 | 8134359.1053 | 8577304.4273 | 8403839.8861 | 9748194.1038 | 11806077.7328 | 12526198.3692 | 13542515.5572 | 11700722.9963 | 9028441.8493 | 8865873.7818 | 10914902.2751 | 123014723.5183
LZ_RAYBN | 279366.6244 | 222683.6671 | 218430.7046 | 208158.9006 | 227548.3248 | 293454.6131 | 326106.8353 | 338476.7796 | 288650.2091 | 221141.3255 | 198010.4547 | 315051.0771 | 3137079.516
LZ_SOUTH | 2765484.3742 | 2209023.0928 | 2545251.89 | 2705962.7278 | 3222980.097 | 3612144.3788 | 3719557.6066 | 3874101.3435 | 3342392.0039 | 3023174.5155 | 2768753.7416 | 3028338.942 | 36817164.7138
LZ_WEST | 2123409.6426 | 1800929.7403 | 1941727.6484 | 1959886.9631 | 2185236.9615 | 2367297.0449 | 2436798.4435 | 2579541.6501 | 2330178.7145 | 2091978.9157 | 2115299.276 | 2384211.5929 | 26316496.5934
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2013
[5 empty] | Updated | 2014-01-08
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 12457.3322 | 10223.5264 | 10580.8119 | 12514.2325 | 16411.0174 | 18307.7101 | 18160.186 | 18601.5255 | 18160.5065 | 15111.8273 | 12654.4785 | 12938.4464
East | 1852.5863 | 1651.9149 | 1796.86 | 1728.0638 | 1958.0004 | 2258.3133 | 2259.9623 | 2389.0616 | 2215.5081 | 1911.9418 | 1761.2199 | 2077.1443
Far West | 1886.1351 | 1730.6784 | 1678.9863 | 1822.2405 | 2099.1608 | 2226.0351 | 2221.2814 | 2169.4057 | 2151.0339 | 2040.0053 | 1887.155 | 1998.7854
North Central | 18753.9393 | 15658.6363 | 16196.0641 | 15901.7587 | 18814.6079 | 22842.954 | 23420.5069 | 24310.4052 | 22400.5042 | 19053.9408 | 15966.1361 | 20248.5575
North | 1155.9528 | 1021.0255 | 1042.316 | 870.8012 | 1186.6539 | 1396.4644 | 1372.2953 | 1473.7086 | 1298.0844 | 1142.0317 | 1003.8333 | 1235.5263
South Central | 9138.7305 | 6663.7392 | 6990.2654 | 7580.1065 | 9407.4268 | 10760.7498 | 10848.1029 | 11399.5477 | 10944.1413 | 9518.1665 | 8210.8104 | 9580.5506
South | 4523.1368 | 2886.4815 | 2817.2405 | 3877.9613 | 4857.2773 | 5030.2653 | 5031.0304 | 5165.8773 | 4656.4079 | 4507.3028 | 4104.4418 | 4469.4896
West | 1645.9771 | 1297.171 | 1281.2859 | 1369.1691 | 1596.043 | 1710.8949 | 1727.3271 | 1818.2799 | 1652.7755 | 1489.3342 | 1400.4732 | 1700.0694
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 13170.4074 | 10760.7513 | 12916.7277 | 13004.4555 | 16504.5649 | 18325.0157 | 18182.1528 | 18890.5338 | 18195.155 | 16174.9602 | 12771.9244 | 12938.4464
Date and time | 15 @ 18:30 | 14 @ 07:00 | 18 @ 17:00 | 30 @ 16:45 | 31 @ 16:00 | 27 @ 16:45 | 25 @ 16:45 | 13 @ 16:45 | 3 @ 16:00 | 4 @ 16:00 | 25 @ 18:00 | 10 @ 07:15
East | 1925.282 | 1762.5387 | 1796.86 | 1799.9902 | 1977.1302 | 2359.7145 | 2354.9505 | 2454.1704 | 2356.149 | 1991.6553 | 1830.1871 | 2106.0649
Date and time | 14 @ 09:30 | 14 @ 07:15 | 26 @ 07:15 | 16 @ 16:45 | 31 @ 15:30 | 28 @ 15:30 | 12 @ 15:30 | 6 @ 16:30 | 3 @ 14:15 | 4 @ 16:45 | 14 @ 07:00 | 10 @ 07:00
Far West | 1886.1351 | 1731.6719 | 1712.9291 | 1860.0835 | 2104.0207 | 2256.051 | 2234.3898 | 2253.7056 | 2193.4993 | 2044.0261 | 2093.9268 | 2107.8689
Date and time | 16 @ 07:15 | 26 @ 07:30 | 25 @ 07:30 | 30 @ 17:30 | 31 @ 16:30 | 26 @ 16:45 | 30 @ 16:30 | 6 @ 15:30 | 4 @ 16:45 | 3 @ 17:00 | 22 @ 18:30 | 5 @ 18:30
North Central | 18753.9393 | 15660.2484 | 16196.0641 | 15901.7587 | 18814.6079 | 22902.6271 | 23420.5069 | 24327.0066 | 22893.7939 | 19053.9408 | 16242.7571 | 20248.5575
Date and time | 16 @ 07:15 | 28 @ 07:00 | 26 @ 07:15 | 16 @ 17:00 | 31 @ 17:00 | 27 @ 17:30 | 31 @ 17:00 | 7 @ 17:00 | 4 @ 16:45 | 3 @ 16:45 | 22 @ 18:15 | 10 @ 07:15
North | 1155.9528 | 1042.9519 | 1042.316 | 942.6131 | 1188.7218 | 1401.3037 | 1398.2742 | 1475.9126 | 1361.6985 | 1145.5174 | 1038.1186 | 1236.494
Date and time | 16 @ 07:15 | 1 @ 07:30 | 26 @ 07:15 | 30 @ 17:00 | 31 @ 16:45 | 27 @ 16:30 | 10 @ 16:00 | 7 @ 16:30 | 6 @ 16:00 | 3 @ 16:15 | 27 @ 07:30 | 10 @ 07:30
South Central | 9138.7305 | 6964.7699 | 7538.4906 | 7842.7942 | 9687.3363 | 11285.1247 | 10929.1924 | 11451.405 | 10985.6344 | 9518.1665 | 8226.3089 | 9580.5506
Date and time | 16 @ 07:15 | 14 @ 07:15 | 18 @ 17:15 | 15 @ 18:00 | 20 @ 17:00 | 29 @ 17:00 | 30 @ 17:00 | 8 @ 16:45 | 3 @ 18:00 | 3 @ 16:45 | 25 @ 19:00 | 10 @ 07:15
South | 4523.1368 | 3219.357 | 4008.4664 | 4162.3276 | 4875.3901 | 5139.149 | 5058.6556 | 5260.6897 | 4790.1973 | 4623.3778 | 4205.7345 | 4469.4896
Date and time | 16 @ 07:15 | 5 @ 16:45 | 18 @ 17:00 | 9 @ 16:00 | 31 @ 16:30 | 29 @ 16:45 | 30 @ 16:00 | 8 @ 16:00 | 4 @ 15:15 | 2 @ 16:30 | 27 @ 07:30 | 10 @ 07:15
West | 1645.9771 | 1304.7785 | 1293.5807 | 1369.1691 | 1636.7929 | 1722.5838 | 1727.3271 | 1822.1925 | 1694.3229 | 1489.3342 | 1446.8836 | 1700.0694
Date and time | 16 @ 07:15 | 26 @ 07:15 | 1 @ 07:30 | 16 @ 17:00 | 20 @ 16:45 | 28 @ 16:45 | 31 @ 17:00 | 7 @ 16:30 | 1 @ 17:15 | 3 @ 16:45 | 22 @ 18:30 | 10 @ 07:15
NET ZONE ENERGY, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Coastal | 6982928.3464 | 5892351.3014 | 6691270.2812 | 6783276.6464 | 8100006.291 | 9447538.9209 | 9652606.113 | 10026907.6632 | 9069326.0256 | 7731816.0734 | 6895239.7789 | 7425825.0873 | 94699092.5288
East | 960004.004 | 816436.381 | 869883.4907 | 859296.0494 | 981267.3197 | 1131962.2246 | 1196412.1315 | 1294065.2057 | 1138442.6621 | 914633.0555 | 899873.4265 | 1026701.104 | 12088977.0547
Far West | 1132050.5684 | 972148.1144 | 1053870.828 | 1060468.2218 | 1193822.1426 | 1266858.9858 | 1297430.1814 | 1363902.8144 | 1249895.7288 | 1162591.3154 | 1187652.8017 | 1297002.8195 | 14237694.5223
North Central | 8936428.9251 | 7407545.6127 | 7793214.0014 | 7631485.092 | 8862158.8587 | 10802820.5839 | 11474857.7617 | 12388773.2896 | 10674514.8717 | 8199525.6787 | 8037043.8146 | 10040789.3772 | 112249157.8673
North | 604542.1647 | 520413.417 | 542634.9318 | 519962.7416 | 580557.2334 | 674351.6606 | 718948.8953 | 769283.229 | 675476.8458 | 545131.0269 | 543785.8543 | 665531.3086 | 7360619.3089
South Central | 4214203.7263 | 3359685.0122 | 3765490.6636 | 3798546.3835 | 4526534.0964 | 5359356.1855 | 5639335.2104 | 6007785.9011 | 5148361.0111 | 4292592.0925 | 3978794.2606 | 4612879.1835 | 54703563.7268
South | 2021143.7968 | 1595485.2555 | 1859408.2277 | 1994504.9963 | 2407579.861 | 2660713.06 | 2726692.9804 | 2819894.4957 | 2433435.6798 | 2244255.8214 | 1991892.7232 | 2152499.6673 | 26907506.565
West | 785111.6874 | 622656.9052 | 672009.601 | 689817.8179 | 765631.3926 | 857596.5101 | 885319.0918 | 951007.1644 | 831166.995 | 722233.6348 | 729734.4337 | 865204.4152 | 9377489.6492
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2013
[5 empty] | Updated | 2014-01-08
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 10590436.9672 | 7599402.1561 | 8238992.7185 | 9050238.1378 | 9795079.4547 | 12739823.1168 | 14743313.9482 | 16957138.2716 | 14146533.3789 | 9985466.032 | 9672701.5498 | 10837559.1115 | 134356684.8431
Coal | 9465158.817 | 8191137.054 | 8566436.24 | 8365242.703 | 10108436.3514 | 12284299.8978 | 12700666.0742 | 12586582.4265 | 11495004.2916 | 9537406.4013 | 8471147.1706 | 11460978.269 | 123232495.6963
Nuclear | 2950580.176 | 2550208.251 | 2767380.117 | 2325091.883 | 3611421.4374 | 3689474.7069 | 3725773.3789 | 3716706.2754 | 3486405.2229 | 3259276.9439 | 3172206.6787 | 3088216.3193 | 38342741.3905
Wind | 2426996.137 | 2753961.221 | 3528136.876 | 3518950.999 | 3691496.0882 | 3195333.981 | 2096245.575 | 1868085.0708 | 1711159.5615 | 2755136.6787 | 2753077.7426 | 2406792.6401 | 32705372.5708
Water | 40051.857 | 27991.8287 | 24173.3641 | 37652.5924 | 18121.8844 | 16032.12 | 19857.0765 | 24707.4286 | 31748.9283 | 22033.4061 | 16267.4528 | 17572.7496 | 296210.6885
Net DC/BLT | 120159.7927 | 19264 | 65731 | -16156 | 138116.6285 | 204863.0109 | 234595.411 | 293537.4134 | 288361.7489 | 161188.8412 | 119355.4089 | 194108.9087 | 1823126.1643
Other | 43029.4722 | 44757.3553 | 56931.9659 | 56337.6395 | 54885.3509 | 71371.298 | 71151.6266 | 174862.8769 | 61406.6879 | 92270.3954 | 59260.9965 | 81204.9645 | 867470.6296
Total | 25636413.219 | 21186721.8662 | 23247782.2814 | 23337357.9547 | 27417557.1955 | 32201198.1314 | 33591603.0904 | 35621619.7632 | 31220619.8199 | 25812778.6986 | 24264017 | 28086432.9627 | 331624101.9831
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 41.31% | 35.87% | 35.44% | 38.78% | 35.73% | 39.56% | 43.89% | 47.6% | 45.31% | 38.68% | 39.86% | 38.59% | 40.51%
Coal | 36.92% | 38.66% | 36.85% | 35.84% | 36.87% | 38.15% | 37.81% | 35.33% | 36.82% | 36.95% | 34.91% | 40.81% | 37.16%
Nuclear | 11.51% | 12.04% | 11.9% | 9.963% | 13.17% | 11.46% | 11.09% | 10.43% | 11.17% | 12.63% | 13.07% | 11% | 11.56%
Wind | 9.467% | 13% | 15.18% | 15.08% | 13.46% | 9.923% | 6.24% | 5.244% | 5.481% | 10.67% | 11.35% | 8.569% | 9.862%
Water | 0.1562% | 0.1321% | 0.104% | 0.1613% | 0.0661% | 0.04979% | 0.05911% | 0.06936% | 0.1017% | 0.08536% | 0.06704% | 0.06257% | 0.08932%
Net DC/BLT | 0.4687% | 0.09092% | 0.2827% | -0.06923% | 0.5038% | 0.6362% | 0.6984% | 0.824% | 0.9236% | 0.6245% | 0.4919% | 0.6911% | 0.5498%
Other | 0.1678% | 0.2113% | 0.2449% | 0.2414% | 0.2002% | 0.2216% | 0.2118% | 0.4909% | 0.1967% | 0.3575% | 0.2442% | 0.2891% | 0.2616%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
These values are based on initial settlements and will not be updated with subsequent settlements.
"Other" includes solar, petroleum coke, landfill gas, biomass solids, biomass gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Natural Gas | 10590.437 | 7599.4022 | 8238.9927 | 9050.2381 | 9795.0795 | 12739.8231 | 14743.3139 | 16957.1383 | 14146.5334 | 9985.466 | 9672.7015 | 10837.5591
Coal | 9465.1588 | 8191.1371 | 8566.4362 | 8365.2427 | 10108.4364 | 12284.2999 | 12700.6661 | 12586.5824 | 11495.0043 | 9537.4064 | 8471.1472 | 11460.9783
Nuclear | 2950.5802 | 2550.2083 | 2767.3801 | 2325.0919 | 3611.4214 | 3689.4747 | 3725.7734 | 3716.7063 | 3486.4052 | 3259.2769 | 3172.2067 | 3088.2163
Wind | 2426.9961 | 2753.9612 | 3528.1369 | 3518.951 | 3691.4961 | 3195.334 | 2096.2456 | 1868.0851 | 1711.1596 | 2755.1367 | 2753.0777 | 2406.7926
Water | 40.0519 | 27.9918 | 24.1734 | 37.6526 | 18.1219 | 16.0321 | 19.8571 | 24.7074 | 31.7489 | 22.0334 | 16.2675 | 17.5727
DC Imports | 120.1598 | 19.264 | 65.731 | -16.156 | 138.1166 | 204.863 | 234.5954 | 293.5374 | 288.3617 | 161.1888 | 119.3554 | 194.1089
Other | 43.0295 | 44.7574 | 56.932 | 56.3376 | 54.8854 | 71.3713 | 71.1516 | 174.8629 | 61.4067 | 92.2704 | 59.261 | 81.205

## EnergyComparisons
Energy, MWh
|  |  | Current | Previous | Prev, GWh |  | Previous source
|  | Jan | 25636.4132 | 26072476.3698 | 23992.776 |  | 23992776.045
|  | Feb | 21186.722 | 23737721.6958 | 22129.6747 |  | 22129674.6662
|  | Mar | 23247.782 | 22028910.172 | 23132.8146 |  | 23132814.6346
|  | Apr | 23337.3579 | 21502948.6826 | 24359.5749 |  | 24359574.9053
|  | May | 27417.5572 | 27221819.2111 | 28678.0731 |  | 28678073.1427
|  | Jun | 32201.1981 | 31781587.449 | 32034.1476 |  | 32034147.5971
|  | Jul | 33591.603 | 32397557.5854 | 33837.8152 |  | 33837815.1594
|  | Aug | 35621.6198 | 35774778.982 | 35062.3912 |  | 35062391.2076
|  | Sep | 31220.6198 | 28844061.793 | 29339.963 |  | 29339963.0044
|  | Oct | 25812.7787 | 23933083.247 | 25120.3157 |  | 25120315.6981
|  | Nov | 24264.0171 | 21753399.2658 | 22265.1953 |  | 22265195.3494
|  | Dec | 28086.433 | 24049056 | 24906.9593 |  | 24906959.2762
ytd | ytd |  | Energy, MWh
Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
25636.4132 | 25866.488 | Jan | 25636.4132 | 25866.488 |  | 0.8975% |  | 25866488
46823.1352 | 48182.771 | Feb | 21186.722 | 22316.283 |  | 5.331% |  | 22316283
70070.9172 | 72429.627 | Mar | 23247.782 | 24246.856 |  | 4.298% |  | 24246856
93408.2752 | 96521.939 | Apr | 23337.3579 | 24092.312 |  | 3.235% |  | 24092312
120825.8324 | 126001.873 | May | 27417.5572 | 29479.934 |  | 7.522% |  | 29479934
153027.0305 | 157798.792 | Jun | 32201.1981 | 31796.919 |  | -1.255% |  | 31796919
186618.6335 | 192408.389 | Jul | 33591.603 | 34609.597 |  | 3.031% |  | 34609597
222240.2533 | 227929.415 | Aug | 35621.6198 | 35521.026 |  | -0.2824% |  | 35521026
253460.8731 | 257823.38 | Sep | 31220.6198 | 29893.965 |  | -4.249% |  | 29893965
279273.6518 | 283403.8 | Oct | 25812.7787 | 25580.42 |  | -0.9002% |  | 25580420
303537.6689 | 305739.38 | Nov | 24264.0171 | 22335.58 |  | -7.948% |  | 22335580
331624.1019 | 331876.72 | Dec | 28086.433 | 26137.34 |  | -6.94% |  | 26137340
0
0
|  | EIA-411 forecast made in March 2004 |  | 0
0
YTD Actual 235,718,421 MWh YTD Forecast 242,752,402 MWh Difference -2.9%

## DemandComparisons
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Current | 50664.8051 | 40406.9964 | 41709.7986 | 45601.9335 | 56209.2205 | 64418.2945 | 64814 | 67244.5294 | 63387.8513 | 54709.5348 | 46954.2002 | 53642.4399
Previous | 46908.4905 | 42090.0469 | 42611.0462 | 48774.0356 | 58947.0194 | 66548 | 65807.6913 | 66509 | 64862.2074 | 48274.2721 | 41625.6633 | 45544.7859
Forecast | 52231 | 47482 | 40707 | 45423 | 57617 | 61957 | 63819 | 67998 | 62968 | 49414 | 39420 | 54390