| NPRR Number | 592 | NPRR Title | Clarification of Meter Repair Timelines for RTM Settlements |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | February 13, 2014 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 10.8.1.2, EPS Metering Facilities Repairs |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | Settlement Metering Operating Guide |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) provides clarification that ERCOT may reduce the meter repair timeline from twelve to six hours if the meter data is required for Real-Time Market (RTM) Settlements on the same day or an upcoming non-Business Day. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Clarification of business process. (please select all that apply) |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 1/23/14, NPRR592 and an Impact Analysis were posted. - On 2/6/14, WMS comments were posted. - On 2/13/14, PRS considered NPRR592. |  |  |
| PRS Decision |  | On 2/13/14, PRS voted to recommend approval of NPRR592 as amended by the 2/6/14 WMS comments. There was one abstention from the Cooperative Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/13/14, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | - Ensures meter data availability for Settlement runs that will occur on upcoming non-Business Days. - Supports reduced RTM Settlement. |  |
| Quantitative Benefits | - Not applicable. |  |
| Impact to Market Segments | - Not applicable. |  |
| Credit Implications | - Not applicable. |  |
| Other |  |  |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number | 512-560-2378 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 020614 | Endorsed as revised by WMS. |

Proposed Protocol Language Revision

10.8.1.2	EPS Metering Facilities Repairs

If an EPS Metering Facility requires repairs to ensure that it operates in accordance with the requirements of this Section, then the TSP or DSP shall immediately notify ERCOT of the need for repairing such Metering Facility.  If, however, operating conditions are such that it is not possible for the Transmission and/or Distribution Service Provider (TDSP) to notify ERCOT of the need for repairs, then the TDSP may make the necessary repairs and then notify ERCOT of the repairs prior to the end of the next Business Day.

(a)	Where no Back-up Meter exists or Back-up Meter data is unavailable, the TSP or DSP shall ensure that the metering point is repaired and operational within 12 hours of problem detection;

[NPRR570: Pending system implementation, replace paragraph (a) above with the following on May 1, 2014 unless the ERCOT Board affirmatively votes to delay implementation of this paragraph to a later date or condition:] (a) Where no Back-up Meter exists or Back-up Meter data is unavailable, the TSP or DSP shall ensure that the metering point is repaired and operational within 12 hours of problem detection. ERCOT may, at its discretion, reduce the repair timeline from twelve to six hours if the meter data is required for Real-Time Market (RTM) Settlements on the same day or an upcoming ERCOT non-Business Day.

(b)	Where a functional and operational Back-up Meter exists, the TSP or DSP shall ensure that the metering point is repaired and operational within five Business Days of problem detection.