ERCOT Fast Frequency Response

Working Document – Work Session G (2-21-14):

Note that this is the document that was posted 2-7-14 with no changes

Definition of FFR Service

Protocol Definition for Fast Frequency Response (FFR) Service –Concept Level – Consensus acceptance requested prior to Protocol Language development:

Fast Frequency Response (FFR):   A response from a resource that is automatically self-deployed and provides a full response within 30 cycles after frequency meets or drops below a preset threshold.  FFR may also be manually deployed and full response must be provided within 10 minutes. A resource providing FFR shall be able to sustain a full response for at least 10 minutes and should not consume energy until receiving ERCOT’s recall instruction. A QSE shall fully restore its FFR responsibility within 90 minutes after receiving ERCOT’s recall instruction.

In the ERCOT Interconnection, the minimum amount of guaranteed cumulative FFR Service that must be self-provided by QSEs or procured by ERCOT for every Operating Hour is determined based on minimum FFR and PFR needed to avoid under-frequency firm load shedding for simultaneous loss of two largest units totaling 2750 MW.

Definition of NERC Contingency Reserve

The provision of capacity deployed by the Balancing Authority to meet the Disturbance Control Standard (DCS) and other NERC and Regional Reliability Organization contingency requirements.

Per BAL-02-01.

R6. A Balancing Authority or Reserve Sharing Group shall fully restore its Contingency Reserves within the Contingency Reserve Restoration Period for its Interconnection.

R6.1. The Contingency Reserve Restoration Period begins at the end of the Disturbance Recovery Period.

R6.2. The default Contingency Reserve Restoration Period is 90 minutes.

Note: The term “Contingency Reserves” as used by NERC in the above includes the capcity reserves for FFR, PFR and Contingency Reserve Services as described by ERCOT in the new Ancillary Services product set.

Multiple Contingencies within the Contingency Reserve Restoration Period

Additional Reportable Disturbances that occur after the end of the Disturbance Recovery Period but before the end of the Contingency Reserve Restoration Period shall be reported and included in the compliance evaluation. However, the Balancing Authority or Reserve Sharing Group can request a waiver from the Resources Subcommittee for the event if the contingency reserves were rendered inadequate by prior contingencies and a good faith effort to replace contingency reserve can be shown.

# Need for FFR Service

Primary Frequency Response is achieved through Governor or Governor-like action that is immediate and proportional to the frequency deviation; this response is generally delivered completely within 12 seconds to 14 seconds.  Fast Frequency Response (FFR) provides a full MW response within 30 cycles, slowing the frequency decay and allowing sufficient time for PFR-capable resources to respond.  The benefits and needs of FFR are:

### Increasing the time from point A (pre-disturbance, normal system frequency) to point C (frequency nadir/peak after a sudden power imbalance), shown in Figure 1, allowing PFR resources to respond and assist in arresting frequency decay.

### Raising the level of the frequency nadir to reduce the risk of frequency reaching or dropping below the first tier of under frequency load shedding, which is the backstop for the simultaneous loss of the system’s two largest units, totaling 2750 MW.

During periods with low inertia, in the absence of FFR Service, much higher PFR capacity reservation would be needed to ensure that sufficient response capability is available to arrest sudden frequency decay in the event of generation losses.

Figure 1	Typical frequency response following a generator trip.

# Deployment Requirement for FFR

A Resource providing FFR shall monitor the system frequency and can be deployed in the following conditions:

- Shall automatically self-deploy and provide a full response within 30 cycles after frequency meets or drops below a preset threshold.

- Shall be capable of manual deployment with full response provided within 10 minutes.

A Resource providing FFR shall be able to sustain a full response for at least 10 minutes and shall not consume energy until receiving ERCOT’s recall instruction.

A QSE providing FFR shall restore its responsibility as soon as possible and be available for new deployment within 90 minutes after receiving ERCOT’s recall instruction.

### Discussion:

### The initiation setting of the under-frequency relay shall not be any lower than 59.7 Hz;

### The under-frequency relay must have a delay of no more than 20 cycles (or 0.33 seconds for relays that do not count cycles). Total time from the time frequency first decays to a value low enough to initiate action of the under frequency relay(s) to the time Load is interrupted should be no more than 30 cycles, including all relay and breaker operating times;ERCOT will revisit the usage of the proposed services under EEA, NERC standards and congestion management.

### When FFR is automatically deployed, ERCOT will use CR to allow recall of FFR.

### ERCOT will issue the FFR recall instruction when the system frequency is equal to or above 59.97 Hz for more than 1 minute and the Contingency Reserve Capacity (NERC defined) has been restored to an acceptable level.

# Qualification and Performance Measurement on Resources Providing FFR

## Qualification

A resource to be qualified for FFR services needs to meet the followings:

- Shall independently detect and record system frequency with an accuracy of at least one mHz.

- Shall automatically self-deploy the service within 30 cycles through an actual or pseudo frequency event.

- Shall be capable of manual deployment within 10 minutes following ERCOT’s instruction.

- Shall be capable of sustaining the full deployment for at least 10 minutes.

- Shall be capable of providing measurement records within three business days upon ERCOT’s request.

  - Resolution: at least 30 samples per second

  - Event data capture: store 30 seconds prior to and one minute after the frequency trigger

  - ERCOT request: within 2 weeks after the event

  - RE response: within three days upon ERCOT’s request

  - Data: timestamp, frequency, power consumption

- The maximum capacity for a resource to participate in FFR shall be equal to or less than the approved capacity in the qualification test.

## Performance Measurement

A resource providing FFR service is required to meet the performance requirements in the following:

- When deployed the Resource must provide a  minimum of 95% or maximum of 120% of the awarded FFR Responsibility.

- When automatically deployed the Resource must provide full response within 30 cycles once reaching the defined frequency threshold.

- When manually deployed by ERCOT the Resource must provide full response within 10 minutes once receiving ERCOT’s deployment instruction.

# Methodology to Determine Requirement for FFR service

# Similar to Primary Frequency Response, ERCOT as the system Reliability Coordinator will determine the amount of FFR that needs to be procured in each hour of the Operating Day to assure an acceptable system frequency response.  ERCOT will conduct series of dynamic studies to quantify the amount of FFR and PFR needed under various system conditions.  The results of these studies together with applicable safety margins and amount of FFR procured will determine how much PFR is needed for each hour of the Operating Day.

# Discussions and 1/31/2014 work session comments

- Should ERCOT consider FFR-DOWN?

No, but should consider the FFR-DOWN software implementation.

(General consensus is to defer this item for later)

- Should ERCOT consider multiple frequency thresholds for FFR deployment?

No. ? (General consensus was that from Reliability perspective it makes sense but the market design gets really complicated, it was suggested to defer this for future until we see more compelling reliability reason. Some of this multiple frequency threshold is already happening today.)

- What is an appropriate sustained response period for FFR? (The general consensus was that it’s not full hour but much shorter than full hour, it was suggested to align this with some existing NERC standard. ERCOT suggests a 10 minute sustained minimum period. This would allow sufficient time for the impact of the SCED dispatch of Contingency Resereve (CR) to be realized.

- What is an appropriate restoration period after receiving ERCOT’s recall signal?

FFR deployment sustained response for up to 10 minutes and should restore the responsibility within 90 minutes.

- What issues are associated with varying hourly FFR requirements?

Have further discussion after understanding the assessment results. (the general consensus was that month ahead determination of minimum requirements is sufficient advance notice. ERCOT’s draft proposal to produce indicative yearly minimum requirements based on offline studies was supported by Market Participants)

- Should a resource participating in FFR be required to provide ERCOT with high resolution measurement data for both qualification and performance evaluation?

Require Resources to provide high resolution records after receiving ERCOT’s request.  No need to provide real time data or additional meter point to SCADA.

# AS Plan Topics

The content of this section is very similar to the corresponding section in the PFR discussion paper.

ERCOT’s intent is to procure the required FFR capacity reservation (AS Plan requirement less QSE self-arranged FFR capacity amounts) specified for each operating hour in the Operating Day in the Day-Ahead Market.

- Day-ahead and Real Time ERCOT posting requirements.

  - ERCOT will post the  quantities of FFR and PFR (for example, a particular hour may have an AS Plan requirement of  X MW of FFR and Y MW of PFR)

  - ERCOT will set QSE FFR Service Obligations consistent with the methodology in current usage for assigning QSE AS Obligations – Load Ratio Share

    - Open to discuss alternative options on assigning AS obligations

  - QSE with AS obligations can self-arrange AS up to a maximum of their AS obligation amount subject to protocol requirement of FFR to PFR ratio or other such criteria.

  - If Operating Reserve Demand Curve (ORDC) is implemented for Day Ahead Market (DAM), then the disaggregated ORDC for each AS is also posted

    - If, due to economics (maximizing the area between the AS demand curve and AS supply curve), more AS is procured than the requirement, then LSE QSE charged on a pro-rated basis. This pro-ratio will be based on the difference between the original LSE QSE obligation of the AS plan (ideal/preferred) and the amount self-arranged.

  - If DAM cannot procure sufficient AS, then will follow current process of dealing with DAM AS insufficiency.

    - If sufficient FFR capacity is not available, then more PFR will need to be procured (the amount of additional PFR required to compensate for deficiency in FFR will depend on the ratio of PFR to FFR from prior operations studies)

    - LSE QSE will be charged on a pro-rated basis for procuring the deficiency. Proration will be based on difference between the original LSE QSE obligation of the AS plan (ideal/preferred) and the amount self-arranged.

- Resources providing FFR capacity will have their HASL= HSL-FFR capacity-other AS capacity (excluding SIR).

# Day-Ahead Self-Arrangement and Offers

The content of this section is very similar to the corresponding section in the PFR discussion paper.

This subsection explains:

- DA self-arrangement notification requirements;

- Applicability of negative self-arrangement;

- The service offer criteria; and,

- Pre-DAM and continuous validations rules for this service.

# AS Trades

The content of this section is very similar to the corresponding section in the PFR discussion

This subsection explains:

- AS trade criteria for this service;

- The day ahead and continuous trade validation rules applicable for this service; and

- The provisions applicable to QSE to QSE AS trades of this service including AS trade criteria, AS trade validation rules, and the QSE’s AS supply responsibility for this service.

# The DAM Clearing Process

The content of this section is very similar to the corresponding section in the PFR discussion

This subsection explains:

- DAM co-optimization constraint set applicable to this service;

- The marginal clearing prices determined by DAM.

Where possible, the ERCOT DAM implementation will co-optimize the procurement of FFR Service capacity reservation and energy for all qualified technologies, subject to the maximization of the total FFR Capacity Reservation offered in the DAM not to exceed the AS Plan requirements (or ORDC) as adjusted by QSE FFR Service self-arrangements.  ERCOT expects to utilize for FFR Service offers the existing AS offer methodologies described in ERCOT’s Business Practice Manual “Ancillary Services Market Transactions in the Day-Ahead Market and Real Time Adjustment Period.”  QSE’s may self-arrange this service or procure it through the ERCOT Markets in the Day-Ahead or Adjustment Period.

It should be noted that if FFR procurement is cleared separately, then opportunity costs for energy will not be captured in the clearing price. The clearing price will be a function of the price of the offers and penalty prices (or corresponding ORDC).

AS Substitution:

- Concept is to allow offers for higher quality AS to be used to satisfy (substitute) lower quality AS if required

  - Ensures the clearing price (MCPC) for higher quality AS is higher than lower quality AS

  - Example of the constraint set where Regulation Up offers can substitute for Contingency Reserves are:

Sum(RegUp_Award) >= RegUp_Req

Sum (RegUp_Award) + Sum (CR_Award) >= RegUp_Req + CR_Req

- In the context of FFR service, for it to be considered a candidate to be used to substitute for CR, we need to address whether CR capacity is only dispatched by SCED or not. This has implications on price formation in Real-Time if the FFR that is substituting for CR can only be converted to energy in blocks.

- If FFR can be considered as a service that can substitute for CR, then, constraints could be setup where FFR offers can be used to substitute for CR (and SR). Furthermore, submission rules for ERCOT’s linked AS offers can be modified to ensure that the clearing price hierarchy is maintained (MCPC for higher quality AS is higher than MCPC for lower quality AS).

Overview of FFR Constraints in energy and AS co-optimization:

- Option 1: Combined clearing (Single clearing price, MCPC) for FFR+PFR

  - This option may be beneficial when there is lack of liquidity in a given service

  - Constraints are set up as :

Sum (FFR_Award) + Sum ( PFR_Award) >= FFR_Req + PFR_Req

Sum (FFR_Award) <= 50% of ( FFR_Req + PFR_Req)

  - Co-optimization of energy and AS is maintained

- Option 2: Separate clearing (separate clearing price, MCPC) for FFR and PFR

  - This option is more appropriate if there is sufficient liquidity

  - Constraints are setup as :

Sum (FFR_Award) >= FFR_Req

Sum (PFR_Award) >= PFR_Req

  - Co-optimization of energy and AS is maintained. Note that the clearing price for FFR will not reflect opportunity costs for energy.

- Resource capacity constraint is setup as:

LSL<= FFR_Award+Other_AS_Award <= HSL

# DAM Settlement

The content of this section is very similar to the corresponding section in the PFR discussion

This subsection explains the settlement process that ERCOT intends to use for this service.  At this time is not necessary that settlement equations be provided; however, the text description should fully describe the methodology that will be utilized in the settlement process including the application of the clearing prices in settling the supplier’s payments and the allocation of charges to the QSE to cover these payments.

# COP Requirements

This subsection describes the COP reporting requirements for this service.

# RUC Processes applicable to this Service

This section explains ERCOT’s intentions when using the RUC processes to cure an insufficiency for this service that is not corrected by market mechanisms in the day-ahead or the adjustment period and real time.

# Adjustment Period and Real Time

The content of this section is very similar to the corresponding section in the PFR discussion

Further discussion required to consider Real-Time energy and AS co-optimization that allows QSEs to adjust their AS portfolio in Real-Time and also allow ERCOT to procure additional AS in Real-Time, if required.

This subsection explains:

- The provisions that apply for this service during the adjustment period to AS trades or request for changes in AS Resource responsibilities;

- The processes that apply when ERCOT determines that additional service capacity is required or replacement capacity is needed because of a failure to provide or transmission constraints affect the current supplier’s ability to deliver the service when deployed;

- The conduct of the SASM, if required, and the RT co-optimization of this service with energy;

- The application of Resource limits for SCED;

- A description of the reporting requirements for this service in the AS Capacity Monitor; and

- Provisions applicable to operational deployments and any unique requirements that apply in the event of Emergency or short supply Operations.

# Real Time Settlement

The content of this section is very similar to the corresponding section in the PFR discussion

This subsection explains the settlement process that ERCOT intends to use for this service.  At this time is not necessary that settlement equations be provided; however, the text description should fully describe the methodology that will be utilized in the settlement process including the application of the clearing prices in settling the supplier’s payments and the allocation of charges to the QSE to cover these payments. Additionally, this description must include, if appropriate, any pay-for performance settlement.

The design for pay-for performance needs to consider whether the payment includes an uplift component or redistribution of the total AS capacity reservation revenue among the resources based on performance (or a combination of both).

Discussion Required:

From the initiation of FFR deployment to full restoration of FFR responsibility, the current ORDC rules create a charge for resources that deployed FFR in this time period.

“Use of Frequency Response Metrics to Assess the Planning and Operating Requirements for Reliable Integration of Variable Renewable Generation” by Joseph H. Eto, Principal Investigator Lawrence Berkeley National Laboratory