GMD Task Force Meeting

Thursday, 01/30/14

Austin - MET Center

In Attendance:

| Larisa Loyferman – CNP | Dan Woodfin - ERCOT |
| --- | --- |
| Paul Rocha – CNP | Carmen Tillman - ERCOT |
| Anthony Alford – CNP | Brad Collard – ERCOT |
| Sharmila Gurrala –CPS | Colleen Frosch – ERCOT |
| Huntis Dittmar - LCRA | Kevin Sills - ONCOR |

Dial-In Attendees:

| Tip Tipton - Brazos Paloma de Arizon - ? | Doug Evans – STEC Jose Conto – ERCOT |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:30 with a review of the Antitrust Admonition by Dan Woodfin.

- Background on EOP-010-1

Dan gave the background information and reviewed the GMD Presentation that Ken Donohoo is giving at this year’s Operations Seminar.

- Reviewed the current ERCOT procedures on GMD

Currently ERCOT issues an Advisory for K-7 and above alerts

There were 2 K-7 or above in 2012 and 3 in 2011

- Group discussion of current TSP procedures related to GMD

- The TSPs present stated that their plans include an increased situational awareness for monitoring of reactive reserves, voltages, and SCADA glitches.

- Two TSPs reported that they have 1 GIC monitor on their system however readings don’t go to their control rooms; the engineering staff receives the information.

- TSPs have never seen GMD related issues

- Concerns expressed over moving from increased situational awareness to taking preemptive actions unless supported by studies

- If ERCOT is receiving feedback that issues are occurring, they would be more appropriate entity to take action and give directives as deemed necessary such as tighten import limits or bring on more reactive support.  Should ERCOT suspend outages during these alerts like in weather events?

- Reviewed GMDTF scope and deliverable

- Workplan/Next Steps for TF

- ERCOT will draft protocol language to review at next meeting

- ERCOT will provide a list of the TSPs that this Standard is applicable to.  Only the TSP with autotransformers 200kV and above need to have a GMD operating plan

- ERCOT to reach out to the applicable TSPs to attend next meeting to share what they envision their plans to look like

- Selection of Chair and Vice Chair

Paul Rocha – Chair

Dan Woodfin – Vice Chair