## Slide 1
Pricing Impacts of Reliability Deployments
Joel Mickey
ERCOT
TAC
February 27th, 2014

## Slide 2: Purpose
At the PUC Open meeting on February 21st, 2014, Commissioners asked ERCOT stakeholders to address price reversal caused by deployments of RUC (0-LSL), ERS and Load Resources (and its impact on ORDC).
Requested action by the end of March 2014.
To facilitate the stakeholder discussions, ERCOT Staff is presenting some items for further consideration
ERCOT staff is ready to provide assistance and facilitate these discussions

## Slide 3: Pricing impacts of RUC (0-LSL), LRs, and ERS
These MW are considered ‘blocky’ because they cannot be partially or incrementally deployed.
In addition, these MWs do not have an Offer or Bid price.
Magnitude of price suppression depends on system conditions.
Blocky MWs include:
  0-LSL MW from RUC & RMR Generation Resources when the SCED Base Point instruction to these Resources is at LASL. This has the effect of injecting price-taking MWs into the system.
  MW from UFR-type non-controllable Load Resource deployments due to frequency event or ERCOT VDI
  MW from ERS deployment
    NOTE: b. and c. both reduce demand on the system, potentially causing price suppression. This is more prevalent on the back end of a deployment.

## Slide 4: Proposed Items For Further Discussion
Historical pricing impacts of 0-LSL from RUC deployments.
  Preliminary Results for 2014 (January & February)
  Will update previous years analysis presented to TAC (2013 & prior) at future Task Force meetings
 | RUC Clock Hours | RUC Resource Hours | Estimated PNM Adder Impact
January 2014 | 58 | 73 | $8.5/MW-Year
February 2014 (1st to 22nd) | 340 | 515 | $844.7/MW-Year

## Slide 5: Proposed Items For Further Discussion
Option for stakeholder consideration on approach to mitigate the pricing impacts from ‘blocky’ MW deployments:
  Estimate the positive change (if any) to the System Lambda if these ‘blocky’ MW are treated as:
    partially or incrementally dispatchable by SCED (0-LSL)
    are added back into the demand (DR deployments)
  The positive change to System Lambda would then be added to the ORDC on-line spinning reserve price adder (Ps). This would impact energy prices as well as address lost opportunity cost.

## Slide 6: Proposed Items For Further Discussion
Impact of RUC/RMR Capacity on the calculation of ORDC price adders
  RUC/RMR capacity is physically available capacity that can help resolve issues that arise within 30 min and hence are considered in ORDC
  Should RUC/RMR capacity continue to be included in the ORDC reserves, therefore impacting the online spinning ORDC price adder (Ps)?

## Slide 7: Proposed Items For Further Discussion
Impact of deployed MWs from ERS on the calculation of ORDC price adders
  Option 1: Should deployed ERS MWs be subtracted from the available reserves in the ORDC calculation?
  Or, Option 2: Should the impact of deployed ERS MWs remain in the category of mitigating pricing impacts of ‘blocky’ MW (as described earlier)?

## Slide 8: Proposed Items For Further Discussion
Impact of deployed MWs from UFR-type non-controllable Load Resources on the calculation of ORDC price adders
  Upon implementation of NPRR 568, Real-Time Reserve Price Adder Based on Operating Reserve Demand Curve, Load Resources (Controllable and UFR-type non-controllable) are included in the ORDC and removed from the reserve calculation upon deployment
  Should the impact of deployed MWs from UFR-type non-controllable Load Resources also be included in the category of mitigating pricing impacts of ‘blocky’ MW (as described earlier)?