## Sheet1
Load Resource Deployment Summary 2012 to Present
2012
Date | Time | Duration (min) | Amount of RRS Responsibility (MW) | Amount of Response (MW) | System Load (MW) | Lowest Frequency Recorded at Taylor (Hz) | Type of Deployment
2012-07-10 | 20:46 | 14.32 | 1386 | 198 | 46289 | 59.706 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2012-07-30 | 16:04 | 13.1 | 1197.6 | 323.8 | 65151 | 59.705 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2012-11-02 | 1:42 | 11 | 1086.3 | 882.3 | 26122 | 59.69 | UF Event for frequency < 59.7 Hz but of uncertain duration
2013
Date | Time | Duration (min) | Amount of RRS Responsibility (MW) | Amount of Response (MW) | System Load (MW) | Lowest Frequency Recorded at Taylor (Hz) | Type of Deployment
2013-01-04 | 9:42 | 20 | 1200.9 | 572 | 42159 | 59.701 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2013-01-08 | 16:40 | 10 | 1296.7 | 973.9 | 37126 | 59.693 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2013-11-01 | 21:47 | 10 | 1178.9 | 463 | 33158 | 59.702 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2014
Date | Time | Duration (min) | Amount of RRS Responsibility (MW) | Amount of Response (MW) | System Load (MW) | Lowest Frequency Recorded at Taylor (Hz) | Type of Deployment
2014-01-06 | 6:54 | 59.617 | 1088.8 | 1030.3 | 56338 | 59.831 | Initially to maintain frequency but then went into EEA Level 2 with a Systemwide Deployment
2014-01-18 | 8:41 | 59 | 1400.5 | 860.7 | 39428 | 59.699 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline; resulted in EEA Level 1 event.