## LR Recovery
Load Resource Deployment and Recovery for Selected Events
Date | Time | Duration (min) | Amount of RRS Responsibility (MW) | Amount of Response (MW) | Amount of Load Still Deployed 10 minutes after Recall | Amount of Load Still Deployed 20 minutes after Recall | Amount of Load Still Deployed 30 minutes after Recall | Amount of Load Still Deployed 60 minutes after Recall | Amount of Load Still Deployed 90 minutes after Recall | Amount of Load Still Deployed 180 minutes after Recall
2012-11-02 | 1:42 | 11 | 1086.3 | 882.3 | 935 | 905 | 724 | 646 | 578 | 327
2013-01-08 | 16:40 | 10 | 1296.7 | 973.9 | 951 | 875 | 825 | 696 | 642 | 213
2014-01-06 | 6:54 | 59.617 | 1088.8 | 1030.3 | 1145 | 1051 | 944 | 822 | 713 | 427
2014-01-18 | 8:41 | 59 | 1400.5 | 860.7 | 672 | 607 | 573 | 447 | 365 | 105