## Slide 1: QMWG Update to WMS
S. Looney
March 5, 2014

## Slide 2: NPRRs Assigned by WMS
NPRR585, Clarification of Administrative Pricing Requirements for Self-Committed Combined Cycle Combustion Turbines on a Resource Committed by RUC
  Many issues associated with opting out of part of a CC configuration
  NPRR585 likely to be withdrawn
NPRR576, Changing Non-Spin Service to an Off-Line Service
  Reinstatement of price floors probably not supported
  Having NS behind the HASL creates possible price reversal problem
  Want to retain the ability to carry NS on online Resources
  No consensus on a good solution

## Slide 3: General WMS Assignments
Power Balance Penalty Curve – CPS proposal, generally supported by the group.
MW Violation | 2013 | 2014 | 2015 | CPSE 2014 | CPSE 2015
≤ 5 | $250 | $250 | $250 | $250 | $250
5 < to ≤ 10 | $300 | $300 | $300 | $300 | $300
10 < to ≤ 20 | $400 | $400 | $400 | $400 | $400
20 < to ≤ 30 | $500 | $500 | $500 | $500 | $500
30 < to ≤ 40 | $1,000 | $1,000 | $1,500 | $1,000 | $1,000
40 < to ≤ 50 | $2,250 | $2,200 | $3,000 | $2,200 | $2,200
50 < to ≤ 100 | $3,000 | $3,400 | $4,500 | $3,400 | $4,500
100 < to ≤ 150 | $3,500 | $4,600 | $6,000 | $4,600 | $6,000
150 < to ≤ 200 | $4,000 | $5,800 | $7,500 | $5,800 | $7,500
200 or more | $5,001 | $7,001 | $9,001 | $7,001 | $9,001

## Slide 4: General WMS Assignments
Ancillary Service RUC Process post-NPRR568 Implementation
  Concerns about RUC for AS
  Would not be a RUC but ERCOT has the ability to “assign” AS to a self-committed Resource during a Watch
  ERCOT would need the energy when capacity is tight so why assign the AS and lose the energy?
  May need an NPRR for this change

## Slide 5: General WMS Assignments
Review ways to better ensure capacity during cold weather events
  ERCOT is issuing RUC instructions to start units early
  Should be addressed by the RATF discussion of ORDC and RUC due to price reversal from 0 to LSL energy

## Slide 6: General Update
Concerns with RUC instructions after the end of the Adjustment Period
  If QSEs receive late RUC instructions for which they want to OPTOUT, could write an NPRR to allow OPTOUT after the end of the Adjustment Period.
  Requires a system change
Generation Commissioning Check List and Resource Interconnection Handbook
  Market Participants will provide comments to ERCOT’s markup before next meeting March 26