## Slide 1: CMWG Update to WMS 3-5-14
Report of CMWG Meeting of
2-17-14

## Slide 2: CMWG 2014 WMS Instructions (to date)
Interaction of SP caps & Power Balance Penalty Curve
  Power bal penalty curve—ends redispatch
  On Jan 6 there were MW available behind constraint—in real scarcity do we want to relax constraint so MW won’t be backed down to resolve congestion?
Principles of Consistency—with CRR/DA/RT models
  Exploring what other regions do in this regard
Element Competitiveness Index Test—any refinements?

## Slide 3: ECI Test--Discussion Items N  H Competitive Constraint Test
Historically Singleton – Zenith (345kV) was competitive in Zonal. In nodal there have been times when it is not competitive.
ERCOT presented analysis of Singleton-Zenith on 9/24/13 when it was overloaded w/ Non-Competitive Status
  Looked at impact to system results as if constraint were competitive

## Slide 4: ECI Test--Discussion Items N  H Competitive Constraint Test
Results of rerunning SCED on this day show several intervals would have seen inc-reased sys λ
Results of rerunning SCED on this day also showed
Increase in the shadow price of the constraint on multiple intervals

## Slide 5: Next Steps on ECI/CCT
Next step is analyze a couple of intervals…looking at look at actual offers
If there were changes in mitigation that changed system lambda or if it was a only a couple of entities that were originally mitigated that ended up not being mitigated at affected the outcome in the back cast of the day
Is there a way to mitigate only the QSEs with market power?