# ERCOT STEADY STATE WORKING GROUP (SSWG)

## March 6, 2014 Report to ROS

### SSWG had meeting on Wednesday, March 5, 2014.

### SSWG Roster/SSWG 2014 Schedule

- The SSWG roster and the SSWG 2014 schedule currently posted on the POI website have updated as of Tuesday, March 3, 2014 and will be re-posted on the POI website the coming days.

### 14 Data Set A and 14 Data Set B TPIT Case Updates

  - Cases were originally posted on Tuesday, February 25, 2014.  It was brought to ERCOTs attention that a TSP had inadvertently deleted the double 345 kV circuits from Big Hill to Kendall in the final pass of the 14 DSA & 14 DSB cases.  The cases were corrected with an idev and the cases were re-posted on Tuesday, March 3, 2014.

  - As part of the case updates, SSWG will allow itself approximately two weeks after the cases have been posted to update planning data.  This includes the Data Dictionary and the Contingency Database.  SSWG is currently updating the planning data.

### 15 Data Set A

- The 2015 Data Set A case building will begin in April.

### Future Meetings

- The next SSWG meeting will be on Wednesday, April 2, 2014 via Webex.

Basileo Rocha	Doug Evans

2014 SSWG Chair	2014 SSWG Vice-Chair