ERCOT Contingency Reserve Service

Working Document – Work Session (3-7-2014):

# Definition of CR Service

Protocol Definition for Contingency Reserve (CR) Service –Concept Level – Consensus acceptance requested prior to Protocol Language development: Contingency Reserve (CR): Capacity which can be converted to energy by Security Constrained Economic Dispatch (SCED), provided by Resources that are capable of : - Providing their full responsibility within 10 minutes; and - Sustaining their full response for as long as they have responsibility to provide this service. SCED base point instructions will determine CR Resource dispatch in real time. CR capacity will be recalled once frequency and PRC has reached a stable threshold. In the ERCOT Interconnection, the minimum amount of guaranteed cumulative CR Service that must be self-provided by QSEs or procured by ERCOT for every Operating Hour is determined based on Most Severe Single Contingency (1375 MW) and hourly net load forecast error statistics, whichever is higher.

# Needs of CR Service

Contingency Reserve is to ensure that ERCOT is able to restore frequency within defined limits following a DCS event or large net load forecast error within 15 minutes and restore its Fast Frequency Response (FFR), Primary Frequency Response (PFR) and Regulating Reserve. The Contingency Reserve may also be used to cover for large net load forecast errors and net load ramps.

NERC Standard BAL-002-1 Disturbance Control Standard (DCS) requires ERCOT to carry enough reserve to recover its Area Control Error (ACE) to pre-disturbance level, post DCS event, within 15 minutes.  In order for ERCOT to meet the requirements of the NERC Reliability Standard (BAL-002), ERCOT needs to identify its "Most Severe Single Contingency" to determine their minimum Contingency Reserve requirement.

The minimum amount of Contingency Reserve required is equivalent to BA’s Most Severe Single Largest Contingency, in ERCOT’s case this would be 1375 MW.  To ensure ERCOT can meet the DCS standard, the CR must be fully deliverable within 10 minutes so that Frequency can be restored to the pre-disturbance level within 15 minutes.  ERCOT may additionally buy CR reserve to cover the net load forecast error.

Definition of NERC Contingency Reserve

The provision of capacity deployed by the Balancing Authority to meet the Disturbance Control Standard (DCS) and other NERC and Regional Reliability Organization contingency requirements.

Per BAL-002-01.

R6. A Balancing Authority or Reserve Sharing Group shall fully restore its Contingency Reserves within the Contingency Reserve Restoration Period for its Interconnection.

R6.1. The Contingency Reserve Restoration Period begins at the end of the Disturbance Recovery Period.

R6.2. The default Contingency Reserve Restoration Period is 90 minutes.

Note: The term “Contingency Reserves” as used by NERC in the above includes the capacity reserves for FFR, PFR, Regulation and Contingency Reserve Services as described by ERCOT in the new Ancillary Services product set

# Deployment , Sustain and Recall  Requirement for CR

Capacity of a Resource with CR responsibility will automatically be released to SCED once system frequency drops below 59.91 Hz or manual deployment. A Resource providing CR shall telemeter their ramp-rates such that SCED can dispatch the full Resource CR responsibility within 10 minutes in needed. A Resource providing CR shall be capable of sustain its full response for as long as it has responsibility to provide this service. SCED base point instructions will determine CR resource dispatch in real time. CR capacity can be recalled once frequency and PRC has reached stable threshold. Once CR capacity is recalled, CR resources will update their schedules, SCED will dispatch CR resources to their HASL through base point instructions based on CR Resource ramp rates. Resources should be capable of restoring the CR responsibility once recalled within certain duration (more discussion needed) for it to be qualified as CR (LR, Gen or any other technology).

# Performance Measurement

Resources providing CR will be subject to disqualification in addition to SCED base point deviation charges for failure to follow SCED base points.

Resources providing CR should deploy at least 95% of the responsibility within 10 minutes after receiving corresponding SCED base point instructions.

# Qualification of Resources Providing CR

Protocol Concept – Consensus acceptance requested prior to Protocol Language development: Generating Resources providing CR should be qualified up to the MW value they are able to ramp to within 10 minutes from the time of deployment. Load Resources should be qualified for CR up to the MW value by which they are able to decrease their power consumption within 10-minutes from the time of deployment. Load resources providing CR should be capable of following SCED dispatch. Prerequisite for this will be changes to SCED that allow dispatch of “blocky” resources. Resources providing CR must telemeter their ramp-rates such that SCED can dispatch Resources full CR responsibility within 10 minutes. Failure to meet any requirement stated above would result in disqualification from providing CR. Once disqualified, the Resources can request for requalification any time after 30 days. Resources providing CR must be able to deliver and sustain the reserve deployments for the full hour it is carrying that responsibility.

# Methodology to Determine Requirement for CR service

ERCOT as the system Reliability Coordinator will determine the amount of CR that must be available in each hour of the Operating Day to assure FFR/PFR and Regulation Reserves are restored within 10 minutes.

Minimum CR amount will be set equal to Most Severe Single Contingency, 1375 MW. Additional CR amount may be procured based on analysis of net load forecast error and net load ramps.

ERCOT will conduct analysis and studies to confirm sufficiency of CR, determined as described above, under various system conditions.

# AS Plan Topics

This subsection explains:

# Day-Ahead Self-Arrangement and Offers

This subsection explains:

- DA self-arrangement notification requirements;

- Applicability of negative self-arrangement;

- The service offer criteria; and,

- Pre-DAM and continuous validations rules for this service.

# AS Trades

This subsection explains:

- AS trade criteria for this service;

- The day ahead and continuous trade validation rules applicable for this service; and

- The provisions applicable to QSE to QSE AS trades of this service including AS trade criteria, AS trade validation rules, and the QSE’s AS supply responsibility for this service.

# The DAM Clearing Process

This subsection explains:

- DAM co-optimization constraint set applicable to this service;

# The marginal clearing prices determined by DAM.DAM Settlement

This subsection explains the settlement process that ERCOT intends to use for this service.  At this time is not necessary that settlement equations be provided; however, the text description should fully describe the methodology that will be utilized in the settlement process including the application of the clearing prices in settling the supplier’s payments and the allocation of charges to the QSE to cover these payments.

# COP Requirements

This subsection describes the COP reporting requirements for this service.

# RUC Processes applicable to this Service

This section explains ERCOT’s intentions when using the RUC processes to cure an insufficiency for this service that is not corrected by market mechanisms in the day-ahead or the adjustment period and real time.

# Adjustment Period and Real Time

This subsection explains:

- The provisions that apply for this service during the adjustment period to AS trades or request for changes in AS Resource responsibilities;

- The processes that apply when ERCOT determines that additional service capacity is required or replacement capacity is needed because of a failure to provide or transmission constraints affect the current supplier’s ability to deliver the service when deployed;

- The conduct of the SASM, if required, and the RT co-optimization of this service with energy;

- The application of Resource limits for SCED;

- A description of the reporting requirements for this service in the AS Capacity Monitor; and

Provisions applicable to operational deployments and any unique requirements that apply in the event of Emergency or short supply Operations.

# Real Time Settlement

This subsection explains the settlement process that ERCOT intends to use for this service.  At this time is not necessary that settlement equations be provided; however, the text description should fully describe the methodology that will be utilized in the settlement process including the application of the clearing prices in settling the supplier’s payments and the allocation of charges to the QSE to cover these payments. Additionally, this description must include, if appropriate, any pay-for performance settlement.