ERCOT STF Issues List

The STF should prepare a report of its findings and recommended Protocol and Guide changes for ROS.  The report shall recommend whether the STF should be continued as an on-going Working Group or be discontinued.  The STF should report its progress to ROS as required.

| # | Topic(s) | Lead(s) | Document(s) | Status |
| --- | --- | --- | --- | --- |
| 1 | How will synchrophasor data be used in ERCOT (real-time monitoring, unit model validation, etc.)? What are the current and planned uses by ERCOT? What are current and planned uses by TSPs and generators? | Bill Blevins (ERCOT) Kris Koellner (TSPs and generators) | Section in final report. | ERCOT top three issues identified at 1/2014 meeting. |
| 2 | What kinds of locations of PMUs are needed to meet this use(s)? How will these locations be determined? What channels are needed (V only, I only, etc? | Bill Blevins | Updated version of ERCOT paper. Plus NOG section 6 – DDR requirements Plus Section in final report. | Discussed at 1/2014 mtg. Function of item 1. Layered approach; communication requirements will vary by location/application. Impacted by PRC-002-2 R6 (“major transmission interfaces”, IROL, SOL). AI – re-run ERCOT PMU placement analysis focused solely on 3 key apps; also look at the two gen applications vs. post-event analysis application. Compare also to WECC and EI efforts/requirements. AI – Kris to request location algorithm/paper on PMU placement from M. Grady |
| 3 | What are the data latency and quality requirements and other specifications, in order to meet the intended uses? Should these vary depending on the kind of PMU location/use case? Input sampling rate? Output data rate? PRC-002: 30 samples/cycle, may need higher for model validation Bandwidth? f(PMUs, phasors, sample rate) – Impacts data storage Data format, time-stamping | David Mercado | NOG section 6 – DDR requirements Plus Section in final report. | Discussed at 1/2014 mtg. Function of item 1. NASPI DNMTT data classes (A/B/C/D) – need to add specifics – next 6 mos. Researching/data gathering phase. Focus on 3 ERCOT use cases; 2 of 3 are off-line applications. AI – Need current PMU specs from ERCOT TSPs. AI – David & Bill to develop PMU spec/storage survey. |
| 4 | Who should install and own the PMUs? Who should be responsible for the communications from the PMUs? | Tabled David Bogen + Carlos Casablanca + ERCOT IT staff to be named (Communications aspect) | PMU Connectivity Guide Plus section in final report. | Tabled, but the communications aspect will be researched. |
| 5 | How should synchrophasor data be treated in terms of confidentiality? Leverage work in other interconnects | Alison Silverstein | ERCOT Market Participant agreement + WECC WISP data sharing agreement (merge) | Assigned at 1/2014 mtg. Success in WECC w/WISP effort. 99 TOs, GOs, RCs signed. Will request language from V. Van Zandt. EIDSN functioning in EI among RCs. RFP for stand-alone network. Legal doc still pending. AI – Bill to determine resource to speak with about ERCOT language governing this area. AI – Milton to distribute CCET NDA. |
| 6 | What reporting should be established for synchrophasor data? ROS/DWG/SPWG/PDCWG etc. OWG? BSWG? | Paul Rocha | Include as section in report (less prescriptive than formal language revisions) Modifications to Operations Report, PMU section? Event categories? Df/dt Oscillation Angle deviation | Assigned at 1/2014 mtg. Focus on use cases; ERCOT top 3 apps are priority. Gen Osc. ( ROS as-needed basis as part of event; associated data goes to WG as needed per ROS assignment. Model Val. ( ERCOT dynamics modeling staff + DWG. Feedback to RARF; akin to generator testing findings. Dist. Analysis ( shared upon request w/any ROS working group, as assigned (e.g. SPWG). AI – Paul poll WG chairs/vice-chairs for potential PMU uses. AI – Bill bring ERCOT detailed PMU report(s) to March meeting (osc. event, fault event, system stress, etc). |
| 7 | What data retention should be established for synchrophasor data? Archive by exception? Events only? Store locally vs. centrally? Full sampling rate or down-sampled rate? Off-line storage for older data? | Bill Blevins | Section in report: some minimum guidelines or requirements for storage duration/sampling rate/format/down-sampled data storage/tagging specific data sets (events, blue sky data)/channel specific data retention. | Discussed at 1/2014 mtg. Function of item 1. Implicated in part by PDC configuration work. ERCOT is currently storing two weeks of data in real-time system (RTDMS); 400 days in PGDA system. PRC-002 has a 10 day requirement. |
| 8 | What are the CIP implications/requirements for the use of this data? | David Penney |  | Assigned at 1/2014 mtg. Version 5 coming soon. Criticality may depend on PMU use. AI – Kris to follow up with David. |
| 9 | Phasor data/applications not previously identified that may yield grid reliability/market benefits. | All |  | Assigned at 1/2014 mtg. |