## Open
RDWG Issue Number | Issue | Description | Contact / Sponsor | Proposed Resolution | Action Item | Status | Last Review Date
2 | Changes for Resource Parameters may not be sufficiently defined in Nodal Protocol Section 3.7 Paragraph (2). | Nodal Protocal Section 3.7 pragraph (2) describes changes made to Resource Parameters. The language may need to be modified to better define the changes. Some concerns are that the changes may be indefinite and not be updated in the RARF. This could affect modeling by some ERCOT groups and TSPs. Some proposed language is: (2) ERCOT shall provide each Qualified Scheduling Entity (QSE) that represents a Resource the ability to submit temporary changes that last less than 30 days to QSE Resource Parameters for that Resource as described in this section For changes lasting longer than 30 days, the change shall be submitted by the RE through the Resource Rregistration data process. | Carol Chessmore | Operational data rather than planning data. Email to Carol on justification. | Carol C. will report on specific concerns and examples of the issue. | Open | 2014-02-10
4 |  | Do we adequately cover as-built data updating prior to commissioning? Commissioning – define what this is "For new generation entering the market, data submittal will be required at a minimum of four milestones: (a) Preliminary data for screening studies, (b) Within 30 days following the release to do commissioning, (c) Within 30 days following the final commissioning days, (d) Following 30 days from being released for operations, the RE has 30 days to resubmit data". Planning Guide 5.7.1, 6.8.2.4 provides some guidance. Peter Belkin would like some hard deadlines (these might not be the correct ones). Not getting accurate data in timely manner. Need better method of communication with RE. Deadlines may be more about communications rather than updating. NP 16.5 (2) PG 5.7.1 (4)(d) | Peter Belkin | Tool will help with communication of updated data or issues with data. Review of individual data items may help in determining data needed at the planning stage. Come back to this one after data review. | N/A | Hold until glossary review complete | 2014-02-10
6 |  | Current “TSPs and Resource Entities shall provide ERCOT with equipment ratings and update the ratings as required by ERCOT. ERCOT may request TSPs and Resource Entities to provide detailed information on the methodology, including data for determination of each requested rating. ERCOT may review and comment on the methodology. ERCOT shall post all methodologies on the Market Information System (MIS) Secure Area within seven days following a change in methodology.” Only equipment ratings associated with Transmission Facilities or Elements? Methodologies –MIS transmission under Long term planning? Confidentiality? This section is written in a way that appears inconsistent. NP 3.10 (3) |  | FAC-008 requires entities to have the methodology. Potentially outside of scope. Review at later date. | Assign sponsor. | Open | 2014-02-10
8 | Change the Fixed Tap Position data element for a step up tranformer to be a required field. | Discuss having fixed tap position on step up transformer as required (not optional) on RARF. Is this referring to the no load tap changer or the load tap changer? NP 3.10.7.1.4 | Art D./ Ed G./ Shirley M. | Would require a change to the validation / formatting rules. Currently required field but you can't physically enter in the form. Art to review. Clarify during review. | N/A | Hold to address during glossary review | 2014-02-10
9 |  | Private Use Networks – No changes made. Another NPRR will be addressing this section. In legal right now (12/4/2013). (Rebooting NPRR190) - changes targeted to Jan/Feb NP 3.10.7.3 | ERCOT Bill Blevins group for NPRR / Art for changes to Glossary? | On hold until new language is complete. PUN column in glossary? | Art will report on status. | Open | 2014-02-10
11 |  | Section added in 6.8.2 for TSPs – something about “to the secure” or “confidentially provide” PG 6.8.2 | Taylor W. | Taylor to research and come back with recommendation. | Taylor W. will report on specific concern. | Open | 2014-02-10
16 | Would prefer to have more clearly determined milestones | Within 10 business days of completion of changes in the following categories: (a) Major maintenance that will change the performance of the unit by more than 5 % (ie. Rewinding). (B) Replacement of major modeling components of the unit that will change the performance of the unit by more than 5 % (example: exciter, governor, turbine, etc) (C) Addition of new equipment (i.e. breaker, etc) (D) Addition of equipment that while not necessarily currently modeled will enhance the performance of the unit by more than 5 % (ie additional cooling equipment, etc) This is generally covered in PG 5.7.1 (5) (e). PG 6.8.3 (1)(d) | Carol Chessmore | Consider adding these type of "triggering events" in the Resource Registration Guide / Users Manual when we are revising that document. | N/A | Hold to address during glossary review | 2014-02-10
17 | Review each item in the Glossary | Requested by ERCOT. Look at each item to determine (1) reason for requirement, (2) clear description, (3) appropriate resource type(s), (4) other Glossary information is accurate, (5) Guide and Business Rules are appropriate. Want to spell out all the details on the attachment files - stability models (governor, generator...). | RDWG Chair / ERCOT | Will be pursuing this in the next few meetings. RRGRRs for any changes to the Glossary. | N/A | Hold to address during glossary review | 2014-02-10
22 | Documentation relating to changes made to Resource Registration Glossary needs to be retained. | If the item has gone through the stakeholder review process (NPRR…), we will still need to ensure it is entered in the Glossary appropriately via RRGRR and the need documented. If the item has NOT gone through the stakeholder review process, we need to go through the whole process of reviewing need, etc. prior to writing the RRGRR. Where should we put the documentation associated wtih the "need"? RR Guide? | Art / Stakeholder Services | Put on the agenda for the next meeting. | Art will report on potential solutions. | Open | 2014-02-10
23 | Data to the TSPs | How does the data get to the TSPs? ERCOT as data repository? MP Online process will allow notification to TSPs. | Taylor W. | MP Online process will facilitate. This one will be revisited after review of data elements. | N/A | Hold until glossary review complete | 2014-02-10
27 | RARF Guide changed to Resource Registration Users Manual | Name change will require RR for Protocols/Guides/Glossary if referenced. | RDWG Chair | Check for use of term in Protocols/Guides (RARF Guide) Address after review | N/A | Hold until glossary review complete | 2014-02-10

## Resolved
RDWG Issue Number | Issue | Description | Contact / Sponsor | Proposed Resolution | Action Item | Status | Resolution Description | Resolution Date
1 | Reference to Resource Registration may need to be modified in Nodal Operating Guide Section 1.4 or Nodal Protocols Section 2.1. | Nodal Operating Guide Section 1.4 contains a reference to Resource Registration in the definition for Credible Single Contingency. NOGRR104 proposes to delete the definition from the Nodal Operating Guides and move to the Nodal Protocols Section 2.1. RDWG needs to follow the proposal to determine if any changes will be needed to the reference to Resource Registration. | Sandra | Administratively done when NPRR540 is incorporated. Resolved | N/A | Resolved | NOGRR109 was approved. The definition for Credible Single Contingency was deleted from the Nodal Operating Guide Section 1.4 and moved to Nodal Protocols Section 2.1. No modifications are needed for the reference to Resource Registration. | 2014-02-10
3 | Paragraph 2 - move to Planning Guide or already covered? | "Prior to commissioning, Resources Entities will regularly update the data necessary for modeling. These updates will reflect the best available information at the time submitted." NP 16.5 |  | No change required. Remove from list. | N/A | Resolved | No change was required. | 2014-02-10
5 |  | Commissioning discussion - Prior to commercial service: (i) Registration and official Resource Registration data submittal per section 6.8.2, Resource Registration Process; (ii) Updates to Resource Registration data based on “as-built” or “as-tested” data in all cases; and (iii) Proof of meeting ERCOT requirements (reactive, low-Voltage Ride-Through (VRT) standards, stability models, Power System Stabilizer (PSS)). NP 16.5 (2) PG 5.7.1 (4)(d) |  | Covered in the Planning Guide. No action is necessary. | N/A | Resolved |  | 2014-02-10
7 | Paragraph (8) of Nodal Protocols Section 3.10 could be separated into multiple paragraphs to improve readability. | During the development of NPRR567, it was noticed that paragraph (8) of Nodal Protocols section 3.10 is long, and it might be beneficial to separate it into multiple paragraphs to improve readability. Since RDWG is making changes this paragraph, the division could be suggested as part of NPRR567. NP 3.10 (8) | N/A | Outside of scope. No action is required. | N/A | Resolved | This issue was not within the scope of RDWG. | 2014-02-10
10 |  | A Resource Entity shall revise the Resource Registration data as necessary to reflect changes in any data related to an All-Inclusive Resource within ten Business Days of a known change to any Resource Registration data. – Discuss reasonable time limits. (Previously NP 3.7.6, moving to PG 6.8.2 (9). Could effect CRR auctions with a delay. NP 3.7.6 PG 6.8.2 (9) |  | Already taken care of with PGRR032. No further action required. | N/A | Resolved |  | 2014-02-10
12 | Review parties' timelines for processing data and model changes. | Need to consider timelines for all parties in processing data /model changes. PG 6.8.2 (5) |  | Not going to pursue at this time. No further action required. | N/A | Resolved | RDWG decided not to pursue this issue at this time. | 2014-02-10
13 |  | Resource Registration Data Updates – review and determine appropriate timeframes, consider what type of changes this might involve (e.g. derate versus permanent change), May need to have more clarity on (d). PGRR language: "(c) Within ten Business Days of a request by ERCOT to check or update specific Resource Registration data; and (d) Within ten Business Days of a known change to any Resource Registration data." On (c), consider a change that allows for ERCOT to request by a certain date that is later than the 10 days. On (c&d), NERC standards (MOD-10 and 12) say 30 days. We may want to align with this. Additionally, should we put in a qualifier allowing for an agreed upon date if unable to update within the 30 days for some legitimate reason? Ed will talk to Jay about this discussion. PG 6.8.3 | Jay for input | Hold to have Jay provide input prior to moving forward. Would require a PGRR to change the language. No action required at this time. | N/A | Resolved | RDWG decided not to pursue this issue at this time. | 2014-02-10
14 |  | Timeline for ERCOT response. Getting notifications when timeline starts (e.g.tests are approved). Internal to ERCOT, trying to turn around within 30 days for reactive tests (per workshop). Touch base with the account manager if not getting notification within 30 days. PG 6.8.3 |  | Not pursuing at this point. May revisit if this is a continuing issue. | N/A | Resolved | RDWG decided not to pursue this issue at this time. | 2014-02-10
15 | Update RARF within 10 days of completion of biennial testing for that station rather than each unit. | This section says that the RARF must be updated within 10 business days of completion of a reactive capability test. The problem is that we have to conduct tests at least every two years on all our resources. Taking Decker as an example, this means testing a total of 6 different generators for both leading and lagging reactive capability. This leading tests are normally conducted in the spring and the lagging tests in the summer. If we follow this ten day guide, then we would be submitting a significant number of RARF updates. Rather than that, it is much more logical to submit the results after all the testing is completed. This may be 3-4 months after the first test. Submitting a RARF update involves submitting a total of six Excel spreadsheets and updates are not loaded into the model until 3 months after being submitted. Following the 10 day guideline would likely result in a minimum of four different RARF updates (assuming you could test all 4 GT’s, send in the data, update the CURL, and get is submitted in one RARF update and then a second update assuming you could test both steam units and get them both submitted within 10 days). I’d like to see the 10 days for reactive results be changed to one RARF update for each generation station within 10 days of completion of biennial testing for that station. PG 6.8.3 (1)(b) | Shirley Matthews, Austin Energy | With change to "after approval" of testing, this will likely not be a continuing problem. No further action required at this time. | N/A | Resolved | RDWG decided not to pursue this issue at this time. | 2014-02-10
18 | Add column in the Resource Registration Glossary to reflect which data elements are needed for a Planning Study. | An additional column in the Resource Registration Glossary that indicates which data elements are required for a Planning Study would be helpful. | ERCOT | This column will not be added by RDWG. If ERCOT or other groups feel this is needed, they will need to put through an RRGRR through that includes the appropriate requirements for this stage. No further action on this item. | N/A | Resolved | RDWG decided that a 'Planning Study' column in not necessary. | 2014-02-10
19 | Does ERCOT need to know the power augmentation capacity? | Ref: NPRR527 and NOGRR111. Line 104 – Is train augmented with Duct Burner(s) | David Penney, TRE | This would be a new data item. If ERCOT needs for models, an RRGRR would have to be submitted. Brought to ERCOTs attention (Ed). No further action at this time. | N/A | Resolved |  | 2014-02-10
20 | How to handle new generation interconnections that have long lead lines | Need to be clear on what the expectations are for new generation interconnections that may have long lead lines between the unit and the POI. In these cases, I would think the entity would have to provide detailed information for the interconnection study on the appropriate sections of the RARF for the line data, breaker/switch data, series compensation devices, etc. It would be necessary in these cases to set up multiple "dummy" buses in the model in order to adequately perform the study. Line 79 – PTI Bus Number (POI) | David Penney, TRE | This would be a new data item. If ERCOT needs for models, an RRGRR would have to be submitted. Brought to ERCOTs attention (Ed). No further action at this time. |  | Resolved |  | 2014-02-10
21 | Upcoming proposed changes as part of our Urgency request. New Resource Registration data required/requested for WGRs | NPRR 568 - adder for scarcity pricing curve - new elements for combined cycle regarding timing to hit capacity and one not yet proposed change to non-modeled to OPG, and NPRR 425 for WGRs | Art / Stakeholder Services | This would be a new data item. If ERCOT needs, an RRGRR would have to be submitted. No further action at this time. |  | Resolved |  | 2014-02-10
24 | Data validation | Validation of data – improvement opportunities |  | This review will be done when reviewing each of the data elements. |  | Resolved |  | 2014-02-10
25 | Load Resources | How to deal with Load Resources. Steve Krein, Mark Patterson have responsibility for Load Resource data. | ERCOT | See if ERCOT has any concerns with the way Load Resources are handled in this process. |  | Resolved |  | 2014-02-10
26 | FAC-008 impact on Resource Registration. | Make sure that the Resource Registraton process is not in conflict with FAC-008 | Brenda | Review at FAC-008 |  | Resolved | The Resource Registration process creates no issues with FAC-008. | 2014-02-10
28 | Remote Voltage Regulating Point should come from the high side of the generator step up as per the voltage profile schedule | This has been causing issues in the cases recently with the remote voltage regulation point being set to the generator terminals in the Planning and Operations Cases instead of the high side of the generator step up as per the voltage profile schedule. We think the issue may have come up due to implementation of RARF 5.5. Clarifying the difference between the remote voltage regulating point and where the generator monitors voltage is a great item for the glossary. | Carol Chessmore, Oncor | Revise description in Glossary. |  | Resolved |  | 2014-02-10