| NPRR Number | 600 | NPRR Title | Removal of Outdated Language to Scheduling and Operations of BLT Section |
| --- | --- | --- | --- |
| Date Posted |  | February 28, 2014 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 6.5.9.5.2, Scheduling and Operation of BLTs |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) proposes deleting paragraph (3) of Section 6.5.9.5.2, Scheduling and Operation of BLTs. Paragraph (3) describes the situation in which ERCOT generators could be isolated in the event of a Block Load Transfer that transferred ERCOT Load to a Non-ERCOT Control Area. This event no longer can occur, and ERCOT offers this NPRR to remove the above-referenced language. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | - Removes language that is no longer applicable to the Nodal Market. |  |
| Quantitative Benefits |  |  |
| Impact to Market Segments | None. |  |
| Credit Implications | None. |  |
| Other |  |  |

| Sponsor |  |
| --- | --- |
| Name | Matt Tozer |
| E-mail Address | mtozer@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6332 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lisa Trow |
| E-Mail Address | ltrow@ercot.com |
| Phone Number | 512-248-6521 |

Proposed Protocol Language Revision

6.5.9.5.2	Scheduling and Operation of BLTs

(1)	For BLTs that transfer Load to a non-ERCOT Control Area, a verbal instructed Base Point shall be issued to the QSE for Settlement purposes for any energy associated with BLTs modeled in the Network Operations Model and registered as a Resource in accordance with Section 6.5.9.5.1, Registration and Posting of BLT Points.  ERCOT shall confirm the BLT’s availability with the non-ERCOT Control Area before any BLT implementation.  For BLTs that are deployed in an emergency and are not modeled in the Network Operations Model, the responsible TSP shall notify ERCOT as soon as practicable after deployment.

(2)	Any energy associated with the non-ERCOT Control Area Load BLT Point is treated as a Load obligation of the QSE representing the LSE with the BLT ESI ID as registered for Settlement purposes in accordance with Section 6.5.9.5.1.

(3)

ERCOT shall continue to include the BLT Point Load in the Settlement of the LSE Load obligations.